ODISHA UNIVERSITY OF TECHNOLOGY AND RESEARCH

SCHOOL OF ELECTRICAL SCIENCES

B. Tech in Electrical Engineering

Curriculum and Syllabus

(2023-24 admitted students)

FINAL COMMON CURRICULUM (COURSE STRUCTURE)

FOR BACHELOR OF TECHNOLOGY IN ELECTRICAL ENGINEERING

COURSES TO BE EFFECTIVE FROM ACADEMIC SESSION 2023– 2024 ADMITTED BATCH

(3rd Semester to 8th Semester)

School/ Department: School of Electrical Sciences

Abbreviation used:

| AC | Audit course | LC | Laboratory Course | PA | Practical Assessment |
| --- | --- | --- | --- | --- | --- |
| PC | Professional Core | PR | Project/ Practical/ Internship | L | Lecture |
| PE | Professional Elective | SE | Seminar/ Expert Lecture/ Etc. | T | Tutorial |
| OE | Open Elective | IA* | Internal Assessment | P | Practical |
| MC/BS/HS | Mandatory/ Common Course | EA | End-Semester Assessment |  |  |
| ACC | Advanced Competency Course |  |  |  |  |
| *Internal Assessment Mark (40 marks) consists of (i) Mid Semester (20 marks), (ii) Quiz/ Assignment/Attendance (20 marks) |  |  |  |  |  |

THIRD YEAR (FIFTH SEMESTER)

| Sl. No. | Subject Type | Subject Code | Subject Name | Teaching Hours |  |  | Credit | Maximum Marks |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | L | T | P |  | IA | EA | PA | Total |
| 1 | PC | EE3101 | Electrical Power Transmission and Distribution | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 2 | PC | EE3103 | Power Electronics | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 3 | PC | EE3105 | Microprocessors and Microcontrollers | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 4 | PE | EE3201 EE3203 EE3205 EE3207 | - Electromagnetic Field Theory - Control Systems-II - Energy Conservation and Auditing - Special Electrical Machines | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 5 | HS | BH3401/ BH3403 | Business Management / Entrepreneurship Development | 3 | 0 | 0 | 2 | 40 | 60 | - | 100 |
| 6 | MC | IP3401/ IP3403 | Environmental Engineering/ Industrial Safety Engineering | 3 | 0 | 0 | 2 | 40 | 60 | - | 100 |
| 7 | LC | EE3501 | Power Electronics Lab | 0 | 0 | 3 | 1.5 | - | - | 100 | 100 |
| 8 | LC | EE3503 | Microprocessors and Microcontrollers Lab | 0 | 0 | 3 | 1.5 | - | - | 100 | 100 |
| 9 | ACC | CS3511 | OOPs | 0 | 0 | 3 | 1.5 | - | - | 100 | 100 |
| 10 | PSI | EE3701 | Seminar on SIRE – I* | 0 | 0 | 3 | 1.5 | - | - | 100 | 100 |
| Total |  |  |  | 18 | 0 | 12 | 22 | 240 | 360 | 400 | 1000 |

*Project / Seminar / Internship

THIRD YEAR (SIXTH SEMESTER)

| Sl. No. | Subject Type | Subject Code | Subject Name | Teaching Hours |  |  | Credit | Maximum Marks |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | L | T | P |  | IA | EA | PA | Total |
| 1 | PC | EE3102 | Power System Analysis and Operation | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 2 | PC | EE3104 | Digital Signal Processing | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 3 | PE | EE3202 EE3204 EE3206 EE3208 | - Renewable Energy Systems - Power Station Engineering - Electric Vehicle - Electrical Machine Design | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 4 | PE | EE3212 EE3214 EE3216 EE3218 | - Power System Protection - Electric Drives and Control - FACTS and HVDC - Storage Technology | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 5 | HS | BH3403/ BH3401 | Entrepreneurship Development / Business Management | 3 | 0 | 0 | 2 | 40 | 60 | - | 100 |
| 6 | MC | IP3403/ IP3401 | Industrial Safety Engineering/Environmental Engineering | 3 | 0 | 0 | 2 | 40 | 60 | - | 100 |
| 7 | PR | EE3602 | Project for Product Development – I | 0 | 0 | 6 | 3 | - | - | 100 | 100 |
| 8 | LC | EE3502 | Power Systems Lab | 0 | 0 | 3 | 1.5 | - | - | 100 | 100 |
| 9 | LC | EE3504 | Digital Signal Processing Lab | 0 | 0 | 3 | 1.5 | - | - | 100 | 100 |
| 10 | Summer Internship and Research Experience (SIRE -II) * |  |  |  |  |  |  |  |  |  |  |
| Total |  |  |  | 18 | 0 | 12 | 22 | 240 | 360 | 300 | 1000 |

*Minimum 4 weeks of Summer Course / Training / Internship / Skill Course / etc. after 4th Semester

Abbreviation used:

| AC | Audit course | LC | Laboratory Course | PA | Practical Assessment |
| --- | --- | --- | --- | --- | --- |
| PC | Professional Core | PR | Project/ Practical/ Internship | L | Lecture |
| PE | Professional Elective | SE | Seminar/ Expert Lecture/ Etc. | T | Tutorial |
| OE | Open Elective | IA* | Internal Assessment | P | Practical |
| MC/BS/HS | Mandatory/ Common Course | EA | End-Semester Assessment |  |  |
| ACC | Advanced Competency Course |  |  |  |  |
| *Internal Assessment Mark (40 marks) consists of (i) Mid Semester (20 marks), (ii) Quiz/ Assignment/Attendance (20 marks) |  |  |  |  |  |

FOURTH YEAR (SEVENTH SEMESTER)

| Sl. No. | Subject Type | Subject Code | Subject Name | Teaching Hours |  |  | Credit | Maximum Marks |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | L | T | P |  | IA | EA | PA | Total |
| 1 | PE | EE4201 EE4203 EE4205 EE4207 | - Smart Grid Technology - Power Quality - High Voltage Engineering - Restructured Power System | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 2 | PE | EE4211 EE4213 EE4215 EE4217 | - Utilization of Electrical Energy - Distribution System Engineering - Power System Dynamics and Control - Electrical Engineering Materials | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 3 | OE |  | Open Elective – I | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 4 | ACC | CS4101 | Advanced AI | 3 | 0 | 0 | 2 | 40 | 60 | - | 100 |
| 5 | SE | EE4701 | Seminar on SIRE - II | 0 | 0 | 6 | 1 | - |  | 100 | 100 |
| 6 | PR | EE4601/ EE4603 | Project for Product Development – II / Internship Project - I | 0 | 0 | 4 | 2 | - |  | 100 | 100 |
| Total |  |  |  | 12 | 0 | 10 | 14 | 160 | 240 | 200 | 600 |

FOURTH YEAR (EIGHTH SEMESTER)

| Sl. No. | Subject Type | Subject Code | Subject Name | Teaching Hours |  |  | Credit | Maximum Marks |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | L | T | P |  | IA | EA | PA | Total |
| 1 | OE |  | Open Elective – II | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 2 | OE |  | Open Elective – III | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 3 | OE |  | Open Elective – IV | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 4 | SE | EE4702 | Seminar on Project | 0 | 0 | 6 | 3 | - |  | 100 | 100 |
| 5 | PR | EE4602/ EE4604 | Project for Product Development – III / Internship Project - II | 0 | 0 | 8 | 4 | - |  | 100 | 100 |
| Total |  |  |  | 9 | 0 | 14 | 16 | 120 | 180 | 200 | 500 |

*Project / Seminar / Internship

GRAND TOTAL CREDITS: 162

Honors Course offered by School of Electrical Sciences

| Sl. No. | Course Code | Subject Code | Subject (Theory) | Contact Hrs. L-T-P | Credit |
| --- | --- | --- | --- | --- | --- |
| 1 | SEM-5 | EE3171 | Machine Learning Applications in Smart Grid Systems | 3-0-0 | 3 |
| 2 | SEM-6 | EE3172 | Electricity Markets and Regulatory Frameworks | 3-0-0 | 3 |
| 3 | SEM-7 | EE4171 | Load Forecasting and Reliability in Power Systems | 3-0-0 | 3 |
| 4 | SEM-7 | EE4173 | Advanced Power Converter | 3-0-0 | 3 |
| 5 | SEM-8 | EE4172 | System Identification and Adaptive Control | 3-0-0 | 3 |
| Subject (Sessional) |  |  |  |  |  |  |
| 6 | SEM-6 | EE3572 | Advanced Power System Lab | 0-0-3 | 1.5 |
| 7 | SEM-7 | EE4571 | Advanced Power Electronics Simulation Lab | 0-0-3 | 1.5 |
|  |  |  | Total | 15-0-6 | 18 |

Minor Course offered by School of Electrical Sciences

- Minor in Smart Grid Management

| Sl. No. | Course Code | Subject Code | Subject (Theory) | Contact Hrs. L-T-P | Credit |
| --- | --- | --- | --- | --- | --- |
| 1 | SEM-5 | EE3261 | Electrical Power Transmission and Distribution | 3-0-0 | 3 |
| 2 | SEM-6 | EE3262 | Power Electronics | 3-0-0 | 3 |
| 3 | SEM-7 | EE4261 | Smart Grid Technologies and Architectures | 3-0-0 | 3 |
| 4 | SEM-7 | EE4263 | Advanced Metering Infrastructure (AMI) and Demand Side Management | 3-0-0 | 3 |
| 5 | SEM-8 | EE4262 | Data Analytics and Machine Learning for Smart Grid Applications | 3-0-0 | 3 |
| Subject (Sessional) |  |  |  |  |  |  |
| 6 | SEM-6 | EE3562 | Power System and Power Electronics Lab | 0-0-3 | 1.5 |
| 7 | SEM-7 | EE4561 | Smart Grid Simulation Lab | 0-0-3 | 1.5 |
|  |  |  | Total | 15-0-6 | 18 |

- Minor in Electric Vehicle and E-mobility

| Sl. No. | Course Code | Subject Code | Subject (Theory) | Contact Hrs. L-T-P | Credit |
| --- | --- | --- | --- | --- | --- |
| 1 | SEM-5 | EE3263 | Basics of Electrical Vehicles | 3-0-0 | 3 |
| 2 | SEM-6 | EE3264 | Power Electronics for E-Mobility | 3-0-0 | 3 |
| 3 | SEM-7 | EE4265 | Energy Storage Systems and Battery Management | 3-0-0 | 3 |
| 4 | SEM-7 | EE4267 | EV Charging Infrastructure and Grid Integration | 3-0-0 | 3 |
| 5 | SEM-8 | EE4264 | Motors for E-mobility and their control | 3-0-0 | 3 |
| Subject (Sessional) |  |  |  |  |  |  |
| 6 | SEM-6 | EE3564 | Power Electronics and Drives Lab | 0-0-3 | 1.5 |
| 7 | SEM-7 | EE3563 | Electric Vehicle Lab | 0-0-3 | 1.5 |
|  |  |  | Total | 15-0-6 | 18 |

List of Open Elective Subjects offered by School of Electrical Sciences:

OPEN ELECTIVES I (ODD SEM)

- EE4301 Renewable Energy Technologies

- EE4303: Electric and Hybrid Vehicles

OPEN ELECTIVES II, III & IV (EVEN SEM)

- EE4302: Energy Management and Auditing

- EE4304: Energy Conversion Devices

- EE4306: Hybrid Storage Systems

Abbreviation used:

| AC | Audit course | LC | Laboratory Course | PA | Practical Assessment |
| --- | --- | --- | --- | --- | --- |
| PC | Professional Core | PR | Project/ Practical/ Internship | L | Lecture |
| PE | Professional Elective | SE | Seminar/ Expert Lecture/ Etc. | T | Tutorial |
| OE | Open Elective | IA* | Internal Assessment | P | Practical |
| MC/BS/HS | Mandatory/ Common Course | EA | End-Semester Assessment |  |  |
| ACC | Advanced Competency Course |  |  |  |  |
| *Internal Assessment Mark (40 marks) consists of (i) Mid Semester (20 marks), (ii) Quiz/ Assignment/Attendance (20 marks) |  |  |  |  |  |

THIRD YEAR (FIFTH SEMESTER)

| Sl. No. | Subject Type | Subject Code | Subject Name | Teaching Hours |  |  | Credit | Maximum Marks |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | L | T | P |  | IA | EA | PA | Total |
| 1 | PC | EE3101 | Electrical Power Transmission and Distribution | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 2 | PC | EE3103 | Power Electronics | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 3 | PC | EE3105 | Microprocessors and Microcontrollers | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 4 | PE | EE3201 EE3203 EE3205 EE3207 | - Electromagnetic Field Theory - Control Systems-II - Energy Conservation and Auditing - Special Electrical Machines | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 5 | HS | BH3401/ BH3403 | Business Management / Entrepreneurship Development | 3 | 0 | 0 | 2 | 40 | 60 | - | 100 |
| 6 | MC | IP3401/ IP3403 | Environmental Engineering/ Industrial Safety Engineering | 3 | 0 | 0 | 2 | 40 | 60 | - | 100 |
| 7 | LC | EE3501 | Power Electronics Lab | 0 | 0 | 3 | 1.5 | - | - | 100 | 100 |
| 8 | LC | EE3503 | Microprocessors and Microcontrollers Lab | 0 | 0 | 3 | 1.5 | - | - | 100 | 100 |
| 9 | ACC | CS3511 | OOPs | 0 | 0 | 3 | 1.5 | - | - | 100 | 100 |
| 10 | PSI | EE3701 | Seminar on SIRE – I* | 0 | 0 | 3 | 1.5 | - | - | 100 | 100 |
| Total |  |  |  | 18 | 0 | 12 | 22 | 240 | 360 | 400 | 1000 |

*Project / Seminar / Internship

THIRD YEAR (SIXTH SEMESTER)

| Sl. No. | Subject Type | Subject Code | Subject Name | Teaching Hours |  |  | Credit | Maximum Marks |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | L | T | P |  | IA | EA | PA | Total |
| 1 | PC | EE3102 | Power System Analysis and Operation | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 2 | PC | EE3104 | Digital Signal Processing | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 3 | PE | EE3202 EE3204 EE3206 EE3208 | - Renewable Energy Systems - Power Station Engineering - Electric Vehicle - Electrical Machine Design | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 4 | PE | EE3212 EE3214 EE3216 EE3218 | - Power System Protection - Electric Drives and Control - FACTS and HVDC - Storage Technology | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 5 | HS | BH3403/ BH3401 | Entrepreneurship Development / Business Management | 3 | 0 | 0 | 2 | 40 | 60 | - | 100 |
| 6 | MC | IP3403/ IP3401 | Industrial Safety Engineering/Environmental Engineering | 3 | 0 | 0 | 2 | 40 | 60 | - | 100 |
| 7 | PR | EE3602 | Project for Product Development – I | 0 | 0 | 6 | 3 | - | - | 100 | 100 |
| 8 | LC | EE3502 | Power Systems Lab | 0 | 0 | 3 | 1.5 | - | - | 100 | 100 |
| 9 | LC | EE3504 | Digital Signal Processing Lab | 0 | 0 | 3 | 1.5 | - | - | 100 | 100 |
| 10 | Summer Internship and Research Experience (SIRE -II) * |  |  |  |  |  |  |  |  |  |  |
| Total |  |  |  | 18 | 0 | 12 | 22 | 240 | 360 | 300 | 1000 |

*Minimum 4 weeks of Summer Course / Training / Internship / Skill Course / etc. after 4th Semester

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Electrical Power Transmission and Distribution | EE3101 | 3-0-0 | 3 |

PREREQUISITES:

- Basic Electrical Engineering.

- Electrical Circuit Analysis.

COURSEOUTCOMES:

At the end of this course, students will demonstrate the ability to

| CO Code | Course Outcome | Bloom's Level |
| --- | --- | --- |
| CO1 | Understand the basics of various fundamentals of electrical power generation, transmission & distribution. | Understand (L2) |
| CO2 | Analyse transmission line parameters and its effects on transmission lines. | Analyze (L4) |
| CO3 | Apply electrical characteristics of transmission line such as types of trans- mission lines, various effects on transmission & per unit representation of power system. | Apply (L3) |
| CO4 | Mechanical design with the types of conductors, insulators, underground cable parameters and power system earthing. | Create (L5) |

#### MODULE 1:  (8 Hours)

Transmission Line Parameters: Inductance of a Conductor due to Internal Flux, Flux Linkages between Two Points External to an Isolated Conductor, Inductance of a Single Phase Two Wire Line, Flux Linkages of one Conductor in a Group, Inductance of Composite-Conductor Lines. Inductance of a Three Phase Line with symmetrical and Unsymmetrical Spacing. Inductance Calculations for Bundled Conductors, Skin effect and Proximity effect, Corona Effect. Capacitance of a Two Wire Line, Capacitance of a Three Phase Line with symmetrical and Unsymmetrical Spacing, Effect of Earth on the Capacitance of a Three Phase Line, Capacitance Calculations for Bundled Conductors, Parallel- Circuit Three Phase Lines.

#### MODULE 2: (7 Hours)

Transmission Line Performances: Analysis of Short, medium and long Transmission Line, Equivalent Circuit, Representation of lines and calculation of transmission parameters, Voltage Profile of transmission lines, Ferranti Effect, Power Flow Through Transmission Line, Power Flow capability and Surge Impedance Loading, Reactive Compensation of Transmission Line.

#### MODULE 3: (7 Hours)

Overhead Line Conductors and Insulators: Types of conductors: ACSR, AAAC, HTLS etc. Insulator Materials, Types of Insulators: Porcelain, Glass, Polymer, Hydrophobicity, Creepage Distance, Voltage Distribution in suspension type insulators, Improvement of String Efficiency, Insulator Failure, Testing of Insulators, Concept of Sag and Tension.

#### MODULE4: (8 Hours)

Distribution: Classification of Distribution Systems, Primary and secondary distribution network, Voltage Drop in DC Distributors, Voltage Drop in AC Distributors, Kelvin’s Law, Limitations of Kelvin’s Law, Application of Capacitors to Distribution Systems.

Underground Cables: Type and construction, Classification of Cables, Parameters of Single Core Cables, Grading of Cables, Capacitance of Three Core Cable.

Power System Earthing.

#### TEXT BOOKS:

- J. Grainger and W. D. Stevenson,” Power System Analysis”, McGraw Hill Education,1994.

- D.P.KothariandI.J.Nagrath,”ModernPowerSystemAnalysis”,McGrawHillEducation,2003

- C.L. Wadhwa – Electrical Power Systems, Fifth Edition, New Age International,2009.

REFERENCE BOOKS:

- J. B. Gupta,” A course in power systems”, S K KATARIA & SONSpublications.

- V.K Mehta and Rohit Mehta”, “Principles of Power Systems”, Third Edison, S. Chand & Company Ltd, New Delhi,2004.

- M.V. Deshpande –Elements of Electrical Power Station Design, Third Edition, Wheeler Pub.

CO-PO MAPPING

(1-Weak Correlation;2-Medium correlation;3-Strong Correlation)

| COs | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 2 | 3 | 3 | 3 | 2 | 2 | - | - | - | - | 2 | 3 | - |
| CO2 | 3 | 3 | 3 | 3 | 3 | 2 | - | - | - | - | - | 2 | 3 | - |
| CO3 | 3 | 3 | 3 | 3 | 3 | 2 | - | - | - | - | - | 2 | 3 | 2 |
| CO4 | 3 | 3 | 3 | 3 | 3 | 2 | - | - | - | - | - | 2 | 3 | 2 |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Power Electronics | EE3103 | 3-0-0 | 3 |

PREREQUISITES:

- Basic Electronics

COURSEOUTCOMES:

At the end of this course students will able to:

| CO | Course Outcome | Bloom's Level |
| --- | --- | --- |
| CO1 | Explain the structure, characteristics, and operation of high-power semiconductor devices including IGBT, MOSFET, SCR, and wide band gap devices like SiC and GaN. | Understand (Level 2) |
| CO2 | Analyze different controlled rectifier circuits and computing their performances | Analyze (Level 4) |
| CO3 | Evaluate the performance of non-isolated and isolated DC-DC converters under steady-state continuous and discontinuous current conditions.. | Evaluate (Level 5). |
| CO4 | Design and compare various inverter topologies including PWM and multilevel inverters, and explain the working of cycloconverters.. | Apply/Create (Level 3/6). |

#### MODULE 1: (8 Hours)

Introduction to High-Power Semiconductor Devices - Insulated Gate Bipolar Transistors (IGBTs): Design and operation principles, Power MOSFETs: Structure, operation, and characteristics, Comparison with other high-power devices Thyristors and Related Devices: Structure and types (e.g., SCR, GTO), Switching characteristics and applications Advanced Materials for High-Power Devices: Wide band gap materials (e.g., SiC, GaN), Advantages and challenges. Integration and Application of High-Power Devices: Power modules and converters

#### MODULE 2: (7 Hours)

Phase Controlled rectifiers: full/half-controlled converters for R, RL ,RLE load with source inductance and without source inductance, dual converters, sequence control. Phase controlled rectifiers: Single-phase full wave fully controlled rectifier with R-L and R-L-E load; Three-phase full wave fully controlled rectifier with R-L and R-L-E load; Input current wave shape and power factor. Single phase semi converter with R-L and R-L-E load, 3 phase semi-converter with R-L and R-L-E load. Effect of source inductance on the performance of full converter

#### MODULE 3: (7 Hours)

DC-DC converter: Buck converter: analysis and waveforms at steady state for continuous and discontinuous load current operations, duty ratio control of output voltage. Boost converter: analysis and waveforms at steady state, relation between duty ratio and average output voltage, continuous and discontinuous load current operations, Buck-Boost regulators, Cuk regulators.

Isolated Types: Fly Back Converters, Forward converters, Push Pull Converters, Bridge Converter.

#### MODULE4: (8 Hours)

Voltage source inverter: Single-phase bridge inverter, three-phase inverter: 1800& 1200conduction. Voltage and frequency control of inverter; single pulse width modulation, multiple pulse width modulation, sinusoidal pulse width modulation (Sine PWM), Space Vector PWM of 3-phaseinverter. Current source inverter: 1-phase & 3-phase. Introduction to multilevel inverter. Operation principle of cycloconverter.

#### TEXT BOOKS:

- M. H. Rashid,” Power electronics: circuits, devices, and applications”, Pearson Education India, 2009.

- N. Mohan and T. M. Undeland,” Power Electronics: Converters, Applications and Design”, John Wiley & Sons,2007.

REFERENCE BOOKS:

- R. W. Erickson and D. Maksimovic,” Fundamentals of Power Electronics”, SpringerScience & Business Media,2007.

- L. Umanand,” Power Electronics: Essentials and Applications”, Wiley India,2009.

CO-PO MAPPING

(1-Weak Correlation; 2-Medium correlation;3-Strong Correlation)

| COs | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 2 | – | – | 2 | – | 2 | – | – | – | – | 1 | 3 | 2 |
| CO2 | 3 | 3 | 2 | 2 | 2 | – | 2 | – | – | – | – | 2 | 3 | 2 |
| CO3 | 3 | 3 | 2 | 2 | 3 | – | 2 | – | – | – | – | 2 | 3 | 3 |
| CO4 | 3 | 3 | 3 | 2 | 3 | – | 2 | – | – | 1 | 2 | 3 | 3 | 3 |

| SUBJECTNAME | SUBJECTCODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Power Electronics Laboratory | EE3501 | 0-0-3 | 1.5 |

COURSEOUTCOMES:

At the end of this course, students will able to

| CO | Course Outcome |
| --- | --- |
| CO1 | Acquire knowledge of V-I characteristics of various Power Semiconductor devices and able to design and simulate their base/gate drive circuits and understand the design of cosine controlled triggering circuit of SCR. |
| CO2 | Validate the output performances of different controlled rectifier circuits with various loading conditions |
| CO3 | Understand the design of different DC-DC converter circuits (isolated and non-isolated type) and verifying through experimentation |
| CO4 | Understand the design and operation of single phase Voltage Source Inverter circuit topology with Sin PWM control and simulation of the same circuit in MATLAB-SIMULINK platform |

#### Experiment List:

- Study of the V-I characteristics of SCR, TRIAC and MOSFET.

- Study of the cosine controlled triggering circuit.

- Study of the single phase half wave controlled rectifier and semi converter circuit with R and R-L Load.

- Study of single phase full wave controlled rectifier circuits (mid-point and Bridge type) with R and R-L Load.

- Study of three phase full wave controlled rectifier circuits (Full and Semi converter) with R and R- L Load.

- Study of the Buck converter and boost converter.

- Study of the single phase PWM voltage source inverter.

- Study of the forward converter and fly back converter.

- Study of ac voltage regulator and single phase cyclo converter.

- Study of three phase inverter in 120 and 180 degree mode of operation.

#### TEXT BOOKS:

- M. H. Rashid,” Power electronics: circuits, devices, and applications”, Pearson Education India, 2009.

- N. Mohan and T. M. Undeland,” Power Electronics: Converters, Applications and Design”, John Wiley & Sons,2007.

REFERENCE BOOKS:

- R. W. Erickson and D. Maksimovic,” Fundamentals of Power Electronics”, Springer Science & Business Media, 2007.

- L. Umanand,” Power Electronics: Essentials and Applications”, Wiley India, 2009.

CO-PO MAPPING

(1-WeakCorrelation;2-Mediumcorrelation;3-StrongCorrelation)

| COs | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 2 | 3 | 1 | 3 | - | - | - | - | - | - | - | 3 | 2 |
| CO2 | 2 | 3 | 2 | 3 | 2 | - | - | - | - | - | - | - | 3 | 2 |
| CO3 | 2 | 2 | 3 | 3 | 3 | - | - | - | - | - | - | - | 3 | 3 |
| CO4 | 2 | 2 | 2 | 2 | 3 | - | - | - | - | - | - | - | 3 | 3 |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Microprocessors and Microcontrollers | EE3105 | 3-0-0 | 3 |

Prerequisites:

1. Programming for problem solving

#### Course Outcomes:

At the end of the course, students will be able to:

| CO Code | Course Outcome | Bloom's Level |
| --- | --- | --- |
| CO1 | Explain the architecture, instruction set, and addressing modes of 8085 microprocessor and perform assembly language programming. | Understand (L2), Apply (L3) |
| CO2 | Design and interface peripheral devices like memory, ADC, DAC, and I/O devices with the 8085 microprocessor for real-world applications. | Design (L6), Apply (L3) |
| CO3 | Understand the architecture, memory organization, and instruction set of the 8086 microprocessor and implement simple assembly programs. | Understand (L2), Apply (L3) |
| CO4 | Design and implement programs using the 8051 microcontroller, including interfacing with external devices such as LCDs and generating delay and square wave signals. | Apply (L3), Design (L6) |

#### Module 1: (10 Hours)

Introduction to 8085 Microprocessor & Architecture, Pins & Signal - Instruction set of 8085, Memory & I/O Addressing, Assembly language programming using 8085 Instruction Set, Timing diagram, Use of Stack & Subroutines, Data transfer techniques, 8085interrupts.

#### Module 2: (8 Hours)

Interfacing & support chips: Interfacing EPROM & RAM Memories, 2716, 2764, 6116 & 6264 Microprocessor Based System Development Aids, Programmable Peripheral Interface: 8255, Programmable DMA Controller: 8257, Programmable Interrupt Controller: 8259. Application: Delay calculation, square wave generation, Interfacing of ADC & DAC, Data Acquisition System.

#### Module 3: (10 Hours)

Advanced Microprocessor: Basic features of Advance Microprocessors, Intel 8086 (16 bit processors): - 8086 Architecture, Register organization, signal descriptions, Physical Memory Organization, Addressing Modes, Instruction Formats, Instructions Sets & Simple Assembly language program.

#### Module 4: (07 Hours)

8051 Microcontrollers: MCS-51 Architecture, Registers, Stack Pointer & Program Counter. 8051 Pin Description, Connections, Parallel I/O ports, Memory Organization, 8051 Addressing Modes & Instructions, 8051 Assembly Language Programming Tools. Simple application: Delay calculation, square wave generation and Interfacing of LCD unit.

#### Text Books:

- K. Roy & K. M. Bhurchandi,” Advanced Microprocessor and Peripherals (Architecture, Programming & Interfacing)”, TMH Publications.

- D. V. Hall and S. S. S. P. Rao,” Microprocessor & its Interfacing”- 3rd Edition, TMH Publication

- M. A. Mazidi & J. G. Majidi,” Microcontroller and Embedded Systems”, 2nd Edition, Prentice Hall Publication

#### Reference Books:

- Ramesh, Gaonkar,” Microprocessor Architecture Programming and Application with the 8085”, 5th Edition CBS Publication.

CO-PO MAPPING

( 1-Weak Correlation;2-Medium correlation;3-Strong Correlation)

| CO s | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 2 | 2 | 1 | 1 | - | - | - | - | - | - | - | 3 | 1 |
| CO2 | 3 | 3 | 3 | 2 | 1 | - | - | - | - | - | - | - | 3 | 1 |
| CO3 | 3 | 2 | 3 | 1 | 1 | - | - | - | - | - | - | - | 3 | 2 |
| CO4 | 3 | 3 | 2 | 2 | 2 | - | - | - | - | - | - | - | 3 | 2 |

| SUBJECTNAME | SUBJECTCODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Microprocessors and Microcontrollers Lab | EE3503 | 0-0-3 | 1.5 |

Prerequisites:

1. Programming for problem solving

#### Course Outcomes:

| CO Code | Course Outcome | Bloom's Level |
| --- | --- | --- |
| CO1 | Develop programs for performing arithmetic operations (addition, subtraction, multiplication, and division) and sorting of data in ascending and descending order. | Apply (L3) |
| CO2 | Implement and interface ADC and DAC systems, and use them in practical applications such as signal generation and measurement. | Apply (L3) |
| CO3 | Interface and control different types of motors (stepper motor, DC motor, servo motor) and display devices like seven-segment display and graphical LCD. | Apply (L3), Implement (L4) |
| CO4 | Develop programs for data transmission through serial and parallel ports and interface sensors for data measurement (temperature, pressure). | Apply (L3), Implement (L4) |

### List of Experiments

(At least 08 experiments to be performed)

- Write program for addition, subtraction, multiplication and division operation.

- Sorting of data in ascending and descending order.

- Square root of a given data.

- To generate a square wave of frequency 10kHz (similar).

- Interfacing with ADC and DAC.

- Implementation and Interfacing of Seven segment display.

- Implementation and Interfacing of different motors like stepper motor, DC  motor and servo motor.

- To measure and display data from temperature and pressure sensor.

- To interface a graphical LCD.

- To study programming and transmission of data through serial and parallel port.

#### Text Books:

- K. Roy & K. M. Bhurchandi,” Advanced Microprocessor and Peripherals (Architecture, Programming & Interfacing)”, TMH Publications.

- D. V. Hall and S. S. S. P. Rao,” Microprocessor & its Interfacing”- 3rd Edition, TMH Publication

- M. A. Mazidi & J. G. Majidi,” Microcontroller and Embedded Systems”, 2nd Edition, Prentice Hall Publication

#### Reference Books:

- Ramesh, Gaonkar,” Microprocessor Architecture Programming and Application with the 8085”, 5th Edition CBS Publication.

CO-POMAPPING

( 1-Weak Correlation; 2-Medium correlation; 3-Strong Correlation)

| COs | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 2 | 3 | 2 | 3 | - | - | - | - | - | - | 2 | 3 | 2 |
| CO2 | 3 | 2 | 3 | 2 | 3 | - | - | - | - | - | - | 2 | 3 | 3 |
| CO3 | 3 | 2 | 3 | 2 | 3 | - | - | - | - | 2 | 2 | 3 | 3 | 2 |
| CO4 | 3 | 2 | 3 | 2 | 3 | - | - | - | - | 2 | 2 | 3 | 3 | 3 |

| SUBJECTNAME | SUBJECTCODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| OOPS | CS3511 | 0-0-3 | 1.5 |

Prerequisites:

1. Programming in C

Course Outcomes:

| CO1 | Understand the fundamentals of object-oriented programming and implement basic C++/Java programs. |
| --- | --- |
| CO2 | Apply object-oriented concepts like classes, inheritance, and polymorphism in solving electrical engineering-related problems. |
| CO3 | Demonstrate the use of file handling, templates, and exception handling for data-driven electrical applications. |
| CO4 | Develop mini-projects or simulations modeling real-time electrical systems using OOP principles. |

Detailed Syllabus

- Introduction to Object-Oriented Programming Basic input/output operations Classes and Objects in C++/Java

- Constructors and Destructors Default, parameterized, and copy constructors Object lifecycle concepts

- Function Overloading and Operator Overloading: Arithmetic operator overloading Function overloading for different data types

- Inheritance and Its Types Single, Multilevel, and Multiple Inheritance Use case: Hierarchy of Electrical Devices (e.g., resistor → variable resistor → potentiometer)

- Polymorphism Compile-time and runtime polymorphism Virtual functions and abstract classes

- File Handling Creating and reading files Writing electrical equipment logs into files

- Templates and Exception Handling Use of function and class templates Try-catch blocks for fault tolerance in simulations

- Standard Template Library (STL) [for C++] or Collections [for Java] Vectors, Lists, Maps Application in storing sensor values or circuit elements

- Mini Project (Any one) Electric Circuit Analyzer using classes for components like resistors, capacitors Billing System for power consumption (Objects: Customer, Meter, Bill) Simulation of a DC Motor with class-based modeling

Text Books:

- E. Balagurusamy, Object-Oriented Programming with C++, Tata McGraw Hill.

- Herbert Schildt, Java: The Complete Reference, McGraw-Hill Education.

Reference Books:

- Robert Lafore, Object-Oriented Programming in C++, Sams Publishing.

- Bjarne Stroustrup, The C++ Programming Language, Addison-Wesley.

CO-PO Mapping: (1:Low, 2:Medium, 3:High)

|  | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 2 | 1 | - | 1 | - | - | - | - | 1 | - | - |
| CO2 | 3 | 3 | 2 | 2 | 2 | - | - | - | - | 2 | - | - |
| CO3 | 2 | 2 | 2 | 1 | 3 | - | - | - | - | 2 | - | - |
| CO4 | 2 | 3 | 3 | 3 | 3 | - | - | - | 2 | 2 | 1 | 1 |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Electromagnetic Field Theory | EE3201 | 3-0-0 | 3 |

Prerequisites:

- Mathematics-I

- Mathematics-II

#### Course Outcomes

At the end of the course, students will be able to:

| Course code | Course Outcome | Bloom’s Level |
| --- | --- | --- |
| CO1 | Understand and apply vector calculus to analyze static electric and magnetic fields in different coordinate systems. | Understand/Apply Level-2/3 |
| CO2 | Explain the fundamental laws of electromagnetism (Coulomb’s law, Gauss’s law, Ampere’s law, Faraday’s law) and apply them to solve field problems. | Understand Level-2 |
| CO3 | Analyze time-varying fields and Maxwell’s equations to understand wave propagation in various media. | Analyze Level-4 |
| CO4 | Evaluate the behavior of electromagnetic waves in different media using boundary conditions and wave equations. | Evaluate Level-5 |

#### Module 1: (08 Hours)

Co-ordinate systems & Transformation: Cartesian co-ordinates, circular cylindrical co-ordinates, spherical co-ordinates. Vector Calculus: Differential length, Area & volume, Line, surface and volume Integrals, Del operator, Gradient of a scalar, Divergence of a vector & Divergence theorem, Curl of a vector & Stoke’s theorem, Laplacian of a scalar.

#### Module 2: (10 Hours)

Electrostatic Fields: Coulomb’s Law, Electric Field Intensity, Electric Fields due to point, line, surface and volume charge, Electric Flux Density, Gauss’s Law- Maxwell’s Equation, Applications of Gauss’s Law, Electric Potential, Relationship between E and V- Maxwell’s Equation an Electric Dipole & Flux Lines, Energy Density in Electrostatic Fields., Current and current density, Ohms Law in Point form, Continuity of current, Boundary conditions. Electro- static boundary-value problems: Poisson’s and Laplace’s Equations, Uniqueness Theorem, General procedures for solving Poisson’s and Laplace’s equations, Capacitance

#### Module 3: (06 Hours)

Magneto static Fields: Magnetic Field Intensity, Biot-Savart’s Law, Ampere’s circuit Law-Maxwell Equation, applications of Ampere’s law, Magnetic Flux Density-Maxwell’s equations. Maxwell’s equation for static fields, Magnetic Scalar and Vector potentials. Magnetic Boundary Conditions.

#### Module 4: (12 Hours)

Electromagnetic Field and Wave propagation: Faraday’s Law, Trans- former & Motional Electromagnetic Forces, Displacement Current, Maxwell’s Equation in Final forms, Time-Harmonic Field. Electromagnetic Wave Propagation: Wave Propagation in lossy Dielectrics, Plane Waves in loss less Di- electrics, Free space, Good conductors Power & Poynting vector. Antennas: Introduction, Hertzian dipole, Half wave dipole antenna, Quaterwave monopole antenna, small loop antenna, Antenna characteristics.

#### Text Books:

- Matthew N. O. Sadiku, Principles of Electromagnetics, 6th Ed., Oxford Intl. Student Edition, 2014.

- W. Hayt, J A. Buck “ Engineering Electromagnetics”, McGraw Hill Education, Special Indian Edition, 2012.

#### Reference Books:

- C. R. Paul, K. W. Whites, S. A. Nasor, Introduction to Electromagnetic Fields, 3rd Ed, TMH.

- W.H. Hyat, Electromagnetic Field Theory, 7th Ed, TMH.

- A. Pramanik,” Electromagnetism - Theory and applications”, PHI Learning Pvt. Ltd, New Delhi, 2009.

- A. Pramanik,” Electromagnetism-Problems with solution”, Prentice Hall India, 2012.

- G.W. Carter,” The electromagnetic field in its engineering aspects”, Long- mans, 1954.

- W.J. Duffin,” Electricity and Magnetism”, McGraw Hill Publication,1980.

- W.J. Duffin,” Advanced Electricity and Magnetism”, McGraw Hill,1968.

- E.G. Cullwick,” The Fundamentals of Electromagnetism”, Cambridge University Press,1966.

- B. D. Popovic,” Introductory Engineering Electromagnetics”, Addison- Wesley Educational  Publishers, International Edition, 1971.

CO-PO MAPPING

( 1-Weak Correlation;2-Medium correlation;3-Strong Correlation)

| COs | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 2 | 1 | 2 | 1 | 1 | - | - | - | - | - | - | 2 | 1 | 1 |
| CO2 | 2 | 1 | 2 | 2 | - | - | - | - | - | - | - | 2 | 2 | 2 |
| CO3 | 3 | 3 | 3 | 3 | - | - | - | - | - | - | - | 3 | 3 | 2 |
| CO4 | 3 | 3 | 3 | 3 | - | - | - | - | - | - | - | 3 | 2 | 2 |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Control Systems-II | EE3203 | 3-0-0 | 3 |

Prerequisites:

- Control System-I.

Course Outcomes:

| CO Code | Course Outcome | Bloom's Level |
| --- | --- | --- |
| CO1 | Obtain discrete representation of LTI systems. | Understand (Level-2) |
| CO2 | Evaluate stability of discrete-time control systems using Z-domain techniques. | Evaluate (Level-5) |
| CO3 | Analyze discrete-time systems using the state-space approach | Analyze (Level-4) |
| CO4 | Model and analyze discrete and nonlinear systems. | Analyze (Level-4) |

At the end of this course, students will demonstrate the ability to:

Module 1: (06 Hours)

Discrete-Time Control Systems: Introduction: Discrete Time Control Systems and Continuous Time Control Systems, Sampling Process. Sample and Hold, The Z-transform: Discrete-Time Signals, The Ztransform, Z-transform of Elementary functions, Important properties and Theorems of the Z-transform. The inverse Z transform, Z Transform method for solving Difference Equations.

Module 2: (6 Hours)

Z-Plane Analysis of Discrete Time Control Systems: Impulse sampling & Data Hold, Reconstruction of Original signals from sampled signals: Sampling theorem, folding, aliasing. Pulse Transfer function: Starred Laplace Transform of the signal involving Both ordinary and starred Laplace Transforms; General procedures for obtaining pulse Transfer functions, Pulse Transfer function of open loop and closed loop systems. Mapping between the s-plane and the z-plane, Stability analysis of closed loop systems in the z-plane: Stability analysis by use of the Bilinear Transformation and Routh stability criterion, Jury stability Test

Module 3: (08 Hours)

State Space Approach for discrete time systems:  State space models of discrete systems, State space analysis. Lyapunov Stability, Controllability, observability analysis. Effect of pole zero cancellation on the controllability & observability.

Module 4: (14 Hours)

Non-linear Systems: Introduction, Common Physical Non-linearities, The Phase-plane Method: Basic Concepts, Singular Points, Stability of Nonlinear System, Construction of Phase-trajectories, The Describing Function Method: Basic Concepts, Derivation of Describing Functions, Stability analysis by Describing Function Method, Jump Resonance.

Lyapunov’s Stability Analysis: Introduction, Lyapunov’s Stability Criterion, The Direct Method of Lyapunov and the Linear System, Methods of Constructing Lyapunov Functions for Non-linear Systems.

Text Books:

- K. Ogata, “Digital Control Engineering”, 2nd edition,Prentice Hall, Englewood Cliffs, 2012.

- I. J. Nagarath, M. Gopal, “Control Systems Engineering”, 8TH EDITION, New Age International Pvt Ltd, 2024.

- H. K. Khallil, “Non Linear Systems”, 3rd edition (2001), Pearson Education

Reference Books:

- G. F. Franklin, J. D. Powell and M. L. Workman, “Digital Control of Dynamic Systems”, AddisonWesley, 1998.

- B. C. Kuo, “Digital Control System”, 2nd Edition, Oxford University Press, 2007.

- B. Friedland, “Control System Design - An Introduction to State-Space Methods”, McGraw-Hill, 2007.

- A NagoorKani, “Advanced Control Theory”, CBS; 3rd edition, 2020

- S. H. Zak, “Systems and Control”, Oxford Univ. Press, 2003

- M. Gopal, “Digital Control Engineering”, 2nd editionWiley Eastern, 2014.

CO-PO MAPPING

(1-Weak Correlation; 2-Medium correlation; 3-Strong Correlation)

| COs | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 1 | 2 | 2 | 3 | - | - | - | - | - | - | - | 2 | - |
| CO2 | 3 | 1 | 2 | 2 | 1 | - | - | - | - | - | - | - | 3 | - |
| CO3 | 1 | 1 | 1 | 1 | 1 | - | - | - | - | - | - | - | 3 | - |
| CO4 | 3 | 1 | 3 | 3 | 1 | - | - | - | - | - | - | - | 2 | 1 |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Energy Conservation and Auditing | EE3205 | 3-0-0 | 3 |

Prerequisites:

- Basic Electrical Engineering

#### Course Outcomes

At the end of the course, students will be able to:

| Course code | Course Outcome | Bloom’s Level |
| --- | --- | --- |
| CO1 | Understand the importance of energy conservation from both financial and environmental perspectives. | Understand Level-2 |
| CO2 | Analyze the different energy efficient technologies in electrical system | Analyze Level-4 |
| CO3 | Evaluate a detailed energy audit and evaluation of energy-saving opportunities in electrical systems. | Evaluate Level-5 |
| CO4 | Apply the concepts of energy efficiency in electrical, lighting, and industrial Systems. | Apply Level-3 |

Module 1									            (10 Hours)

Energy Scenario and Economics:

Energy Scenario -An overview of Indian Energy Scenario, Energy Conservation and its importance, Energy Conservation Act and related policies, Bureau of Energy Efficiency (BEE) Regulations, Star Rating, Carbon Credit, PAT Scheme.Classification of energy conservation measures, plantenergy performance, benchmarking, and energy performance.

Energy Economics -Cash flow diagram, discount rate, payback period, internal rate of return, net present value, and life cycle cost., understanding energy costs.

Module 2                                                                                                                   (10 Hours)

Energy Conservation in Electrical Systems

Energy conservation opportunities inEnergy generation, energydistribution, energy usage by processes, Electricity billing, Efficient operations of transformers, Electric motors (motor efficiencycomputation, energy efficient motors), pumps, fans, blowers, cooling towers, power factor improvement, and harmonics.

Module 3									           (08 Hours)

Electrical Energy Audit:

Energy audit concepts, Energy auditing: Need, types, methodology and approaches; Preliminary energy auditmethodology, Detail energy audit methodology, detailed energy audit activities, Evaluation of saving opportunities, Energy audit reporting and Energy audit instruments. Case study of energy audit in different industrial organisations / electrical utilities

Module 4									           (08 Hours)

Energy Efficient Building: Understanding the Building Envelope, HAVC systems, Introduction to Smart Buildings, Introduction to Renewable Energy Use in building, Illumination, luminous flux, lumen, luminous intensity, candela power, brightness, glare, types of lighting (incandescent, CFL, and LED), Energy Efficient Lighting Systems, Cost Effectiveness of Efficient Lightning Technologies, Energy Saving Calculations.

TextBooks:

- Kumar, O. Prakash, P. S. Chauhan, and S. Gautam, Energy Management: Conservation and Audits, 1st ed. Boca Raton, FL: CRC Press, 2020.

- U. Desideri and F. Asdrubali, Eds., Handbook of Energy Efficiency in Buildings: A Life Cycle Approach, 1st ed. Oxford, UK: Butterworth-Heinemann, 2018.

Reference Books:

1. Callaghn, P. W.” Design and Management for Energy Conservation”, Pergamon Press, Oxford, 1981.

2. Dryden. I. G. C.,” The Efficient Use of Energy”, Butterworths, London, 1982.

3. I. G. C. Dryden, Ed., The Efficient Use of Energy, 2nd ed. London, U.K.: Butterworth Scientific, 1982

4. D. R. Patrick, S. W. Fardo, R. E. Richardson, B. W. Fardo, and M. Barron, Energy Conservation Guidebook, 4th ed. River Publishers, 2023.

5. A. V. Desai, Ed., Energy Economics. New Delhi, India: Wiley Eastern Ltd., 1990.

6. A. Thumann, W. J. Younger, and T. Niehus, Handbook of Energy Audits, 8th ed. Boca Raton, FL: CRC Press, 2009.

7. D. Y. Goswami and F. Kreith, Eds., Handbook of Energy Efficiency and Renewable Energy, 2nd ed. Boca Raton, FL: CRC Press, 2015.

8. Handbook on Energy Audit and Environment Management, Y P Abbi and

Shashank Jain, TERI, 2006.

9. Howard E. Jordan, Energy-Efficient Electric Motors and TheirApplications, Plenum Pub Corp., 2nd edition, 1994.

10. CPRI Training Manual on Energy Conservation and Auditing/ Website of CPRI and BEE

CO-PO MAPPING

( 1-Weak Correlation;2-Medium correlation;3-Strong Correlation)

| COs | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 3 | 2 | 1 | 1 | - | - | - | - | - | - | - | 3 | 1 |
| CO2 | 3 | 2 | 3 | 2 | 2 | - | - | - | - | - | - | - | 3 | 1 |
| CO3 | 3 | 2 | 2 | 2 | 1 | - | - | - | - | - | - | - | 3 | 2 |
| CO4 | 3 | 2 | 2 | 1 | 2 | - | - | - | - | - | - | - | 3 | 2 |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Special Electrical Machines | EE3207 | 3-0-0 | 3 |

Prerequisites:

- Electrical Machine-I

- Electrical Machine-II

#### Course Outcomes

At the end of the course, students will be able to:

| CO Code | Course Outcome | Bloom’s Level |
| --- | --- | --- |
| CO1 | Explain the construction, working principle, and performance of Switched Reluctance Motors (SRM) and Synchronous Reluctance Motors (SynRM). | Understand |
| CO2 | Analyze the EMF/torque equations, phasor diagrams, and control strategies of Permanent Magnet Synchronous Motors (PMSM) and Brushless DC Motors (BLDC). | Analyze |
| CO3 | Illustrate the construction, excitation methods, and closed-loop control of Stepping Motors using microprocessors and drive circuits. | Apply |
| CO4 | Describe the construction, principle of operation, and applications of Linear Induction Motors and Linear Synchronous Motors. | Understand |

Module 1									            (10 Hours)

SWITCHED RELUCTANCE MOTORS: Constructional features– Rotary and Linear SRMs-Principle of operation– Torque production– Steady state performance prediction- Analytical method- Power Converters and their controllers – Methods of Rotor position sensing – Sensorless operation – Closed loop control of SRM - Characteristics.

SYNCHRONOUS RELUCTANCE MOTORS: Constructional features– Types– Axial and Radial flux motors– Operating principles– Variable Reluctance and Hybrid Motors–Voltage and Torque Equations- Phasor diagram - Characteristics.

Module 2                                                                                                                   (10 Hours)

PERMANENT MAGNET SYNCHRONOUS MOTORS: Principle of operation– Ideal PMSM – EMF and Torque equations– Armature reaction MMF– Synchronous Reactance – Sine wave motor with practical windings - Phasor diagram – Torque/speed characteristics- Power controllers- Converter Volt-ampere requirements. Magnetic Equivalent Circuit

PERMANENT MAGNET BRUSHLESS DC MOTORS: Permanent Magnet materials– Magnetic Characteristics – Permeance coefficient- Principle of operation– Types– Magnetic circuit analysis–EMF and torque equations – Commutation Power controllers– Motor characteristics and control.

Module 3									           (10 Hours)

STEPPING MOTORS: Constructional features– Principle of operation– Variable reluctance motor –Hybrid motor– Single and multi stack configurations– Torque equations– Modes of excitations–Characteristics– Drive circuits– Microprocessor control of stepping motors– Closed loop control.

Module 4									           (06 Hours)

Linear induction motor: Construction–  principle of operation– applications. Linear synchronous motor: Construction – principle of operation– applications.

TextBooks:

- T. J. E. Miller, Brushless Permanent Magnet and Reluctance Motor Drives, Clarendon Press, Oxford , 1989

- E. G. Janardanan, Special Electrical Machines, PHI, New Delhi, 2014

Reference Books:

- T. Kenjo, Stepping Motors and Their Microprocessor Controls, Clarendon Press, London , 1984

- R. Krishnan, Switched Reluctance Motor Drives – Modeling, Simulation, Analysis, Design and application, CRC Press, New York , 2001

- K. Venkataratnam, Special Electrical Machines, Universities Press (India) Pvt. Ltd. 2008

CO-PO MAPPING

( 1-Weak Correlation;2-Medium correlation;3-Strong Correlation)

| CO \ PO / PSO | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 2 | 2 | 1 | 1 | - | - | - | - | 1 | - | - | 3 | 2 |
| CO2 | 3 | 3 | 3 | 2 | 2 | - | - | - | - | 1 | - | - | 3 | 3 |
| CO3 | 2 | 2 | 2 | 1 | 2 | - | - | - | - | 1 | - | - | 2 | 2 |
| CO4 | 2 | 1 | 2 | 1 | 1 | - | - | - | - | 1 | - | - | 2 | 1 |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Business Management | BH-3401 | 3-0-0 | 3 |

Course Outcomes:

- Comparing and contrasting efficient functional models of business management by integrating the three core areas such as Finance, Human Resource and Marketing Management.

- Executing the Management principles in all the functional areas of business.

- Correlating the interrelations and interdependence of the areas of Management in a business organisation.

- Assessing the functional and managerial practices in business organisations.

MODULE-1: Management Principles - 8 hours

Management Concepts, Nature and Functions, Management Process and Roles of Managers, Levels of Management and Managerial Skills, Theories of Management – Contributions of F.W.Taylor, Henry Fayol, Elton Mayo, Line and Staff Relationship, Centralisation and Decentralisation, Delegation of Authority , Management thoughts in Modern Trend –Systems Approach

MODULE-2: Financial Management – 8 hours

Concept, Financial function and Role of Financial Managers, Instruments of raising short-term and long-term funds, Capital Structure, Techniques of Project Appraisal, Components of Working Capital, Operating Cycle, Factors affecting requirement of Working Capital.

MODULE-3: Human Resource Management - 7 hours

Nature and Scope of Human Resource Management, Manpower Planning, Recruitment and Selection Methods, Performance Appraisal, Need, Objectives, Modern methods of Appraisals: 720 degree, MBO, Assessment Centre Method, Talent Acquisition, Training Need Analysis, Career Planning, Organisational Citizenship Behaviour.

MODULE- 4: Marketing Management - 7 hours

Concept, Nature, Scope and Importance, Marketing Mix and 7P’s of Marketing, Segmentation, Targeting, Positioning, Factors influencing consumer decision-making, e-marketing and Green Marketing

Reference Books:

- Modern Business Organisation and Management, S.A. Sherlekar, Himalaya Publishing House, 2016.

- Essentials of Management, Stephen P. Robbins, 6th Edition, Pearson, 2010.

- Financial Management, Sheeba Kapil, 1st Edition,Pearson, 2013.

- Human Resource Management Text and Cases, K. Aswathappa, 10th Edition,TMH, 2023

- Marketing Management, Rajan Saxena, 6th Edition, TMH publishing house, 2022.

- Principles of Management, Dipak Kumar Bhattacharyya, 1st Edition, Pearson, 2011

- Mgmt ( Principles of Management ), Willium& Tripathy, 1st Edition, Cengage Learning, 2016

CO-PO Mapping

| CO/PO | PO 1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 |  | 2 | 2 | 2 |  | 2 | 2 | 3 | 3 | 3 | 3 | 3 |
| CO2 |  |  |  |  |  | 1 | 3 | 3 | 3 | 3 | 3 | 3 |
| CO3 |  |  |  |  | 2 | 2 | 1 | 3 | 3 | 3 | 3 | 3 |
| CO4 |  |  |  |  |  | 1 | 1 | 3 | 3 | 3 | 3 | 3 |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Entrepreneurship Development | BH-3403 | 3-0-0 | 3 |

Course Outcomes:

- Exemplifying the business opportunities, social responsibilities and the support system for setting up an enterprise.

- Determining stages of Entrepreneurial Process starting from idea generation, developing a business plan and operational aspects of an Enterprise.

- Appraising the different funding options and Financial Management of an enterprise.

- Assessing the Start-up management practices like incubation, mentorship and Government initiatives.

MODULE-1:  Introduction to Entrepreneurship - 8 hours

Concept, Functions of an Entrepreneur, Entrepreneurial Process, Entrepreneurial Motivation and Barriers, Traits to be a successful Entrepreneur, Creativity and scope of Entrepreneurship in India: Types of new age business (FinTech, EdTech, Healthcare, Agripreneurship, Defence, Drone, Space, IT, Robotics, Digital Transformation, Women-Entrepreneurship, Social Entrepreneurship, Corporate Social Responsibility, Business Ethics – Role of Values in Management.

MODULE-2: Entrepreneurial Idea into Action - 8 hours

Developing a Business Idea; Opportunity, Methods and Creativity, Deciding to set up a start-up, Forms of business organisations (Sole tradership/propreitorship, Partnership, Joint-Stock Company) and MSMEs (Micro, Small and Medium enterprises), Size and Location of the enterprise, Feasibility Study: Market Survey, Techno-economic feasibility and preparing a Project Report.

MODULE-3: Entrepreneurial Finance and Funding - 7 hours

Sources of funding(Bootstrapping, Angel Investors, Venture Capital, Crowdfunding etc.) Project Investment Analysis, Break-Even Analysis, ROI Analysis, Basics of Income Statement and Balance Sheet.

MODULE- 4: Managing an Enterprise – 7 hours

The Start-up ecosystem, Business Incubators, Start-up Accelerators, Mentorship and Networking, Failure and Resilience, Risk Management, Ethical dilemmas and Exit Strategies, Start-up Policy and Initiatives of the Government.

Reference Books:

- Entrepreneurship: Successfully Launching New Ventures, B.R. Barringer, 6th, Pearson, 2020

- Fundamentals of Entrepreneurship and Project planning, Madhurima Lall, 1st, Sultan Chand & Sons, 2021

- Entrepreneurial Development,S.S. Khanka, 1st Edition, S Chand and Company, 1999

- Entrepreneurship Development and Small business enterprises, P.M. Charantimath, 3rd Edition, Pearson, 2019

- Entrepreneurship: Theory, Process and Practice, Donald F Kuratco, 11th, Cengage, 2023

- Entrepreneurship, Robert. D. Hisrich & Sabyasachi Sinha, 11th Edition, TMH, 2020

CO-PO Mapping

| CO/PO | PO 1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 |  |  |  |  | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 |
| CO2 |  | 2 | 2 | 2 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 |
| CO3 |  |  |  |  | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 |
| CO4 |  |  |  |  | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 |

| IP 3401 - ENVIRONMENTAL ENGINEERING |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| CREDIT | 2 |  | L-3 | T-0 | P-0 |
| PREREQUISITES: Basic Physics, Basic Chemistry |  |  |  |  |  |
| COURSE OUTCOMES At the end of the course a student will be able to |  |  |  |  |  |
| CO1 | Understand the multidisciplinary nature of environmental science and ecosystem structure and functions |  |  |  |  |
| CO2 | Analyze various forms of environmental pollution and assess their impact using scientific parameters |  |  |  |  |
| CO3 | Demonstrate knowledge of water and wastewater treatment processes and air pollution control technologies |  |  |  |  |
| CO4 | Evaluate the role of environmental policies, EIA, and sustainable practices in pollution control and resource conservation |  |  |  |  |
| CONTENT |  |  |  |  |  |
| Module 1 (10 hours) | Fundamentals of Environment and Ecosystem: Multidisciplinary nature of environmental Engineering. Study of Ecosystem: Definition, Properties, Structure and Function of an ecosystem. Food chains, food webs, Flow of Energy, Ecological Pyramids, Biogeochemical cycles, Types of ecosystems, Bioaccumulation, Bio magnification, ecosystem value, Degradation of Ecosystem. Concept of Environment and pollution: Atmospheric chemistry, soil chemistry, water quality characteristics, DO, BOD and COD, water pollution, Marine Pollution, soil pollution, thermal pollution, nuclear hazard, Air Pollution: Air Quality, cause and effects of air pollution, Water and air quality standards, and Index, Noisepollution: Introduction, Noise standards, measurement, Ln Concept and control |  |  |  |  |
| Module 2 (8 hours) | Water treatment process: Pre-treatment of water, conventional process, advanced water treatment process. Waste water treatment process: Natural Treatment, Engineering Treatment -Pre- treatment, primary and secondary waste water treatment process Air Pollution Control: The natural self-cleansing properties of Environment, Air pollution meteorology, Atmospheric dispersion, Diffusion equation, ground level emission, plume rise, Effective stack height, Air Pollution control from stationarysources by installing Engineering devices, Flue gas desulphurisation, NOX removal. |  |  |  |  |
| Module 3 (8 hours) | Solid waste management: Source, classification, separation, storage and transportation of solid wastes, Waste minimization techniques, Benefits of waste minimization, reuse, recycle, thermal and biological treatment, secure land fill technique. Impact of Environmental pollution and related issues: Global climate change, global warming and greenhouse gases, Acid rain, ozone layer depletion, healthissues. |  |  |  |  |
| Module4 (4 hours) | Environmental Impact Assessment: EIA procedure, Preparation of an EIS From unsustainable to sustainable development, circular economy, Environmental Protection Act, Air (Prevention and Control of Pollution) Act, Water (Preventionand Control of Pollution) Act, Wildlife Protection Act. |  |  |  |  |
| TEXTBOOKS |  |  |  |  |  |
| 1. | Fundamentals of Ecology, M.C.Dash, Tata McGraw Hill, 2006. |  |  |  |  |
| 2. | Environmental Pollution Control Engineering, C.S. Rao, New Age International Publishers, 2018 |  |  |  |  |
| 3. | Environmental Engineering, G. Kiely, TMH, 2007 |  |  |  |  |
| REFERENCES |  |  |  |  |  |
| 1. | Environmental Engineering, H.S. Peavy, D.R. Rowe and G. Tchobanoglous, McGraw Hill. |  |  |  |  |
| 2. | Introduction to Environmental Engineering and Science, G.M. Masters, Pearson, 2015 |  |  |  |  |
| 3. | Integrated Solid Waste Management, G. Tchobanoglous, McGraw Hill, 2014 |  |  |  |  |
| 4. | Water Supply Engineering, S.K. Garg; Khanna Publishers, 37th Edition |  |  |  |  |

| CO-PO-PSO MAPPING |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| COs | PO 1 | PO 2 | PO 3 | PO 4 | PO 5 | PO 6 | PO 7 | PO 8 | PO 9 | PO 10 | PO 11 | PO 12 | PSO 1 | PSO 2 |
| CO1 | 3 | 2 | 1 | 1 | 1 | 2 | 3 | 1 | 1 | 2 | 1 | 2 | 2 | 2 |
| CO2 | 3 | 3 | 2 | 2 | 2 | 2 | 3 | 1 | 1 | 2 | 1 | 2 | 2 | 2 |
| CO3 | 3 | 3 | 3 | 2 | 2 | 2 | 3 | 1 | 2 | 2 | 2 | 3 | 3 | 3 |
| CO4 | 2 | 2 | 2 | 2 | 1 | 3 | 3 | 2 | 2 | 2 | 2 | 3 | 3 | 3 |
| Correlation Level 1: Slight 2: Moderate 3: High |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| IP3403 - INDUSTRIAL SAFETY ENGINEERING |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| CREDIT | 3 |  | L-3 | T-0 | P-0 |
| PREREQUISITES: NA |  |  |  |  |  |
| COURSE OUTCOMES At the end of the course a student will be able to |  |  |  |  |  |
| CO1 | Apply safety principles in various work environments, especially in construction and machine operations. |  |  |  |  |
| CO2 | Identify safety hazards, implement safety measures, |  |  |  |  |
| CO3 | Analyse risks to prevent accidents and injuries. |  |  |  |  |
| CO4 | Understand of safety protocols, policies, and the responsibilities of individuals and organizations in ensuring a safe working environment. |  |  |  |  |
| CONTENT |  |  |  |  |  |
| Module 1 (6 hours) | Safety Introduction: Need for safety. Safety and productivity. Definitions: Accident, Injury, Unsafe act, Unsafe Condition, Dangerous Occurrence, Reportable accidents. Theories of accident causation. Safety organization- objectives, types, functions, Role of management, supervisors, workmen, unions, government and voluntary agencies in safety. Safety policy. Safety Officer-responsibilities, authority. Safety committee-need, types, advantages. |  |  |  |  |
| Module 2 (7 hours) | Personal Protection in work environment:Personal protection in the work environment, Types of PPEs, Personal protective equipment- respiratory and non-respiratory equipment. Standards related to PPEs. Monitoring Safety Performance: Frequency rate, severity rate, incidence rate, activity rate. Housekeeping: Responsibility of management and employees. Advantages of good housekeeping. 5 s of housekeeping. Work permit system- objectives, hot work and cold work permits. Typical industrial models and methodology. Entry into confined spaces. |  |  |  |  |
| Module 3 (7 hours) | Safety issues in Construction: Introduction to construction industry and safety issues in construction Safety in various construction operations – Excavation and filling – Under-water works – Under-pinning & Shoring – Ladders & Scaffolds – Tunneling – Blasting – Demolition – Confined space – Temporary Structures. Familiarization with relevant Indian Standards and the National Building Code provisions on construction safety. Relevance of ergonomics in construction safety. Ergonomics Hazards - Musculoskeletal Disorders and Cumulative Trauma Disorders. |  |  |  |  |
| Module4 (12 hours) | SafetyHazardsinMachines and Hazardidentificationandanalysis: Machinery safeguard-Point-of-Operation, Principle of machine guarding -types of guards and devices.Safetyinturning,andgrinding.WeldingandCutting-SafetyPrecautionsofGas welding and Arc Welding. Material Handling-Classification-safety consideration- manual and mechanical handling. Handling assessments and techniques- lifting, carrying, pulling, pushing, palletizing and stocking. Material Handling equipment-operation & maintenance. Hazard and risk, Types of hazards –Classification of Fire, Types of Fire extinguishers, fire explosion and toxic gas release, Structure of hazard identification and risk assessment. Identificationofhazards:Inventoryanalysis,Fireandexplosionhazardratingofprocessplants - The Dow Fire and Explosion Hazard Index, Preliminary hazard analysis, Hazard and Operabilitystudy(HAZOP))–methodology,criticalityanalysis,correctiveactionandfollow-up. Control of Chemical Hazards, Hazardous properties of chemicals, Material Safety Data Sheets (MSDS). |  |  |  |  |
| TEXTBOOKS |  |  |  |  |  |
| 1. | R.K Jain (2000) Industrial Safety, Health and Environment management systems, Khanna Publications. |  |  |  |  |
| 2. | Paul S V (2000), Safety management System and Documentation training Programme handbook, CBS Publication. |  |  |  |  |
| 3. | Krishnan, N.V. (1997).Safety management in Industry. Jaico Publishing House, New Delhi. |  |  |  |  |
| REFERENCES |  |  |  |  |  |
| 1. | John V. Grimaldi and Rollin H.Simonds. (1989) Safety management. All India Traveller Book Seller, Delhi. |  |  |  |  |
| 2. | Ronald P. Blake. (1973). Industrial safety. Prentice Hall, New Delhi. |  |  |  |  |
| 3. | Alan Waring. (1996). Safety management system. Chapman & Hall, England. |  |  |  |  |
| 4. | Vaid, K.N., (1988). Construction safety management. National Institute of Construction Management and Research, Mumbai |  |  |  |  |

| CO-PO-PSO MAPPING |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| COs | PO 1 | PO 2 | PO 3 | PO 4 | PO 5 | PO 6 | PO 7 | PO 8 | PO 9 | PO 10 | PO 11 | PO 12 | PSO 1 | PSO 2 |
| CO1 | 3 | 3 | 3 | 2 | 2 | 2 |  | 3 |  |  |  |  | 3 | 2 |
| CO2 | 3 | 3 | 3 | 2 |  |  |  | 3 | 2 |  |  |  | 3 | 2 |
| CO3 | 3 | 3 | 3 | 2 |  |  |  | 3 |  |  |  |  | 3 | 2 |
| CO4 | 2 | 2 | 1 | 2 |  | 3 |  | 3 | 2 | 2 |  |  | 2 | 2 |
| Correlation Level 1: Slight 2: Moderate 3: High |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Power System Analysis and Operation | EE3102 | 3-0-0 | 3 |

PREREQUISITES:

- Electrical CircuitAnalysis.

- Electrical Power Transmission and Distribution.

COURSEOUTCOMES:

At the end of this course, students will demonstrate the ability to

| CO Code | Course Outcome | Bloom's Level |
| --- | --- | --- |
| CO1 | Analyze power flow in power systems using numerical methods such as Gauss-Seidel, Newton-Raphson, and Decoupled Load Flow Method. | Analyze (L4) |
| CO2 | Evaluate power system economics including economic dispatch, unit commitment, and transmission loss coefficients. | Evaluate (L5) |
| CO3 | Analyze and control frequency and voltage in power systems using concepts like droop control, automatic generation control, and excitation system control. | Analyze (L4), Apply (L3) |
| CO4 | Analyze power system stability, including loss of synchronism and voltage collapse phenomena, using techniques like swing equations and the Equal Area Criterion. | Analyze (L4) |

#### MODULE 1: (12 Hours)

Representation of Power System: Single line diagram, per unit quantities and its advantage, Power Flow Analysis: Review of the structure of a Power System and its components. Analysis of Power Flows: Formation of Bus Admittance Matrix. Real and reactive power balance equations at a node. Load and Generator Specifications. Application of numerical methods for solution of non-linear algebraic equations - Gauss Seidel, Newton-Raphson methods and Decoupled load flow method for the solution of the power flow equations.

MODULE 2: (6 Hours)

Power System Economics: Basic Pricing Principles: Generator Cost Curves, Utility Functions, Economic Operation with and without Transmission losses, Transmission loss coefficient, Economic Dispatch, Unit Commitment.

#### MODULE 3: (10 Hours)

Power System Control: MW-frequency control, models of single area & multi area MW frequency control, Reactive Power-Voltage control. Droop Control and Power Sharing. Automatic Generation Control. Reactive Power Management, Excitation System, Automatic Voltage Regulators.

Z bus building algorithm,Symmetrical components and Fault Analysis.

#### MODULE 4: (8 Hours)

Power System Stability: Swing Equations of a synchronous machine connected to an infinite bus. Power angle curve, equal area criterion and its application, critical clearing angle, fault clearing time, step-by-step solution of swing curve, factors influencing transient stability, methods of improving stability.

#### TEXT BOOKS:

- J. Grainger and W. D. Stevenson,” Power System Analysis”, McGraw Hill Education.

- J. Grainger, W. D. Stevenson and G. W. Chang,” Power System Analysis”, McGraw Hill Education.

- O. I. Elgerd,” Electric Energy Systems Theory”, McGraw Hill Education.

REFERENCE BOOKS:

- A. R. Bergen and V. Vittal,” Power System Analysis”, Pearson Education Inc.

- D.P.Kothari and I.J.Nagrath,”Modern Power System Analysis”,McGrawHillEducation.

- B.M.Weedy, B.J.Cory, N.Jenkins, J.Ekanayake and G.Strbac,”Electric Power Systems”, Wiley.

- Prabha Kundur,” Power System Stability and Control”, McGraw Hill Inc., IndianEdition

CO-PO-PSOMAPPING

(1-Weak Correlation;2-Medium correlation;3-Strong Correlation)

| COs | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 3 | 3 | 2 | 2 | - | - | - | - | - | - | - | 3 | 2 |
| CO2 | 3 | 3 | 2 | 3 | 2 | - | - | - | - | - | - | - | 2 | 2 |
| CO3 | 3 | 3 | 3 | 3 | 3 | - | - | - | - | 1 | 1 | - | 3 | 3 |
| CO4 | 3 | 3 | 3 | 3 | 2 | - | - | - | - | - | - | 1 | 3 | 3 |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Power Systems Lab | EE3502 | 0-0-3 | 1.5 |

PREREQUISITES:

- Electrical Machines Lab

- Electrical Power Transmission and Distribution

- Power System Analysis and Operation

- MATLAB

COURSE OUTCOMES:

At the end of this course, students will demonstrate the ability to

| CO Code | Course Outcome | Bloom's Level |
| --- | --- | --- |
| CO1 | Analyze the operating characteristics and fault behavior of alternators, including the determination of fault currents and reactance parameters. | Analyze (L4) |
| CO2 | Investigate the performance of protective relays, such as over-current relays, biased differential relays, distance relays, and over/under voltage relays and plot their characteristics. | Investigate (L5) |
| CO3 | Conduct steady-state and fault analysis of power systems, including short-circuit, load flow, and fault location analysis. | Apply (L3) |
| CO4 | Design and simulate power system components, such as transmission lines and power system fault analysis, power flow analysis, using MATLAB. | Design (L6) |

List of Experiments

Any 10 to be performed

- To determine sub-transient direct axis and sub-transient quadrature axis synchronous reactance of a 3-ph salient pole alternator.

- To determine fault current for L-G, L-L, L-L-G and L-L-L faults at the terminals of an alternator at very low excitation.

- To study the Electromechanical type IDMT over-current relay and with different plug setting and time setting multipliers and plot its time - current characteristics.

- To study the microcontroller type IDMT over-current relay and with different plug setting and time setting multipliers and plot its time - current characteristics.

- To determine the operating characteristics of biased different relay with different bias settings.

- To determine A, B, C, D parameters of an artificial transmission line.

- To study the directional over current relay and determine the operating time.

- To study the reverse power relay and its operating characteristics.

- To determine location of fault in a cable using cable fault locator.

- To study the Ferranti Effect and voltage distribution in HV long transmission line using transmission line model.

- To study the Overvoltage and Under voltage relay and operating characteristics.

Experiments beyond syllabus:

- To formulate the Y-Bus matrix and perform load flow analysis.

- To compute voltage, current, power factor, regulation and efficiency at the receiving end of a three phase Transmission line when the voltage and power at the sending end are given. Use Π model.

- To perform symmetrical fault analysis in a power system.

- Write a program to solve economic dispatch problem of a power system with only thermal units. Take production cost function as quadratic and neglect transmission loss.

- Write a program to solve the Load Flow problem of a given network using Gauss-Seidel Method.

- Write a program to solve the Load Flow problem of a given network using Newton-Raphson Method.

- Write a program to solve the Load Flow problem of a given network using Decoupled Load Flow Method.

#### TEXT BOOKS:

- J. Grainger and W. D. Stevenson,” Power System Analysis”, McGraw Hill Education.

- J. Grainger, W. D. Stevenson and G. W. Chang,” Power System Analysis”, McGraw Hill Education.

- O. I. Elgerd,” Electric Energy Systems Theory”, McGraw Hill Education.

REFERENCE BOOKS:

- A. R. Bergen and V. Vittal,” Power System Analysis”, Pearson Education Inc.

- D.P.KothariandI.J.Nagrath,”ModernPowerSystemAnalysis”,McGrawHillEducation.

- B.M.Weedy,B.J.Cory,N.Jenkins,J.EkanayakeandG.Strbac,”ElectricPowerSystems”,Wiley.

- PrabhaKundur,” Power System Stability and Control”, McGraw Hill Inc., IndianEdition

CO-PO-PSO MAPPING

(1-Weak Correlation;2-Medium correlation;3-Strong Correlation)

| COs | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 3 | 2 | 3 | 2 | - | - | - | 2 | 1 | - | 3 | 3 | 3 |
| CO2 | 3 | 3 | 3 | 2 | 3 | - | - | - | 2 | 1 | 2 | 3 | 3 | 2 |
| CO3 | 3 | 3 | 2 | 3 | 3 | - | - | - | 2 | 1 | - | 3 | 3 | 2 |
| CO4 | 3 | 3 | 3 | 2 | 3 | - | - | - | 2 | 1 | 2 | 3 | 3 | 3 |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Digital Signal Processing | EE3104 | 3-0-0 | 3 |

#### Prerequisites:

- Mathematics.

- Signals and Systems.

#### Course Outcomes

At the end of this course, students will demonstrate the ability to:

| CO Code | Course Outcome | Bloom's Level |
| --- | --- | --- |
| CO1 | Describe discrete-time signals and systems, explain sampling and reconstruction, and apply z-transform for LSI system analysis. | Understand (L2) |
| CO2 | Apply Discrete Fourier Transform (DFT) and Fast Fourier Transform (FFT) algorithms to analyze signals in the frequency domain and implement discrete-time systems. | Apply (L3) |
| CO3 | Analyze specifications and design digital filters (FIR and IIR) using various techniques to meet desired frequency characteristics. | Analyze (L4) |
| CO4 | Evaluate the impact of finite word length effects, spectral estimation techniques, and multi-rate processing in practical DSP systems. | Evaluate (L5) |

#### Module 1: (10 Hours)

Discrete time signals and systems: Sequences; representation of signals on orthogonal basis; Representation of discrete systems using difference equations, Sampling and reconstruction of signals - aliasing; Sampling theorem, Hold circuit and Nyquist rate. z-Transform, Region of Convergence, Analysis of Linear Shift In- variant systems using z-transform, Properties of z-transform for causal signals, Interpretation of stability in z-domain, Inverse z transforms.

#### Module 2: (10Hours)

DiscreteFourierTransform:FrequencyDomainAnalysis,DiscreteFourierTransform(DFT),Properties of DFT, Convolution of signals, Fast Fourier Transform Algorithm, Parseval’s Identity, Implementation of Discrete Time Systems.

#### Module 3: (10 Hours)

Design of Digital filters: Design of FIR Digital filters: Window method, Park Mc Clellan’s method. Design of IIR Digital Filters: Butterworth, Chebyshev and Elliptic Approximations; Low-pass, Band-pass, Band- stop and High pass filters.

#### Module 4: (06Hours)

Effect of finite register length in FIR filter design. Parametric and non-parametric spectral estimation. Introduction to multi-rate signal processing.

#### Text Books:

- Salivahanan, S. 2019. Digital Signal Processing. 4th ed. New Delhi: McGraw Hill Education.

- J. G. Proakis and D. G. Manolakis,” Digital Signal Processing: Principles, Algorithms and Applications”, 5th ed.: Prentice Hall,2021.

#### Reference Books:

- V. Oppenheim and R. W. Schafer,” Discrete Time Signal Processing”, 3rd ed.: Prentice Hall, 2009.

- S. K. Mitra,” Digital Signal Processing: A computer-based approach”, 4th ed. New Delhi: McGraw Hill, 2011.

CO-PO MAPPING

( 1-Weak Correlation;2-Medium correlation;3-Strong Correlation)

| PO | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 2 | - | - | 2 | - | - | - | - | - | - | - | 3 | 2 |
| CO2 | 3 | 3 | - | - | 3 | - | - | - | - | - | - | - | 3 | 2 |
| CO3 | 3 | 2 | 3 | - | 2 | - | - | - | - | - | - | - | 3 | 3 |
| CO4 | 3 | 2 | - | 3 | 3 | - | - | - | - | - | - | - | 3 | 3 |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Digital Signal Processing Lab | EE3504 | 0-0-3 | 1.5 |

#### Prerequisites:

- MATLAB

- Signals and Systems Lab

#### Course Outcomes

Upon successful completion of the laboratory, the students will be able to

| CO Code | Course Outcome | Bloom's Level |
| --- | --- | --- |
| CO1 | Demonstrate the generation and implementation of basic discrete-time signals and systems, including sine and square waves, and system behavior in the time domain. | Understand (L2) |
| CO2 | Apply convolution techniques (linear and circular) and analyze the frequency response of systems using DFT/IDFT and FFT algorithms. | Apply (L3) |
| CO3 | Analyze and interpret the characteristics and properties of the Discrete Fourier Transform and evaluate spectral behavior of digital systems. | Analyze (L4) |
| CO4 | Design and implement digital filters (FIR and IIR) using appropriate techniques such as windowing and Butterworth/Chebyshev approximations to meet frequency specifications. | Evaluate (L5) |

### List of Experiments

(Any 10 experiments to be performed)

- Generation of Sine wave & Square wave.

- Implementation of discrete time systems in time domain.

- Linear convolution & Circular convolution of two sequences.

- Frequency response of a system described by a difference equation.

- DFT & IDFT of the given sequences.

- Properties of DFT.

- Fast Fourier Transform.

- Design of FIR Low Pass filters using window technique.

- Design of FIR High Pass filter using window technique.

- Design of IIR Low Pass filter using Butter worth and Chebyshev approximations.

- Design of IIR High Pass filter using Butter worth and Chebyshev approximations.

- Design of Optimal/ Equi ripple IIR High/ Low Pass filter.

#### Text Books:

- Salivahanan, S. 2019. Digital Signal Processing. 4th ed. New Delhi: McGraw Hill Education.

- J. G. Proakis and D. G. Manolakis,” Digital Signal Processing: Principles, Algorithms and Applications”,5th ed. : Prentice Hall,2021.

#### Reference Books:

- V. Oppenheim and R. W. Schafer,” Discrete Time Signal Processing”, 3rd ed.: Prentice Hall, 2009.

- S. K. Mitra,  “Digital Signal Processing: A computer-based approach”, 4th ed. New Delhi: McGraw Hill, 2011.

CO-PO MAPPING

( 1-Weak Correlation; 2-Medium correlation; 3-Strong Correlation)

| PO | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 2 | - | - | 2 | - | - | - | - | - | - | - | 3 | 2 |
| CO2 | 3 | 2 | - | - | 3 | - | - | - | - | - | - | - | 3 | 2 |
| CO3 | 3 | 3 | - | 2 | 3 | - | - | - | - | - | - | - | 3 | 2 |
| CO4 | 3 | 2 | 3 | - | 3 | - | - | - | - | - | - | - | 3 | 3 |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Renewable Energy Systems | EE3202 | 3-0-0 | 3 |

#### Prerequisites:

1. Power Electronics.

#### Course Outcomes

At the end of this course, the students will able to,

| Course code | Course Outcome | Bloom’s Level |
| --- | --- | --- |
| CO1 | Analyze the energy scenario and the consequent growth of the power generation from renewable energy sources. | Analyze Level-4 |
| CO2 | Explain the basic physics of wind and solar power generation. | Understand Level-2 |
| CO3 | Synthesize the power electronic interfaces for wind and solar generation. | Analyze Level-4 |
| CO4 | Resolve the issues related to the grid-integration of solar and wind energy systems. | Evaluate Level-5 |

#### Module 1: (08 Hours)

Wind Energy: Wind power statistics of India and world, Wind Turbine Types (HAWT and VAWT) and their construction, Wind power curve-Betz’s Law-Power from a wind turbine (Numerical Problems).

Wind energy conversion system (WECS): Fixed–speed drive scheme-Variable speed drive scheme, Challenges in Grid integration of WECS. Wind physics, Betz limit, tip speed ratio, stall and pitch control, Wind speed statistics-probability distributions.

Review of modern Wind Generator topology: fixed and variable speed Wind turbines, induction generators, doubly fed induction generators and their characteristics, permanent-magnet synchronous generators.

#### Module 2: (10 Hours)

Solar Photovoltaic Power Generation: Solar photovoltaic: Technologies-Amorphous, mono-crystalline, polycrystalline; V-I characteristics of a PV cell, PV module, array, power electronic converters for solar systems, maximum power point tracking (MPPT) algorithms, control of converters.Inverter Specifications for Solar Applications (From MNRE, SECI, and other sources), Rooftop Solar PV, Net Metering,Grid integration issues in Solar PV

Solar thermal systems: Introduction, Solar Constant, Basic Sun-Earth Angles, Measurement of Solar Radiation Data(Numerical Problems), Pyranometer and Pyrheliometer,  Solar Thermal Collectors, Solar concentrators (Parabolic trough, Parabolic dish, Central Tower Collector).

#### Module 3: (06 Hours)

#### Small hydro power: Classification as micro, mini and small hydro projects -Basic concepts and types of turbines - Classification, Characteristics and Selection.ENERGY FROM OCEAN: Tidal Energy –Principle of Tidal Power, Components of Tidal Power Plant (TPP), Classification of Tidal Power Plants, Advantages and Limitations of TPP.  Ocean Thermal Energy Conversion (OTEC): Principle of OTEC system.

#### Module 4: (06 Hours)

Biomass Power: Principles of biomass conversion, Combustion and fermentation, Anaerobic digestion, Types of biogas digester, Wood gasifier, Pyrolysis, Bio gas, Wood stoves, Bio diesel, Combustion engine. Brief idea on Fuel cells and Battery Storage Technology. Applications.

#### Text Books:

- T. Ackermann,” Wind Power in Power Systems”, John Wiley and Sons Ltd.,2005.

- G. M. Masters,” Renewable and Efficient Electric Power Systems”, John Wiley and Sons,2004.

- H. Siegfried and R. Waddington,” Grid integration of wind energy con- version systems”, John Wiley and Sons Ltd.,2006.

- C. S. Solanki,” Solar Photovoltaics Fundamentals, Technologies and Applications”, PHI Learning Private limited, third edition April2015.

Reference Books:

- Khan B. H., Non-Conventional Energy Resources, Tata McGraw Hill, 2009.

- D.P.Kothari, K.C.Singal, RakeshRanjan, Renewable Energy Sources and Emerging Technologies, Prentice Hall of India, New Delhi, 2009.

- A. K. Tripathy. Multiple Choice Questions on Renewable Energy. ISBN: 9788179931288

- Seema Behera, Bishnupriya Dash, Renewable Energy System, Engineer's Mind Publications, 2012 (first edition).

- S. N. Bhadra, D. Kastha, S. Banerjee - Wind Electrical Systems-Oxford University Press (2013).

CO-PO-PSO MAPPING

( 1-Weak Correlation;2-Medium correlation;3-Strong Correlation)

| CO s | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 3 | 3 | 3 | 2 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 3 | 3 |
| CO2 | 3 | 3 | 2 | 3 | 2 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 3 | 3 |
| CO3 | 3 | 3 | 3 | 3 | 2 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 3 | 3 |
| CO4 | 3 | 3 | 2 | 2 | 2 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 3 | 3 |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Power Station Engineering | EE3204 | 3-0-0 | 3 |

Course Outcomes:

At the end of this course, students will demonstrate the ability to

| CO Code | Course Outcome | Bloom's Level |
| --- | --- | --- |
| CO1 | Identify various conventional and non-conventional energy sources and explain their applications in the Indian power generation scenario. | Remember, Understand |
| CO2 | Analyze load characteristics and apply economic factors to determine cost-effective generation and tariff structures. | Analyze, Apply |
| CO3 | Explain the construction, operation, and control of nuclear, hydroelectric, and thermal power stations. | Understand, Apply |
| CO4 | Evaluate environmental impacts of different power plants and summarize pollution control techniques and renewable energy technologies. | Evaluate, Understand |

MODULE 1		  (8 Hours)

Introduction: Introduction to different sources of energy and general discussion on their application to generation, Indian Energy Scenario, Recent trends in Power Generation

Prediction of Load: Connected Load, Maximum Load, Demand Factor, Average load, Load Factor, Load duration curves,Diversity Factor, Choice of Type of Generation, Capacity Factor, Reserve Factor, Plant Use Factor, Base Load, Intermediate Load and Peak Load Plants.

Economics of power generation: Cost of Electrical Energy, Construction costs, Fixed cost, Costs for Energy, Depreciation of Plant, Fuel cost, Economic scheduling principle, Annual Operating Costs, Effect of Load Factor on cost per kWh, Tariff or Charge to Consumer

MODULE 2 										(10 Hours)

Nuclear power station: Introduction to fission & fusion, Principle of Nuclear Energy, Reactor Construction, Controlled Chain Reaction, Brief study of various Types of Power Reactor – Pressurized water reactor, boiling water reactor, Fast breeder reactor, Operational Control of Reactors, Location and layout of nuclear power plant,Economics of Nuclear Power Station, Radiation Hazards and Shielding, Radioactive waste disposal

Hydro Electric power station:

Schematic Diagram of Hydro Power Plant and functional details of components: Estimation of amount stored by a dam across the river,Selection of site for hydro-electric power plant, Arrangement of Hydroelectric Station:Catchment area, Reservoir, Dam, Head Gate, Spillways, Pen stock, Surge Tanks, Scroll case, Draft tubes and Tail Race, Power House, Classification of Hydroelectric Power Plants. Governors, Operational principle of Kaplan and Francis Turbine and Pelton wheel, Speed and Pressure Regulation, Work done and Efficiency

MODULE 3										  (8 Hours)

Thermal power station:

Selection of site for thermal power plant. Main Parts and Working of a Steam Station:Overall Block Diagram indicating the air circuit, coal and ash circuit, water and steam circuit, various types of steam turbines, ash and coal handling system, High Pressure and High-capacity water tube boilers, Economizer, Superheaters, De-Superheater, Re-heater, Air Pre-heater. Draft System: Natural, Induced Forced and Balance Draft,Condensers, Feed water heaters, Evaporators, Make-up water, bleeding of steam, cooling water system. Electrostatic Precipitator. Basic working Principle and constructional details of Governors.

MODULE 4										(5 Hours)

Effluents from power plants and impact on environment: Pollutants and pollution standards, methods of pollution control, safety regulation

Renewable Energy Power Plants: Basics of Solar thermal energy, wind energy, geothermal energyand ocean energy.

Various Power Storage Devices: Battery Storage, Pumped Storage Plant, Hydrogen Storage

TEXT BOOKS:

- P. K. Nag, “Power Plant Engineering”, 3rd Edition, Tata McGraw Hill Publication.

- M. V. Deshpande, “Elements of Electrical Power Station Design”, PHI .

REFERENCES:

- Arora &Domkundwar, “A Course in Power Plant Engineering”, Dhanpat Rai and sons.

- R. K.   Rajput, “A Text Book of Power Plant Engineering”, 3rd Edition, Laxmi Publishing.

- Bernhardt G. A. Skrotzki, William A. Vopat, “Power Station Engineering and Economy”, 2nd Edition, Tata McGraw Hill Publication.

CO-PO-PSO MAPPING

( 1-Weak Correlation;2-Medium correlation;3-Strong Correlation)

| CO\PO/PSO | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 1 | 1 | – | – | – | 1 | 2 | – | – | – | – | 1 | 2 | – |
| CO2 | 3 | 3 | 2 | 3 | – | – | – | – | – | – | 1 | 2 | 3 | – |
| CO3 | 1 | 1 | 2 | – | – | – | 1 | – | – | – | – | - | 3 | 2 |
| CO4 | 1 | - | 3 | – | – | 2 | 3 | 1 | – | – | 1 | 2 | 2 | 1 |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Electric Vehicle | EE3206 | 3-0-0 | 3 |

COURSE OUTCOMES:

After successfully completing this course a student will able to:

| CO | Course Outcome Statement | Bloom’s Taxonomy Level |
| --- | --- | --- |
| CO1 | Describe the architecture, classifications, and components of electric vehicles, and explain their operation. | Understand (Level 2) |
| CO2 | Analyze power flow, vehicle dynamics, and control strategies for electric propulsion systems using fundamental engineering principles. | Analyze (Level 4) |
| CO3 | Apply the principles of power electronics and electric drives to evaluate the performance of EV propulsion systems and regenerative braking techniques. | Apply (Level 3) |
| CO4 | Evaluate energy storage technologies, grid integration techniques for EVs, including V2G and smart charging concepts. | Evaluate (Level 5) |

Module-I                                                                                                                             (08 Hours)

Introduction to Hybrid Electric Vehicles(EVs):

Overview of Electric Vehicles: Past, Present & Future of EV, Current market trends and major challenges, Comparison of EVs with Internal Combustion Engine (ICE) vehicles

Fundamentals of EVs & Hybridization: Classification of BEV, HEV, PHEV, FCEV. Series, Parallel & Series-Parallel Hybrid Systems. Power flow control & fuel efficiency analysis. In-wheel drives and multiple motor configurations.

Vehicle Dynamics Fundamentals: Vehicle kinematics and resistances (rolling, aerodynamic, grading). Dynamic equations for EVs. Maximum tractive effort and powertrain considerations.

Module-II                                                                                                                         (09 Hours)

Power Electronics & Electric Drives in EVs:

Power Electronics in EVs: DC/DC converters for EV applications, non-isolated bidirectional DC-DC converter. Voltage source inverters and PWM techniques. Regenerative braking systems. Onboard & offboard EV battery chargers

Electric Machines and Drives: Overview of Induction Motor (IM), Permanent Magnet Synchronous Motor (PMSM), Brushless DC Motor (BLDC), Switched Reluctance Motor (SRM) for EV application.

Fundamental of Motor control strategies.

Module-III										       (06 Hours)

EV Charging & Grid Integration:

EV Charging Infrastructure & Technologies: Types of EV charging (Slow, Fast, DC Fast Charging), Charging station components & requirements, Wireless charging & ultra-fast charging trends.

Grid Integration & Vehicle-to-Grid (V2G) Technology: Grid-to-Vehicle (G2V) & Vehicle-to-Grid (V2G) concepts, Impact of EVs on the power grid, smart charging & energy management.

Module-IV                                                                                                                   (07 Hours)

Energy Storage Systems & Battery Management

Battery Technologies for EVs: Battery chemistry, characteristics & performance analysisof Lead-acid, NiMH, Li-ion. Supercapacitors & Basics of Hydrogen Fuel Cells.

Battery Management System (BMS): Functions & need for BMS in EVs. State-of-charge (SoC) and state-of-health (SoH) estimation. Thermal management & safety concerns.

Future Trends & Developments in EVs:Solid-state batteries & alternative energy sources, Autonomous & connected EV technologies, Sustainable mobility & policy trends.

Text Book:

- Iqbal Hussein, Electric and Hybrid Vehicles: Design Fundamentals, CRC Press, 2021

- Ali Emadi, Advanced Electric Drive Vehicles, CRC Press, 2014.

References:

- James Larminie, John Lowry, Electric Vehicle Technology Explained, Wiley, 2012.

- Mehrdad Ehsani, YimiGao, Sebastian E. Gay, Ali Emadi, Modern Electric, Hybrid Electric and Fuel Cell Vehicles: Fundamentals, Theory and Design, CRC Press, 2005.

- hrisMi, M. Abul Masrur, David Wenzhong Gao, Hybrid Electric Vehicles: Principles and Applications with Practical Perspectives, John Wiley & Sons Ltd. , 2011

- C.C Chan, K.T Chau: Modern Electric Vehicle Technology, Oxford University Press Inc., New York 2001

Course Articulation Matrix:

( 1-Weak Correlation;2-Medium correlation;3-Strong Correlation)

|  | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 2 | 1 | 1 | - | 2 | 2 | - | - | - | - | 2 | 2 | 1 |
| CO2 | 3 | 3 | 3 | 3 | 2 | 1 | 2 | - | - | - | - | 2 | 3 | 2 |
| CO3 | 3 | 3 | 3 | 2 | 3 | 0 | 1 | - | - | - | - | 2 | 3 | 3 |
| CO4 | 3 | 3 | 3 | 3 | 2 | 2 | 3 | - | - | - | - | 2 | 3 | 2 |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Electrical Machine Design | EE3208 | 3-0-0 | 3 |

## Prerequisites:

- Electrical Machines – I,

- Electrical Machines – II

## Course Outcomes:

## Upon successful completion of the course, the student will be able to

| CO | Course Outcome Statement | Bloom’s Level |
| --- | --- | --- |
| CO1 | Understand the fundamental concepts of electrical machine design, including magnetic and thermal considerations. | Understand (Level 2) |
| CO2 | Analyze and design the core and windings of single-phase and three-phase transformers using standard design equations. | Analyze (Level 4) |
| CO3 | Design the main components of AC machines such as induction and synchronous machines considering performance parameters. | Apply (Level 3) |
| CO4 | Design DC machines and explore the use of Computer-Aided Design (CAD) tools in electrical machine design. | Apply & Evaluate (Level 3/5) |

## Module-I: Fundamentals of Electrical Machine Design 				 (8 Hours)

## Introduction to Machine Design: Importance of electrical machine design, Design process and considerations, Factors affecting machine performance. limitation in design

## Basic Concepts of Magnetic Circuits and Materials: Magnetic circuits and their analysis, Core materials and their properties, Calculation of magnetic flux and mmf

Thermal Considerations & Cooling of Machines: Heat dissipation and cooling methods, Rating and insulation classification, Calculation of temperature rise

## Module-II: Design of DC Machines (8 Hours)

## Output equation –selection of specific magnetic and electric loadings - separation of D and L – estimation of number of conductors, armature slots and conduct dimensions – choice of number of poles and calculation of length of airgap – design of field systems, interpoles and brushes.

## Module-III: Design of AC Machines (Induction & Synchronous) 		   (10 Hours)

Induction Motor Design: output equation -main dimensions – choice of average flux density and ampere conduction for meter –– design of stator slots and rotor slots- design of rotor bars end rings– design of wound rotor – design of no-load current.

Synchronous Machine Design: Types of construction – output equation - main dimensions – short circuit ratio and its effects on the performance – design of rotor –Design of field winding – Design of turbo alternators – Rotor design temperature rise and its effects.

## Module-IV: Design of Transformers 						  (10 Hours)

## Transformer Design:Transformer windings – output equation – design of main dimensions-– design of core - choice of flux density – determination of number of turns and length of mean term - resistance and leakage reactance – no load current calculation –cooling of transformers- calculation of number of tubes.

Computer-Aided Design (CAD) for Electrical Machines: Role of CAD in electrical machine design, Introduction to software tools for machine design

Text Book

- A course in Electrical Machine design A.K.Sawhney DhanpatRai 6th Edition, 2013

Reference Books

- AE Clayton and NN Hancock, “The Performance and Design of Direct Current Machines”, CBS Publishers, 3rd edition, 2004.

- M.G. Say, “Performance and Design of A.C. Machines”, ELBS and Pitman & Sons, 4th edition, 2013.

- S. K. Sen, “Principles of Electrical Machine Design with computer programmes”, Oxford and IBH Company Pvt. Ltd. New Delhi, 2nd edition,2006.

- K. M. Vishnu Murthy, “Computer Aided Design of Electrical Machines”, B.S. Publications, 1st edition 2008.

Course Articulation Matrix:

|  | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO 2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 2 | 1 | 1 | 1 | - | - | - | - | - | - | 1 | 3 | 1 |
| CO2 | 3 | 3 | 2 | 2 | 2 | - | - | - | - | - | - | 2 | 3 | 2 |
| CO3 | 3 | 2 | 3 | 1 | 2 | - | - | - | - | - | - | 2 | 2 | 3 |
| CO4 | 3 | 3 | 3 | 3 | 3 | - | - | - | - | - | - | 3 | 3 | 3 |

CS4101: Advanced AI		(L-T-P:Credits)(3-0-0:3)

| Prerequisites | Artificial Intelligence |
| --- | --- |

Course Outcomes:

| CO1 | Understand and differentiate between various probabilistic graphical models including Bayesian Networks, Markov Networks, and their structural |
| --- | --- |
| CO2 | Apply exact and approximate inference techniques such as variable elimination, belief propagation, and sampling methods for reasoning under uncertainty. |
| CO3 | Develop and evaluate learning algorithms for graphical models, including parameter estimation, structure learning, and handling partially observed data. |
| CO4 | Analyze advanced concepts in graphical models such as EM algorithm, hidden variables, causal inference, and decision-theoretic reasoning using utility and value of information. |

Detailed Syllabus

| Module-I | (7 Hours) |
| --- | --- |
| Overview of Probability Theory, Bayes Networks, Independence, I-Maps, Undirected Graphical Models, Bayes Networks and Markov Networks, Local Models, Template Based Representations, |  |
| Module-II | (8 Hours) |
| Exact Inference: Variable Elimination;Clique Trees, Belief Propagation, Tree Construction, Intro to Optimization, Approximate Inference: Sampling, Markov Chains, MAP Inference, Inference in Temporal Models |  |
| Module-III | (8 Hours) |
| Learning Graphical Models : Introduction, Parameter Estimation, Bayesian Networks and Shared Parameters, Structure Learning, Structure Search, Partially Observed Data, Gradient Descent |  |
| Module-IV | (7 Hours) |
| EM, Hidden Variables, Undirected Models, Undirected Structure Learning, Causality, Utility Functions, Decision Problems, Expected Utility, Value of Information |  |

##### Text Books:

- "Probabilistic Graphical Models: Principles and Techniques", Daphne Koller and Nir Friedman,MIT Press

- "Pattern Recognition and Machine Learning", Christopher M. Bishop,Springer

##### References Books:

- "Bayesian Reasoning and Machine Learning", David Barber, Cambridge University Press

- "Machine Learning: A Probabilistic Perspective" Kevin P. Murphy, MIT Press

CO-PO Mapping:

|  | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 2 | 2 | 1 | 1 |  |  |  |  |  |  |  |  |
| CO2 | 3 | 3 | 1 | 1 |  |  |  |  |  |  |  |  |
| CO3 | 3 | 3 | 3 | 2 |  | 2 |  |  |  |  |  |  |
| CO4 | 3 | 3 | 3 | 2 |  | 2 |  |  |  |  |  |  |

(1:Low, 2:Medium, 3:High)

Abbreviation used:

| AC | Audit course | LC | Laboratory Course | PA | Practical Assessment |
| --- | --- | --- | --- | --- | --- |
| PC | Professional Core | PR | Project/ Practical/ Internship | L | Lecture |
| PE | Professional Elective | SE | Seminar/ Expert Lecture/ Etc. | T | Tutorial |
| OE | Open Elective | IA* | Internal Assessment | P | Practical |
| MC/BS/HS | Mandatory/ Common Course | EA | End-Semester Assessment |  |  |
| ACC | Advanced Competency Course |  |  |  |  |
| *Internal Assessment Mark (40 marks) consists of (i) Mid Semester (20 marks), (ii) Quiz/ Assignment/Attendance (20 marks) |  |  |  |  |  |

FOURTH YEAR (SEVENTH SEMESTER)

| Sl. No. | Subject Type | Subject Code | Subject Name | Teaching Hours |  |  | Credit | Maximum Marks |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | L | T | P |  | IA | EA | PA | Total |
| 1 | PE | EE4201 EE4203 EE4205 EE4207 | - Smart Grid Technology - Power Quality - High Voltage Engineering - Restructured Power System | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 2 | PE | EE4211 EE4213 EE4215 EE4217 | - Utilization of Electrical Energy - Distribution System Engineering - Power System Dynamics and Control - Electrical Engineering Materials | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 3 | OE |  | Open Elective – I | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 4 | ACC | CS4101 | Advanced AI | 3 | 0 | 0 | 2 | 40 | 60 | - | 100 |
| 5 | SE | EE4701 | Seminar on SIRE - II | 0 | 0 | 6 | 1 | - |  | 100 | 100 |
| 6 | PR | EE4601/ EE4603 | Project for Product Development – II / Internship Project - I | 0 | 0 | 4 | 2 | - |  | 100 | 100 |
| Total |  |  |  | 12 | 0 | 10 | 14 | 160 | 240 | 200 | 600 |

FOURTH YEAR (EIGHTH SEMESTER)

| Sl. No. | Subject Type | Subject Code | Subject Name | Teaching Hours |  |  | Credit | Maximum Marks |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | L | T | P |  | IA | EA | PA | Total |
| 1 | OE |  | Open Elective – II | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 2 | OE |  | Open Elective – III | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 3 | OE |  | Open Elective – IV | 3 | 0 | 0 | 3 | 40 | 60 | - | 100 |
| 4 | SE | EE4702 | Seminar on Project | 0 | 0 | 6 | 3 | - |  | 100 | 100 |
| 5 | PR | EE4602/ EE4604 | Project for Product Development – III / Internship Project - II | 0 | 0 | 8 | 4 | - |  | 100 | 100 |
| Total |  |  |  | 9 | 0 | 14 | 16 | 120 | 180 | 200 | 500 |

*Project / Seminar / Internship

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Power System Protection | EE3212 | 3-0-0 | 3 |

#### Prerequisites:

- Electrical Power Transmission and Distribution

- Power System Analysis and Operation

#### Course Outcomes

At the end of this course, students will demonstrate the ability to:

| Course code | Course Outcome | Bloom’s Level |
| --- | --- | --- |
| CO1 | Analyze the principles and components of power system protection and evaluate the effectiveness of protection schemes. | Analyze (L4) |
| CO2 | Design fault protection schemes and coordinate overcurrent relay settings for power systems. | Design (L6) |
| CO3 | Design and implement protection schemes for electrical equipment such as transformers, generators, and busbars. | Design (L6) |
| CO4 | Apply system protection schemes, digital protection tools, and switchgear technologies to ensure system reliability. | Apply (L3) |

#### Module 1: (10 Hours)

Introduction and Components of a Protection System: Faults in Power System, Element and Features of Protection Schemes, Instrument Transformers, Capacitor Voltage Transformer, Sequence Component, Fault Analysis Review, Symmetrical and unsymmetrical faults.

#### Module 2: (06 Hours)

#### Switchgears: Auto reclosing, Theory of Circuit interruption, Circuit constants in relation to Circuit breaking, Re-striking voltage transient, characteristics of Re-striking Voltage, Current chopping, capacitance current breaking, resistance switching.

#### Circuit Breakers: Types of circuit breakers (air blast, air break, oil, vacuum, SF6, DC circuit breaker), advantages, and testing of the circuit breaker.

#### Module 3: (10 Hours)

Equipment Protection Schemes: Over Current, directional, distance protection, Differential protection. Transformer,Impact of Power System on Distance Relay, blocking and out of step ,Generator protection, and transmission line protection.Bus Bar arrangement schemes, Bus bar Protection.

#### System Protection: Effect of Power Swings on Distance Relaying. System Protection Schemes. Under-frequency, Under voltage, and df/dt relays

#### Module 4: (10 Hours)

Numerical Relaying Concept, Sampling, aliasing issues, Discrete Fourier Transform, Recursive and Half Cycle DFT and Cosine Filter, Least Square Technique, Frequency Response of Phasor Estimation techniques, in the Presence of Decaying DC.

Text books:

- Electrical Power System  by CL  Wadhwa, New Age International; 2022, 8th edition..

#### Power System Protection Static Relays (Second Edition), McGraw Hill, Author: T S Madhava Rao

Reference Books:

- Computer Relaying for Power Systems, Second Edition, Arun G. Phadke, James S. Thorp, John Wiley and Sons, Ltd.,Publication

#### Power System Protection, P. M. Anderson, Power Math Associates, Inc., IEEE Press Power Engineering Series, P M. Anderson, SeriesEditor.

- Power System Relaying, Third Edition, Stanley H. Horowitz, Arun G. Phadke, John Wiley & Sons, ltd.

CO-PO MAPPING

( 1-Weak Correlation;2-Medium correlation;3-Strong Correlation)

| COs | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 3 | 3 | 3 | 3 | - | - | - | - | - | - | - | 3 | 3 |
| CO2 | 3 | 3 | 3 | 3 | 3 | - | - | - | 2 | - | 2 | - | 3 | 3 |
| CO3 | 3 | 3 | 3 | 3 | 3 | - | - | - | - | - | 2 | - | 3 | 3 |
| CO4 | 3 | 3 | 3 | 3 | 3 | 3 | - | - | - | - | 2 | 3 | 3 | 3 |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Electric Drives and Control | EE3214 | 3-0-0 | 3 |

#### Prerequisites:

- Power Electronics.

- Control Systems.

- Electrical Machines.

#### Course Outcome:

At the end of the course the student will be able to:

| COs | Course Outcome statement | Bloom’s Level |
| --- | --- | --- |
| CO1 | Understand and analyze drive characteristics, stability and selection of motor type and rating for different application | Understand/Analyze Level-2/4 |
| CO2 | Analyze and design the converter fed dc drive performance involving speed control and braking | Analyze Level-4 |
| CO3 | Understand the formulation of transfer function of DC motors with closed loop operation | Understand Level-2 |
| CO4 | Analyze and apply various drive control techniques for induction motor Synchronous motor, BLDC motor and SR Motor drive | Analyze/Apply Level-4/3 |

##### Module 1 (10 Hours)

Introduction: Concepts and classification of Electric drives, Advantages of Electric drives, Selection of motors. Dynamics of Electric drives: Types of loads, Components of Load Torques, Multi quadrant operations, Motor dynamics , Equivalent Values of Drive Parameters,  Steady state stability and transient stability. Rating and Heating of motors: Thermal Model of Motor for Heating and Cooling, Heating and cooling curves, Classes of motor duty, Determination of motor rating, Load equalization

##### Module 2 (10 Hours)

DC motor drives: Basic characteristics, Single phase and three phase controlled rectifier fed DC drives, Dual converters drives, Chopper drives, Rheostatic and regenerative braking, Effects of changes in supply voltage and load torque

Closed-loop control of DC Drive: Control structure of DC drive, Inner current loop and outer speed loop, Dynamic model of separately excited DC motor and transfer functions, Modeling of chopper as gain with switching delay, Plant transfer function

##### Module 3 (10 Hours)

AC motor drives: Induction motor drives, Stator voltage control, Rotor voltage control – Slip power recovery, Concepts of Static Kramer drives and Static Scherbius drive, V/f control, Current control method, closed loop control

Synchronous motor drives: Speed torque characteristics and torque angle characteristics. Fixed and variable frequency operation modes, Self-control modes.

##### Module 4  (6 Hours)

Brushless DC motor drive characteristics and control, Traction motor control.

#### Text Books:

- G. K. Dubey,” Fundamentals of Electrical Drives”, CRC Press,2002.

- R. Krishnan,” Electric Motor Drives: Modeling, Analysis and Control”, Prentice Hall2001.

- W. Leonhard,” Control of Electric Drives”, Springer Science & Business Media, 2001.

Reference Books:

1.  Fundamental of Electric Drives by S. K Pilai

2. “Electrical Drives: Concept and applications” by Vedam Subrahmanyam

CO-POMAPPING

( 1-Weak Correlation;2-Medium correlation;3-Strong Correlation)

| COs | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 3 | 2 | 1 | 1 | - | - | - | - | - | 1 | 1 | 2 | 2 |
| CO2 | 3 | 2 | 2 | 3 | 1 | - | - | - | - | - | 2 | 2 | 2 | 2 |
| CO3 | 3 | 3 | 3 | 3 | 2 | - | - | - | - | - | 2 | 2 | 3 | 3 |
| CO4 | 3 | 3 | 3 | 3 | 2 | - | - | - | - | - | 2 | 2 | 3 | 3 |

| SUBJECTNAME | SUBJECTCODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| FACTS and HVDC | EE3216 | 3-0-0 | 3 |

Prerequisites:

1.	Power System Analysis and Operation.

2.	Power Electronics.

COURSE OUTCOMES:

At the end of this course, students will demonstrate the ability to

| CO Code | Course Outcome | Bloom's Level |
| --- | --- | --- |
| CO1 | Understand the basic concepts, advantages, and components of FACTS and HVDC systems in modern power transmission networks. | Understand (L2) |
| CO2 | Analyze the operation and characteristics of various FACTS devices (e.g., SVC, STATCOM, TCSC, UPFC) for voltage regulation, power flow control, and stability improvement. | Analyze (L4) |
| CO3 | Examine different types of HVDC transmission systems and their control strategies, including rectifier and inverter operation. | Analyze (L4) |
| CO4 | Evaluate the impact of FACTS and HVDC systems on power system performance through system modeling and simulation techniques. | Evaluate (L5) |

Module 1: (10 Hours)

HVDC Transmission: HVDC Transmission system: Introduction, comparison of AC and DC systems, applications of DC transmission, types of DC links, Layout of HVDC Converter station and various equipment. HVDC Converters, analysis.

Module 2: (10 Hours)

FACTs Concepts: Reactive power control in electrical power transmission, principles of conventional reactive power compensators, flow of power in AC parallel paths, meshed systems, Controllable parameters for Active & Reactive Power Control, basic types of FACTS controllers, definitions of FACTS controllers, brief description of FACTs controllers.

Module 3: (8 Hours)

Static Shunt Compensators:  Shunt compensation - objectives of shunt compensation, methods of controllable VAR generation, static VAR compensators - SVC, STATCOM, SVC and STATCOM comparison.

Module 4: (8 Hours)

Static Series Compensators:  Series compensation - objectives of series compensation, Thyristor switched series capacitors (TCSC), static series synchronous compensator (SSSC), power angle characteristics, and basic operating control schemes.

Text Books:

- S. Kamakshaiah& V. Kamaraju,” HVDC Transmission”, TMH Education Private Ltd., 2011, New Delhi.

- Narain G. Hingorani and L. Gyugyi, ’Understanding FACTS’, IEEE Press.

Reference Books:

- K. R. Padiyar, HVDC Power Transmissions Systems: Technology & Systems Interaction, New Age Publication, 2005

- J. Arrillaga, Peter Pregrinu, High Voltage Direct Current Transmission.

- Edward Wilson Kimbark,” Direct Current Transmission”, Vol. I, Wiley interscience, New York, London, Sydney, 1971.

- Colin Adamson and Hingorani N. G.,” High Voltage Direct Current Power Transmission”, Garraway Limited, London, 1960.

CO-PO-PSOMAPPING

(1-WeakCorrelation;2-Mediumcorrelation;3-StrongCorrelation)

| COs | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 3 | 3 | 2 | 2 | - | - | - | - | - | - | - | 3 | 2 |
| CO2 | 3 | 3 | 2 | 3 | 2 | - | - | - | - | - | - | - | 2 | 2 |
| CO3 | 3 | 3 | 3 | 3 | 3 | - | - | - | - | 1 | 1 | - | 3 | 3 |
| CO4 | 3 | 3 | 3 | 3 | 2 | - | - | - | - | - | - | 1 | 3 | 3 |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Storage Technology | EE3218 | 3-0-0 | 3 |

Prerequisites:

- Chemistry

COURSE OUTCOMES:

At the end of this course, students will demonstrate the ability to

| CO Code | Course Outcome Statement | Bloom’s Level |
| --- | --- | --- |
| CO1 | Explain the need for energy storage systems and differentiate between various conventional and modern storage technologies. | Understand (L2) |
| CO2 | Analyze the characteristics and configurations of battery packs and evaluate their suitability for electric vehicle applications. | Analyze/Evaluate (L4/L5) |
| CO3 | Design an optimized energy storage solution for integration with renewable energy systems and smart grid applications. | Create (L6) |
| CO4 | Assess the safety, efficiency, and lifecycle issues in battery systems, and propose solutions for effective thermal and health management. | Evaluate/Create (L5/L6) |

#### Module 1 (8 hours)

#### Introduction to Energy Storage: Relevance and scenario, Perspective on development of Energy Storage systems, Energy storage criteria, General concepts and Conventional batteries: their fundamentals andapplications. Grid connected and Off grid energy storage systems and requirements.

#### Module 2 (10 hours)

Introduction to energy storage for power systems: Role of energy storage systems, applications.

Overview of energy storage technologies: Thermal, Mechanical, Chemical, And Electrochemical, Electrical energy storage: Batteries, Super capacitors, Superconducting Magnetic Energy Storage (SMES), Hydrogen production and storage, introduction to fuel cell technology.

Module 3 (10 Hours)

Classification of batteries and their characteristics,Battery design for transportation, Mechanical Design and Packaging of Battery Packs for Electric Vehicles, Advanced BatteryAssisted Quick Charger for Electric Vehicles, Charging Optimization Methods for Lithium-Ion Batteries, Thermal run-away for battery systems, Thermal management of battery systems, State of Charge and State of Health Estimation, Recycling of Batteries from Electric Vehicles.

#### Module 4 (8 hours)

Storage for renewable energy systems: Solar energy, Wind energy, pumped hydro energy, fuel cells, energy storage in micro-grid and smart grid, and energy management with storage systems.Hybrid Energy storage systems: configurations and applications.

#### Text/Reference Book

#### Robert Huggins, Energy Storage, Springer, 2014th Edition.

#### Andrei G. Ter-Gazarian, Energy Storage for Power Systems (3rd Edition), IET, ISBN: 978-1-78561-867-3, 2020.

#### Reference Book

- Pistoia, Gianfranco, and Boryann Liaw. Behaviour of Lithium-Ion Batteries in Electric Vehicles: Battery Health, Performance, Safety, and Cost. Springer International Publishing AG, 2018.

- Yuping Wu, Lithium-Ion Batteries: Fundamentals and Applications (Electrochemical Energy Storage and Conversion), CRC Press, 2015.

#### Patrick T. Moseley, Jürgen Garche, Electrochemical Energy Storage for Renewable Sources and Grid Balancing, Elsevier, 2015.

| COs | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 2 | – | – | 2 | 1 | 3 | – | – | – | – | 1 | 3 | 2 |
| CO2 | 3 | 3 | 3 | 2 | 3 | – | 2 | – | – | 1 | 1 | 2 | 3 | 3 |
| CO3 | 3 | 3 | 3 | 2 | 3 | – | 3 | – | – | 2 | 2 | 3 | 3 | 3 |
| CO4 | 2 | 3 | 3 | 2 | 3 | – | 3 | – | – | 1 | 2 | 3 | 3 | 3 |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Smart Grid Technology | EE4201 | 3-0-0 | 3 |

PREREQUISITES:

- Power Systems

- Renewable Energy System

- Power Electronics

- Control Systems.

COURSEOUTCOMES:

At the end of this course, students will demonstrate the ability to

| CO Code | Course Outcome | Bloom's Level |
| --- | --- | --- |
| CO1 | Understand the basics of various features and fundamentals of smart grid. | Understand (L2) |
| CO2 | Analyze the role of automation and digitization for designing smart transmission and distribution system. | Analyze (L4) |
| CO3 | Apply various advanced technology like communication, IoT, artificial intelligence and optimization in designing Smart grid. | Apply (L3) |
| CO4 | Create and design the standards for smart electrical system with integration of renewable energy, emerging devices and technologies. | Create (L5) |

MODULE-1											(8 Hours)

Introduction to Smart Grid: Evolution of Electric Grid, Concept, Definitions and Need for Smart Grid, Smart grid drivers, functions, opportunities, challenges and benefits, Difference between conventional & Smart Grid, Concept of Resilient &Self-Healing Grid, Present development & International policies in Smart Grid, Diverse perspectives from experts and global Smart Grid initiatives. Smart Grids in India and World.

MODULE-2											(8 Hours)

Introduction to Smart Meters, Advanced Metering infrastructure (AMI) drivers and benefits, AMI protocols, standards and initiatives, AMI needs in the smart grid, smart sensors, Phasor Measurement Unit (PMU), Intelligent Electronic Devices(IED) & their application for monitoring & protection.

Technology Drivers, Smart energy resources, Smart substations, Substation Automation, Feeder Automation, Transmission systems: Energy Management System (EMS), FACTS and HVDC,

MODULE-3											(10 Hours)

Wide area monitoring, Protection and control, Distribution systems: distribution management system (DMS), Volt/VAr control, Fault Detection, Isolation and service restoration, Outage management, High Efficiency Distribution Transformers, Phase Shifting Transformers, Plug in Hybrid Electric Vehicles (PHEV).

Power Quality & EMC in Smart Grid, Power Quality issues of Grid connected Renewable Energy Sources, Power Quality Conditioners for Smart Grid, Web based Power Quality monitoring, Power Quality Audit.

MODULE-4											(10 Hours)

Local Area Network (LAN), House Area Network (HAN), Wide Area Network (WAN), Broadband over Power line (BPL), IP based Protocols, Basics of Web Service and CLOUD Computing to make Smart Grids smarter, Cyber Security for Smart Grid.

Computational Techniques: Static and Dynamic Optimization Techniques for power applications such as Economic load dispatch, Artificial Intelligent Techniques and Evolutionary Algorithm Applications in power system,

# Text Books:

- S.Borlase,“SmartGrids,Infrastructure,TechnologyandSolutions”,CRCPress,1stEdition, 2013.

- Janaka Ekanayake, Nick Jenkins, Kithsiri Liyanage, Jianzhong Wu, Akihiko Yokoyama, ‘Smart Grid: Technology and Applications’, Wiley, 2012.

# References Books:

- A. G. Phadke and J. S. Thorp, “Synchronized Phasor Measurements and their Applications”, Springer, 2nd Edition, 2017.

- T. Ackermann,“Wind Power in Power Systems”, Hoboken, N J, USA, John Wiley, 2ndEdition, 2012.

- Kenneth C.Budka, Jayant G. Deshpande, Marina Thottan, ‘Communication Networks for Smart Grids’, Springer, 2014.

- G.Masters,“RenewableandEfficientElectricPowerSystem”,Wiley–IEEEPress,2nd Edition, 2013.

- Mini S. Thomas, John D McDonald, ‘Power System SCADA and Smart Grids’, CRC Press, 2015.

CO-PO MAPPING

- Weak Correlation;2-Medium correlation;3-Strong Correlation)

| COs | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 2 | 1 | 1 | - | - | - | - | - | - | - | 1 | 2 | 1 |
| CO2 | 3 | 3 | 2 | 2 | 2 | - | - | - | - | - | - | 1 | 3 | 2 |
| CO3 | 3 | 3 | 2 | 3 | 2 | - | - | - | - | - | - | 1 | 3 | 3 |
| CO4 | 2 | 3 | 2 | 2 | - | 1 | - | - | - | - | - | 2 | 2 | 2 |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Power Quality | EE4203 | 3-0-0 | 3 |

Prerequisites:

1.	Power System Analysis and Operation

2.	Power Electronics.

| CO Code | Course Outcome | Bloom's Level |
| --- | --- | --- |
| CO1 | Identifying and Analyzing Power Quality Issues | Analyze (L4) and Remembering (L1) |
| CO2 | Understanding and Applying Mitigation Techniques | Understand (L2)/ Apply (L3) |
| CO3 | Comprehending the Impact of Power Quality | Understand (L2) |
| CO4 | Evaluating Power Quality Monitoring and Control Devices | Evaluating (L5) |

Module I:										           (8 Hours)

Electric Power Quality Phenomena: Impacts of power quality problems on end users, Power quality standards, power quality monitoring.

Overview of Power Quality Disturbances: Transients, short duration voltage variations, long duration voltage variations, voltage imbalance, wave-form distortions, voltage fluctuations, power frequency variations, power acceptability curves,

Module II: 										           (8 Hours)

Power Quality Reactive Power issues, Poor load power factor, loads containing harmonics, notching in load voltage, dc offset in loads, unbalanced loads.

Transients: Origin and classification- capacitor switching transient-lighting-load switching-impact on users, Protection and mitigation of transients.

Module III: 										      (10 Hours)

Harmonics: Harmonic distortion standards, power system quantities under non sinusoidal conditions-harmonic indices-source of harmonics-system response characteristics-effects of harmonic distortion on power system apparatus –principles for controlling harmonics, reducing harmonic currents in loads, filtering, modifying the system frequency response- Devices for controlling harmonic distortion, inline reactors or chokes, zigzag transformers, passive filters, active filters.

Module IV: 										     (10 Hours)

Power Quality Conditioners: Shunt and series compensators, Distribution STATCOMS (DSTATCOMS) and Dynamic Voltage Restorers (DVRs), Rectifier supported DVR, DC Capacitor supported DVR, DVR Structure, Voltage Restoration – Series Active Filter- Shunt Active Filter – Unified power quality conditioners.

#### TEXT BOOKS:

- Ghosh Arindam and Ledwich Gerard, ‘Power quality enhancement using custom power devices’ Springer.

- Arrillaga J., Watson N. R. and Chen S., ‘Power System Quality Assessment’ Wiley.

REFERENCE BOOKS:

- Angelo Baggini ‘Handbook of Power Quality’ – Wiley.

- R.C. Duggan, ‘Power Quality’, TMH Publication, 2002

CO-POMAPPING

(1-Weak Correlation; 2-Medium correlation; 3-Strong Correlation)

| COs | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 3 | 3 | 2 | 2 | - | - | - | - | - | - | - | 3 | 2 |
| CO2 | 3 | 3 | 2 | 3 | 2 | - | - | - | - | - | - | - | 2 | 2 |
| CO3 | 3 | 3 | 3 | 3 | 3 | - | - | - | - | 1 | 1 | - | 3 | 3 |
| CO4 | 3 | 3 | 3 | 3 | 2 | - | - | - | - | - | - | 1 | 3 | 3 |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| High Voltage Engineering | EE4205 | 3-0-0 | 3 |

PREREQUISITES:

- Electrical Measurements

- Electrical Machines.

COURSEOUTCOMES:

At the end of this course, students will demonstrate the ability to

| CO Code | Course Outcome | Bloom's Level |
| --- | --- | --- |
| CO1 | To understand the basic concepts of insulating materials (gaseous, liquids, solids, vacuum, composites) and their applications in high-voltage equipment. | Understand (L2) |
| CO2 | To understand the breakdown phenomenon in air, solid and liquid insulation | Analyze (L4) |
| CO3 | To apply knowledge on applying techniques for generation of high voltage and high current. | Apply (L3) |
| CO4 | To design high voltage electrical equipments with various testing devices | Create (L5) |

#### MODULE 1:                                                                                                                                    (9Hours)

Conduction and breakdown in gases: Ionization processes. Townsend current growth equation. Current growth in the presence of secondary processes. Townsend’s criterion for breakdown. Experimental determination of ionization coefficients. Breakdown in electronegative gases, time lags for break down, streamer theory of breakdown in gases, Paschen’s law, Breakdown in non-uniform field and corona discharges, Penning effect, Vacuum breakdown.

MODULE-II (7HOURS)									(9 Hours)

Conduction and breakdown in liquid dielectrics: Pure liquids and commercial liquids, conduction and breakdown in liquids.

Breakdown in solid dielectrics: Introduction, Intrinsic breakdown. Electromechanical breakdown, Thermal breakdown. Solid dielectrics in practice. Applications of nano filled materials for outdoor and indoor insulation

MODULE-III 											(9 HOURS)

Generation of high voltages and currents: Generation of high D.C, voltages, Generation of high alternating voltages, Generation of Impulse voltages. Tripping and control of impulse generators. Generation of Impulse currents. Measurements of high voltages and currents: Measurement of high D.C. voltages. Measurement of high D.C. and impulse voltages. Introduction. Measurement of high D.C. A.C. and impulse currents, cathode ray oscillographs for impulse voltages and currents measurements.

MODULE-IV										      (9 HOURS)

High voltage testing of electrical power apparatus: Testing of insulators and bushings. Testing of  isolators and circuit breakers, cables. Testing of transformers, surge diverter

Nondestructive testing of materials and electrical apparatus: Introduction. Measurement of D.C. resistivity. Measurement of dielectric constant and loss factor. Partial discharge measurements. Radio Interference measurements.

#### TEXT BOOKS:

- M.S. Naidu and V. Kamaraju, High Voltage Engineering, Tata McGraw-Hill, 5th Edition, 2018.

- C.L.Wadhwa, “High Voltage Engineering”, Third Edition, New Age International Publishers,2012.

- M. Abdel-Salam, H. Anis, A. El-Morshedy, R. Radwan, High-Voltage Engineering – Theory

and Practice, 2nd edition, Marcel Dekker, Inc,(Special Indian Edition) 2010

REFERENCE BOOKS:

- E.Kuffel, W.S. Zaengl, and J.Kuffel “High Voltage Engineering Fundamentals”, Second edition2000, published by Butterworth-Heinemann

- E.W. Kimbark, Direct Current Transmission-vol.1, Wiley Inter science, New York , 1971

Hugh M.Ryan,(ed) “High Voltage Engineering & Testing”, 3rd Edition, The Institution of

- Engineering and Technology, IET series. 2001

CO-POMAPPING

(1-Weak Correlation;2-Medium correlation;3-Strong Correlation)

| COs | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 2 | 3 | 3 | 3 | 2 | 2 | - | - | - | - | 2 | 3 | - |
| CO2 | 3 | 3 | 3 | 3 | 3 | 2 | - | - | - | - | - | 2 | 3 | - |
| CO3 | 3 | 3 | 3 | 3 | 3 | 2 | - | - | - | - | - | 2 | 3 | 2 |
| CO4 | 3 | 3 | 3 | 3 | 3 | 2 | - | - | - | - | - | 2 | 3 | 2 |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Restructured Power System | EE4207 | 3-0-0 | 3 |

PREREQUISITES:

- Electrical Power Transmission and Distribution.

- Power Systems Analysis and Operation.

COURSE OUTCOMES:

At the end of this course, students will demonstrate the ability to

| CO Code | Course Outcome | Bloom’s Level |
| --- | --- | --- |
| CO1 | Explain the fundamentals of power market restructuring, consumer/supplier behaviour, and economic principles. | Understand (L2) |
| CO2 | Analyze different electricity market models and generator bidding strategies under deregulated conditions. | Analyze (L4) |
| CO3 | Apply concepts of congestion management, transmission pricing, and loss allocation techniques. | Apply (L3) |
| CO4 | Evaluate ancillary service management and the implications of reforms in the Indian power sector. | Evaluate (L5) |

#### MODULE 1: (10 Hours)

Introduction to Restructuring of Power Industry and Fundamentals of Economics: Introduction, reasons for restructuring / deregulation of power industry, understanding the restructuring process, Introduction to issues involved in deregulation, Reasons and objectives of deregulation of various power systems across the world, Consumer behavior, Supplier behavior, Market equilibrium, Short-run and long-run costs, Various costs of production, Relationship between short-run and long-run average costs, Perfectly competitive market.

MODULE 2: (10 Hours)

The Philosophy of Market Models and Market Power and Generators Bidding:Introduction,  Market models based on contractual arrangements, Comparison of various market models, Electricity vis-à-vis other commodities, Market architecture, Attributes of a perfectly competitive market, the firm’s supply decision under perfect competition, Imperfect competition, Financial markets associated with electricity markets, Introduction to optimal bidding by a generator company, Optimal bidding methods, Different entities in deregulated electricity markets, Benefits from a competitive electricity market.

#### MODULE 3: (8 Hours)

Transmission Congestion Management: Introduction, Classification of congestion management methods, Calculation of Available Transfer Capability (ATC), Non-market methods, Market based method, Nodal pricing, Intra-zonal congestion management, Price area congestion management, Capacity alleviation method, Comparison and conclusion, Mathematical preliminaries,

Financial Transmission Rights (FTR): Introduction to Financial Transmission Rights, Risk Hedging Functionality of Financial Transmission Rights, Simultaneous feasibility test and revenue adequacy, FTR issuance process, Treatment of revenue shortfall, Secondary trading of FTRs, Flow Gate rights, FTR and market power, FTR and merchant transmission investment

Pricing of Transmission Network Usage and Loss Allocation: Introduction to transmission pricing, Principles of transmission pricing, Classification of transmission pricing methods, Introduction to loss allocation, Classification of loss allocation methods.

#### MODULE 4: (8 Hours)

Ancillary Service Management: Introduction to ancillary services, Types of ancillary services, Classification of ancillary services, Load-generation balancing related services, Voltage control and reactive power support services

Reforms in Indian Power Sector: Introduction, Framework of Indian power sector, Reform initiatives during 1990-1995, the availability-based tariff (ABT), The Electricity Act 2003.

#### TEXT BOOKS:

- Loi Lei Lai, “Power System Restructuring and Deregulation”, John Wiley & Sons Ltd, England

- Mohammad Shahidehpour, Muwaffaq Alomoush, “Restructured Electric Power Systems: Operation, Trading and Volatility”, Marcel Dekker, Inc.

- D. S. Kirschen and G. Strbac, “Fundamentals of power system economics”, John Wiley & Sons.

REFERENCE BOOKS:

- Geoffrey Rothwell, Tomas Gomez (Eds.), “Electricity Economics Regulation and Deregulation”, IEEE Press Power Engineering Series, John Wiley & Sons.

- Steven Stoft, “Power System Economics: designing markets for electricity”, Wiley Inter science.

- Barrie Murray, “Electricity Market – Investment, Performance and Analysis” John Wiley and Sons Publications.

CO-PO-PSO MAPPING

(1-Weak Correlation;2-Medium correlation;3-Strong Correlation)

| CO \ PO/PSO | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 2 | 1 | 1 | - | - | - | - | - | - | - | 1 | 2 | 1 |
| CO2 | 3 | 3 | 2 | 2 | 2 | - | - | - | - | - | - | 1 | 3 | 2 |
| CO3 | 3 | 3 | 2 | 3 | 2 | - | - | - | - | - | - | 1 | 3 | 3 |
| CO4 | 2 | 3 | 2 | 2 | - | 1 | - | - | - | - | - | 2 | 2 | 2 |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Utilization of Electrical Energy | EE4211 | 3-0-0 | 3 |

#### Prerequisites:

- Power Electronics.

- Control Systems.

- Electrical Machines.

- Electric Drives

Course Outcome:

At the end of the course the student will be able to:

| COs | Course Outcome statement | Bloom’s Level |
| --- | --- | --- |
| CO1 | Understand the suitability of different motor drives to be used for a specific purpose such as industrial drives, Traction motor drive, Electric Vehicles and Elevator motor drive | Understand Level-2 |
| CO2 | Review, analyze and control the operation of various electric appliances used | Analyze Level-4 |
| CO3 | Develop, select, and apply appropriate techniques for designing indoor & outdoor lighting schemes | Apply/Develop Level-3/6 |
| CO4 | Design and develop smart electrical heating, welding and electrolysis systems through the use of modern intelligent sensing and control tools | Design/Develop Level-4/6 |

Module-I   (12 Hours)

Electric Drives:

Advantages of electric drives, Characteristics of different mechanical loads, Components of electric drives, close loop operation of electric drive system, Selection of motors for different types of domestic loads, Selection of drive for applications such as textile mill, paper mill, steel mill, printing press, crane and lift etc. Introduction to Electric and Hybrid Vehicles, Configuration and performance of electrical vehicles

Elevators: Function, Application, Types, Motors and safety

Electric Traction: Advantages of electric traction, Different systems of electric traction, DC and AC systems, diesel electric system, types of services – urban, sub-urban, and main lines and their speed-time curves, traction motor characteristics, tractive effort, vehicle performance and energy consumption. Different accessories for track electrification; such as overhead capacitor wire, conductor rail system, current collector-pantograph.

Module-2 (8 Hours)

Illumination:

Nature of light, visibility spectrum curve of relative sensitivity of human eye and wave length of light, , Different type of lamps, construction and working of incandescent and discharge lamps – their characteristics, fittings required for filament lamp, mercury vapour lamp, fluorescent lamp, metal halide lamp, neon lamp, General ideas about street lighting, flood lighting, monument lighting and decorative lighting, light characteristics etc.

Module-3 (8 Hours)

Heating and Welding:

Electrical heating-advantages, methods and applications, resistance heating, design of heating elements, efficiency and losses, control. Induction heating: core type furnaces, core less furnaces and high frequency eddy current heating, dielectric heating: principle and special applications, arc furnaces: direct arc furnaces, Indirect arc furnaces, electrodes, design of heating elements, power supply and control.

Different methods of electrical welding: resistance welding, arc welding, energy storage welding, laser welding, electro-beam welding, and electrical equipment for them. Arc furnaces transformer and welding transformers.

Module-4 (8 Hours)

Electrolysis and Domestic Appliances:

Review of electrolytic principles, laws of electrolysis, electroplating, anodizing-electro-cleaning, extraction of refinery metals, power supply for electrolytic process, current and energy efficiency

Electrical components and circuits used in Refrigeration, Air Conditioning and Water Coolers: Principle of air conditioning, vapour pressure, refrigeration cycle, eco-friendly Refrigerants

Text Books:

- “Utilization of electrical energy” by E.O.Taylor, Orient Longmans, 1962.

- H. Pratap, Art and Science of Utilization of Electrical Energy, Dhanpat Rai& Co.

- Mehrdad, Ehsani, Yimin Gao, Sabastien. E. Gay, Ali Emadi, “Modern electric, hybrid electric and fuel cell vehicles”, CRC Press.

Reference Books:

- “Electrical Drives: Concept and applications” by Vedam Subrahmanyam

- N V Suryanarayan, Utilization of Elect. Power including Electric Drives and Elect. Traction,  New Age  International.

- Gupta, J.B., Utilization of Elect. Energy, Katariya and sons, New Delhi.

- Garg, G.C., Utilization of Elect. Power and Elect. Traction.

CO-PO MAPPING

( 1-Weak Correlation;2-Medium correlation;3-Strong Correlation)

| COs | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 2 | 2 | 1 | 1 | - | - | - | - | - | 1 | 1 | 2 | 1 |
| CO2 | 3 | 2 | 3 | 3 | - | - | - | - | - | - | 2 | 2 | 3 | 2 |
| CO3 | 3 | 3 | 3 | 3 | 2 | - | - | - | - | - | 2 | 2 | 3 | 3 |
| CO4 | 3 | 3 | 3 | 3 | 2 | - | - | - | - | - | 3 | 2 | 3 | 3 |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Distribution System Engineering | EE4213 | 3-0-0 | 3 |

Prerequisites:

#### Electrical Power Transmission and Distribution

#### Course Outcomes

At the end of the course, students will be able to:

| Course code | Course Outcome | Bloom’s Level |
| --- | --- | --- |
| CO1 | Design and analyze on distribution substation layouts, nature of loads | Analyze Level-4 |
| CO2 | Gain knowledge of voltage drops and power loss calculations for uniformly distributed loads and various geometric configurations. | Understand Level-2 |
| CO3 | Understand and analyze, Load flow and short-circuit analysis of single-phase and three-phase systems, Reliability, energy efficiency, future smart-grid and distribution system analysis and operation | Understand/ Analyze Leve-2/4 |
| CO4 | To familiarize with the operations of a distribution system | Understand Level-2 |

Module 1 :( 06 hours)

Introduction: Structure of distribution system, distribution feeder configurations, distribution substation layouts, North American and European systems, nature of loads, computation of transformer and feeder loadings.Load Allocation in a Distribution System.

Module 2:  (12 hours)

Approximate methods of analysis: “K” Factors, voltage drop, and power loss calculations for uniformly distributed loads and various geometric configurations. Modeling of the distribution system components. Modeling of single and three-phase overhead lines, transformers, loads, and distributed generators.

Module 3 :( 12 hours)

Distribution system analysis: Load flow and short-circuit analysis of single-phase and three-phase systems.

Operation of Distribution system: Reliability, energy efficiency, demand side management, reactive power management, and volt-var control, load balancing, reconfiguration, integration of renewable generation and storage, future smart-grid and distribution system analysis and operation.

Module 4:  (06 hours)

DER and microgrid, regulating reforms, two-part tariff, electrical safety, electrical billing and smart metering, automatic metering reading, and automatic metering infrastructure.

Text books:

- W. H. Kersting, Distribution System Modeling and Analysis, CRC Press, New York, 2002.

- Electric Power Distribution Engineering, ByTuranGönen, Chee-Wooi Ten, Ali Mehrizi-Sani · 2024, CRC Press

Reference Books:

- A. A. Sallam and O. P. Malik, Electric Distribution System, IEEE Press, Piscataway, NJ, 2011.

- Edited by B. Das, Power Distribution Automation, IET Power and Energy Series, 75, London, 2016.

- J. M. Gers, Distribution System Analysis and Automation, IET Power and Energy Series, 68, London, 2013.

- R. F. Arritt and R. C. Dugan, “Distribution system analysis and the future smart grid,” IEEE Transactions on Industry Applications, vol. 47, no. 6, pp. 2343-2350, November/ December 2011.

CO-PO MAPPING

( 1-Weak Correlation;2-Medium correlation;3-Strong Correlation)

| COs | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 1 | 3 | 2 | 2 | - | - | - | - | - | - | - | 3 | 2 |
| CO2 | 3 | 3 | 2 | 3 | 2 | - | - | - | - | - | - | - | 2 | 2 |
| CO3 | 1 | 3 | 3 | 2 | 3 | - | - | - | - | 2 | 1 | - | 3 | 3 |
| CO4 | 3 | 3 | 2 | 3 | 2 | - | - | - | - | - | - | 1 | 3 | 2 |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Power System Dynamics and Control | EE4215 | 3-0-0 | 3 |

Prerequisites:

- Control System-I.

- Power System Analysis and Operation

- Electrical Machines-II

Course Outcomes:

At the end of this course, students will demonstrate the ability to:

| CO Code | Course Outcome | Bloom’s Level |
| --- | --- | --- |
| CO1 | Explain the fundamental concepts of power system stability, rotor angle dynamics, and control loops including AVR and AGC. | Understand |
| CO2 | Analyze small signal and transient stability of power systems using state-space models, energy function methods, and simulation techniques. | Analyze |
| CO3 | Evaluate the effects of low-frequency oscillations and sub-synchronous resonance on power system performance and propose suitable damping methods. | Evaluate |
| CO4 | Assess voltage stability conditions using analytical tools and propose enhancement techniques for voltage collapse prevention in complex systems. | Evaluate |

Module 1: (10 Hours)

Power System Stability Problems: Basic concepts and definitions, rotor angle stability, synchronous machine characteristics, power versus angle relationship, modeling of synchronous machines and various loads (composite load model), modeling of excitation systems, turbine and governor systems

Generation Control Loops: Automatic Voltage Regulator (AVR) loop, Performance and response of AVR, Automatic Generation Control (AGC) of single and multi-area systems, Static and dynamic response of AGC loops.

Small Signal Stability: State space concepts, basic linearization techniques, participation factors, Eigen properties of state matrix, small signal stability of a single machine infinite bus system, hoft-bifurcation, electromechanical oscillatory modes

Module 2: (10 Hours)

Large Perturbation Stability: Transient stability: time domain simulation and direct stability analysis techniques (extended equal area criterion), energy function methods: physical and mathematical aspects of the problem, Lyapunov’s method, modeling issues, energy function formulation, potential energy boundary surface (PEBS), energy function formulation of a single machine infinite bus system, equal area criterion and energy function, Transient stability analysis of multi machine systems.

Module 3: (08 Hours)

Low Frequency Oscillations: Power system model for low frequency oscillation study, Eigen value analysis, Improvement of system damping characteristics, Power system stabilizer (PSS) model, Turbine-generator torsional characteristics, shaft system model, torsional natural frequencies and mode shapes, torsional interaction with power system controls; Sub Synchronous Resonance (SSR) and remedial measures.

Module 4: (08 Hours)

Voltage Stability Analysis: Real and reactive power flow in long transmission lines, Effect of On Load Tap Changing (OLTC) transformers and load characteristics on voltage stability, Voltage stability assessment by P-V curves, Voltage stability limit, Static and dynamic modelling of power systems. Voltage Collapse Proximity Indicators (VCPI), Voltage stability enhancement techniques.

Text Books:

- P. Kundur, “Power system stability and control”, McGraw Hill, NY, 2nd Edition -2022

- P.Sauer and M.Pai, “Power System Dynamics an Stability”, 3rd Edition Prentice Hall, 2020.

- K.R. Padiyar, “Power System Dynamics, stability and control”, Interline Publishing, Bangalore, India, 1999

- M.A.Pai, D.P.Sengupta, K.R.Padiyar, “Small signal analysis of power systems”, Narosa Series in Power and Energy Systems, 2004

Reference Books:

- Paul M. Anderson, A.A. Fouad, Power System Control and Stability, IEEE Press / Wiley,  2nd Edition, 2002

- Jan Machowski, Janusz W. Bialek, James R. Bumby, Power System Dynamics: Stability and Control, Wiley, 3rd Edition, 2020

- K. Uma Rao, Power System Operation and Control, Wiley India, 2nd Edition, 2013

CO-PO MAPPING

(1-Weak Correlation; 2-Medium correlation; 3-Strong Correlation)

|  | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 2 | 2 | 2 | 1 | - | - | - | - | 1 | - | - | 3 | 2 |
| CO2 | 3 | 3 | 3 | 3 | 2 | - | - | - | - | 1 | - | - | 3 | 3 |
| CO3 | 3 | 3 | 3 | 2 | 2 | - | - | - | - | 1 | - | - | 3 | 3 |
| CO4 | 3 | 3 | 3 | 2 | 2 | - | - | - | - | 1 | - | - | 3 | 3 |

| SUBJECT NAME | SUBJECT CODE | L-T-P | CREDIT |
| --- | --- | --- | --- |
| Electrical Engineering Materials | EE4217 | 3-0-0 | 3 |

PREREQUISITES:

- Basic Electrical Engineering,

- Basic Electronics Engineering

COURSEOUTCOMES:

At the end of this course, students will demonstrate the ability to

| CO Code | Course Outcome | Bloom's Level |
| --- | --- | --- |
| CO1 | Classify metals, describe physical properties, and analyze electrical and thermal conductivity for engineering and materials science applications. | Remember/Analyze (L1, L4) |
| CO2 | Identify dielectric materials, explain polarization mechanisms, compare properties and conductivity across solid, liquid, and gaseous dielectrics. | Remember/Understand (L1, L2) |
| CO3 | Identify magnetic materials, explain its magnetic behavior, losses, types and evaluate applications in engineering. | Remember/Evaluate (L1, L5) |
| CO4 | Understand the characteristics of semiconductor, conductor, and insulator, analyze electrical properties, evaluate applications in electrical, electronics and material science. | Understand/Analyze (L2, L4) |

MODULE 1                                                                                                                              (07hours)

Classification and Conductivity of metals:

Classification of Electrical Engineering Materials, Electrical properties of materials, Electron theory of metals, Energy levels for Conductors, Insulators and Semiconductors, factors affecting electrical resistance of materials, Ohm’s Law, Heat developed in a current carrying conductor, thermal conductivity of metals, emission of electrons from metals, temperature effect on electrical conductivity of metals, Superconductivity, HTLS (High Tension Low Sag) Conductors

MODULE2                                                                                                                                                          (08 hours)

Dielectric properties of materials:

Dielectric as an electric field medium, Breakdown voltage and dielectric strength, Breakdown in solid dielectrics, Liquid and gases as dielectrics, polarisation, Electrical conductivity in solid, liquid and gaseous dielectrics, dielectric losses, significance of the loss tangent, dipolar relaxation, frequency and temperature dependence of the dielectric constant, ferroelectricity, piezoelectricity, Different dielectric materials for ultra-capacitor and super- capacitor.

MODULE3                                                                                                                                                          (06 hours)

Magnetic properties of materials:

Classification of magnetic materials, Ferromagnetism, Magnetisation, Properties of Ferromagnetic materials, spontaneous magnetisation in ferromagnetic materials, Magnetic Anisotropy, Magnetostriction, Paramagnetism, Diamagnetism, B-H curves of soft and hard magnetic materials, Losses in magnetic materials, permanent magnet materials, rare-earth materials, materials used for PV panels, storage materials

MODULE4                                                                                                                                                            (09 hours)

Semiconductors, conducting and insulating materials:

Semiconductor materials: Characteristics of semiconductors, Intrinsic and Extrinsic semiconductors, P-N-P and N-P-N transistors, Thermal Conductivity of Semiconductors, Applications of Semiconductor Materials

conducting materials: Materials of low resistivity and high conductivity, Materials of high resistivity and low conductivity, Applications of conducting Materials

Insulating Materials: Characteristics of a good insulating material, Classification of insulating materials, Solid, liquid and gases insulating materials, Applications of Insulating Materials

TEXT BOOKS:

- An Introduction to Electrical Engineering Materials- Dr. C.S.Indulkar and Dr. S. Thiruvengadam- S CHAND and Company Pvt. Ltd.

- A Textbook of Electrical Engineering Materials- R.K.Rajput.- Laxmi Publications (P)Ltd.

REFERENCE BOOKS:

- Engineering Materials- Kenneth G. Budinski and Michael K. Budinski -Prentice Hall of India Pvt. Ltd.

- Electrical Engineering Materials-A. J. Dekker- Prentice Hall of India Pvt. Ltd.

- Seth, Gupta, Electrical Engineering Materials

CO-PO MAPPING

( 1-Weak Correlation;2-Medium correlation;3-Strong Correlation)

| COs | PO1 | PO2 | PO3 | PO4 | PO5 | PO6 | PO7 | PO8 | PO9 | PO10 | PO11 | PO12 | PSO1 | PSO2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO1 | 3 | 2 | 3 | 3 | 2 | 3 | 2 | - | 1 | 1 | - | 2 | 3 | 2 |
| CO2 | 3 | 3 | 2 | 2 | 1 | 3 | 2 | - | 1 | 1 | - | 2 | 3 | 2 |
| CO3 | 3 | 3 | 3 | 2 | 1 | 3 | 2 | - | 1 | 1 | - | 2 | 3 | 2 |
| CO4 | 3 | 3 | 3 | 3 | 2 | 3 | 3 | - | 1 | 2 | - | 3 | 3 | 2 |