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Bid No:     2908 /SES/OUTR                                     Dated:     02/09/2024

 TENDER CALL NOTICE
Sealed tenders are invited under  two bids system from reputed Original Equipment Manufacturers (OEM) / Registered Firms / Agencies for the Supply, installation, testing and commissioning  of 02 (TWO) numbers of 10 KVA ONLINE UPS to School of Electrical Sciences,  OUTR, Bhubaneswar. The sealed tender will be received by speed post/registered post /Courier only. The authority will not be held responsible for any postal delay. The tender document received after the scheduled date and time will not be accepted. The last date of tender submission is 23.09.2024 up to 3:00 P.M. The  bid documents with other details are to be downloaded from the University Website: www.outr.ac.in. The authority reserves the right to reject/cancel the tenders in whole or in part without assigning any reason thereof. 
				  
		 							Sd/-
                                                                                               REGISTRAR 













 

Bid No:  2908 /SES/OUTR                                                   Dated:  02/09/2024


BIDDING DOCUMENTS AND INSTRUCTION FOR SUPPLY OF    10 KVA, ONLINE UPS 
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ODISHA UNIVERSITY OF TECHNOLOGY AND RESEARCH
Techno Campus, Ghatikia, P.O:-MahalaxmiVihar
BHUBANESWAR-751029 ODISHA, INDIA   


 

1

2

INVITATION FOR BIDS 

Registrar, Odisha University of technology and Research, Bhubaneswar, invites sealed bids from eligible bidders for the supply of   10 KVA ONLINE UPS for School of Electrical Sciences, OUTR, Bhubaneswar.

Interested eligible Bidders may obtain detailed information   with technical specifications from the website www.outr.ac.in

Particulars about the submission of the bidding document are as follows:

(a) Cost  of bidding document	:     Rs. 1,000/-   (non- refundable)

(b)       EMD (Bid Security)                               :   Rs. 4,000/- (Except MSEs)

(c)	Date of availability of Bidding Document on the university website:  02/09/2024

(d)	Last date and time for submission of bids  :  23/09/2024 up to 3:00 PM	

(e)       Time and date of opening of technical bids  :  23/09/2024  at   04:00 PM
              
              (f)      Time and date of opening of financial bids      :  Will be communicated to the successful        bidders by telephone or e-mail
                (g)           Place of opening of bids  :  Chamber of Head, School of Electrical Sciences,     OUTR, Bhubaneswar

              (h)          If any query on technical and site
                             please contact to :                                      Dr. P. K. Ray,   
                                                                                                   Ph. No.6370317936
	                                                               E mail : pkray@cet.edu.in
           (i)   Address for communication:
				               The Registrar 
Odisha University of Technology and research
 Techno Campus, Ghatikia, 
					P.O.: Mahalaxmivihar, 
			                           Bhubaneswar -751029, Odisha
                                                                   Email id: registrar@outr.ac.in



REGISTRAR



 
Detailed Tender document and conditions of Bid:
 
As it is a two bids system the financial Bid & Technical Bid may be enclosed separately.
The Tender documents can be downloaded from our website www.outr.ac.in and the bidder has to submit a separate draft of Rs.1,000/- (non-refundable) towards cost of tender document and a draft of Rs 4,000/- towards EMD in favor of   Odisha University of Technology and Research, Bhubaneswar drawn in any Scheduled Bank payable at Bhubaneswar along with the  tender, otherwise the offer submitted by the bidder will be canceled. 

[bookmark: _Toc437521105]1. Eligibility of Bidder and General Instructions:
[bookmark: _Toc437521106]1.1 Eligibility:
Those who fulfill the following criteria are eligible to participate in the tender.
0. The bidder is to be preferably a reputed Original Manufacturer/Authorized Distributor, who should provide the documents relating to their Manufacturing Capabilities/services as follows.
0. The Bidder should be a body corporate incorporated in India under the Companies Act. The Bidder shall be registered legal entity under relevant act. and a copy   of registrations shall be attached with the bids.
0. The bidder should possess valid GSTIN and uptodate return.
0. The bidder should have an average Annual Turnover    of Rs. 10 lakh ( Rupees Ten lakhs) during   the last three financial years i.e. 2020-21, 2021-22 & 2022-23;  Should submit the audited balance sheet and P&L Account statement (of the last three financial years i.e. 2020-21, 2021-22 & 2022-23) duly signed by a Chartered accountant.
0. The bidder should have PAN and attach the IT return of 2020-21, 2021-22 and 2022-23 financial year.
0. If the bidder is an Authorized Distributor of a reputed manufacturer, a necessary authorization certificate to this effect from the manufacturer must be enclosed.
0. All after-sales, support should be provided directly by the supplier/bidder during warranty/Guarantee period.
0. The bidder must provide evidence of successful execution of supply orders with installation and successful after-sales support in reputed organizations like NITs/IITs/Central Research Laboratories, central govt., state govt. and PSUs etc., in the last 3 years.
0. The bidder should not have been blacklisted by any organization of Govt. of Odisha/India.
[bookmark: _Toc437521107]1.2 General Instructions:
The selection for procurement of 02 (TWO) numbers of 10 KVA ONLINE UPS for OUTR, Bhubaneswar will be based on Least Cost Selection (L1). In this context decision of the Purchase Committee is final based on documentary evidence and price. 
a) Submission of more than one bid by a particular bidder under different names is strictly prohibited. In case it is discovered later on that, this condition is violated, all the bids submitted by such bidder(s) would be rejected or the contract canceled.
b) The bidder should mention in the tender paper the location of its service center at Bhubaneswar.
c) All offers should be in English, and the price quoted for each item should be firm.
d) Warranty period, delivery period, and After-Sale-Service conditions, etc., are also to be clearly indicated.
e) The rates, the terms & conditions of the offer will remain valid for 120 days from the date of opening of the tender, and no change or alteration of the rate will be acceptable on any account.
f) Submitted tender forms with overwriting or erased or illegible specifications and rates will be rejected.
g) Request from a bidder in respect of additions, alterations, modifications, corrections, etc., of either terms & conditions or rate after the opening of the bid will not be considered. 
h) Bidders shall carefully examine the bid documents and fully aware of themselves about all the conditions, which may in any way affect the work or the cost thereof.
i) If a bidder finds discrepancies or omissions from the specification or other documents and any doubt as to their meaning, he should at once notify the purchaser and obtain clarification in writing.
j) This, however, does not entitle the bidder to ask for time beyond the due date fixed for receipt of tenders.
k) The bidder must also specify the time frame to repair/replace in the event of a failure.
l) Verbal clarification and/or information given by the purchaser or its employees or representatives shall not be binding on the purchaser.
m) Submission of a sealed bid will carry with the implication that the bidder agrees to abide by the conditions laid down in the detailed particulars of the bid notice.
n)  While bids are under consideration, bidders and their representatives or other interested parties are advised to refrain from contacting by any means, to the purchaser's personnel or representatives on matters relating to the tenders under study.
o) The purchaser, if necessary, will obtain clarification on bids by requesting such information from any or all the bidders either in writing or through personal contact as may be necessary.
p) The bidder will not be permitted to change the substance of his offer after the tenders have been opened.
q) In the event of non-compliance with this provision, the bidder is liable to be disqualified.
[bookmark: _Toc437521108]1.3 Procedure for Submission of Tenders:
The Tenderers must submit their bids as required in two parts in separate sealed covers Prominently super scribed as Part-I “Technical Bid” and Part-II “Financial Bid” and also indicating on each of the covers the “Tender call Notice Name, Number & Date” and due date and time   as mentioned in Tender Call Notice.
Part-I (Technical Bid)
a) Except the price schedule, all other documents in support of eligibility as mentioned in para 1.1 i.e., details of technical specifications, leaflet, Copy of Firm Registration Certificate from the competent authorities, All Tax Clearance certificates, PAN Card copy, proof of GSTIN No., list of clients, authorization certificate from Manufacturer in case of Dealer, etc. along with tender document duly signed by the authorized person in each page shall be covered in Part-I (Technical Bid).
Part-II (Financial Bid)
All indications of price shall be given in Part-II (Financial Bid)
b) Both sealed covers Part-I “Technical Bid” and Part-II “Financial Bid” should be placed in a third cover along with requisite EMD & cost of Tender documents (separately in the form of DD drawn in favour of Odisha University of Technology and Research, Bhubaneswar at any Scheduled Bank payable at Bhubaneswar), others requisite supporting documents etc. and sealed. The bid security is  exempted  to the MSE(s) bidders only. However, proper and valid documents in this regard must be submitted by the bidders in support of their claim along with Bid Security Declaration Form. The sealed cover containing tender documents as per procedure indicated above should be submitted by speed post /Registered Post/Courier to the Registrar, Odisha University of Technology and Research, Techno- campus, Mahalaxmi Vihar, Ghatikia, Bhubaneswar-751029,  within the due date and time as stipulated in Tender. No hand   delivery is accepted. The sealed envelope must show the name of the tenderer and his address and should be super scribed as “Tender for supply of  10 KVA ONLINE UPS for School of Electrical Sciences” on the top of the envelope.
c) All the documents submitted must be in the papers showing signature of the tenderer  with official seal.
d) All the documents must be submitted in a sequential manner with separator/ flags to help in quick scanning of the topics. Wherever possible, data in tabular form should be given.
e) All the documents submitted must be in the papers showing signature of the bidder and the printed office name of the bidder on the official seal.
f) All the documents must be submitted in a sequential manner along with separators/flags and check sheet to help in the quick scanning of the topics. Wherever possible, data in tabular form should be given.
Part-III  :   BID EVALUATION PROCEDURES
1. Technical  bids will be opened on the specified date & time by Tender Evaluation Committee duly constituted by the competent authority of OUTR Bhubaneswar. Short listing will be done on the basis of eligibility criteria mentioned in the tender.
2. Financial bids of those bidders whose techno-commercial bids are found valid / suitable / acceptable, shall be opened by the Committee on the specified date and time or to be intimated well in advance.
A. FINANCIAL BID PROCEDURE & EVALUATION
1. The financial bid will be opened only for bidders declared eligible and selected after techno commercial evaluation. The financial bid will be opened on a date fixed after evaluation of techno commercial bids and will be intimated to all eligible bidders in advance. 
2. Tender for this contract will be assessed in accordance with Least Cost Selection i.e L1 system. The bidder who has quoted lowest total quote in grand total   will be awarded the contract.  

B. AWARD OF CONTRACT :

1.  OUTR Bhubaneswar shall award the contract to the Bidder whose bid has been determined to be substantively responsive, eligible and qualified, technically suitable and who has offered the lowest evaluated bid price as per evaluation criteria.  

2. The Financial bids will be evaluated on the basis of prices quoted. The contract will be awarded to lowest evaluated bidder.

[bookmark: _Toc437521109]2. Requirements by Bidder before Supply:
[bookmark: _Toc437521111]  Packaging:
The UPS to be suitably protected covered in water-proof packing and crated to prevent damage or deterioration during transit and storage till the time of installation. The supplier shall be responsible for any loss or damage caused during transportation, handling or storage till their successful installation. Safety and security of UPS sets during commissioning period is the responsibility of the Bidder.
[bookmark: _Toc437521114]3. Requirements by Tender after Supply:
[bookmark: _Toc437521115]3.1 Supply:
a) The UPS should be delivered by the supplier to School of Electrical Sciences, Odisha University of Technology and Research, Techno Campus, MahalaxmiVihar, Bhubaneswar-751029.
b) The stores should be supplied directly from the manufacturing terminal/Authorized dealer having passed all tests successfully with Certifications as required.
c) The UPS ordered must be supplied in one lot within 03 (Three) weeks of placing of the purchase order.
d) In case of delay in the supply to Odisha University of Technology and Research, Bhubaneswar shall impose a penalty of 1% (one percentage) per month or part thereof subject to 5% maximum of undelivered goods.
e) Installation: Installation must be completed within 07 days from the date of supply failing which LD will be applicable.
f) In the event of undue delay OUTR reserves the right to procure the materials from alternative sources at the risk and cost of the successful bidder after giving 15 days’ notice. 
g) Any increase in tax  after the placement of order will be borne by the supplier. 
h) In case the items supplied by the supplier are found not up to the specification shall be rejected. The supplier will be intimated to take back the stocks at his own cost within three
days from the date of rejection and to replace the same within 7 days, failing which the EMD will be invoked and demurrage will be charged in addition to taking legal actions.
i) The UPS shall be delivered and installed at site at the cost of the bidder.
[bookmark: _Toc437521116]3.2 Installation and Commissioning:
Installation and Commissioning shall include the following:
1. Site location for installation of UPS will be at Simulation Lab (Room No.113 of old Lab building).
1. It will be the responsibility of the bidder to provide all necessary spares and consumables, which may be required during installation and commissioning, at no extra cost to the purchaser.
1. The bidder is to bring their own instruments required for installation, testing, and commissioning, which can be taken back after completion.
[bookmark: _Toc437521117]3.3 Documentation:
Detailed technical manuals, handbooks, Warranty card and any other certifications mentioned in the Technical specifications shall be supplied along with the consignment.
Supplied manuals/handbooks must cover detailed technical specifications and installation, operation, maintenance and System Safety procedures.
[bookmark: _Toc437521119]3.4 On-Site Warranty:
1. The supplied UPS and its components shall be covered under two-years warranty from the date of   successful completion of installation.
1. During the period of warranty, it shall be the responsibility of the bidder to provide all essential spares and consumables, which may be required for maintenance and trouble-free operation of the devices/components at the bidder’s cost.
[bookmark: _Toc437521121]3.5 After-Sales Service:
During the warranty period the bidder shall attend to the problems reported by the users of OUTR on a priority basis.
For any problem reported, the bidder shall attend and rectify the problem within 3 (three) days or provide a standby system of the similar configuration.
The report on any problem will be informed through phone which shall be given by the bidder.
The bidders will be fully responsible to provide maintenance service, in case of any negligence, in providing the service by the bidder  the action may be taken as follows,
(a) Bidder will be prohibited to execute further works in OUTR.
(b) The Security Deposit provided for the warranty period shall be invoked.
											 
[bookmark: _Toc437521122]4. Financial Terms:
[bookmark: _Toc437521123]4.1 EMD
Earnest money Deposit of Rs.4,000/- for the Bid must accompany with tender paper except MSE (The certificate to this effect should be enclosed). This deposit shall be in shape of DD/Banker’s cheque pay order drawn in any Scheduled Bank in favor of the Registrar, OUTR, Bhubaneswar payable at Bhubaneswar. No other form of earnest money deposit is acceptable. Tender not accompanied with earnest money deposit or bid security declaration form shall be rejected as non-response.  If during the tender validity period the bidder withdraws his tender, the earnest deposit shall be forfeited. The earnest money  deposit will be returned to the successful bidder after receipt  of Performance Security without interest. The EMD given by the unsuccessful bidder shall be refunded within 30 days after acceptance of tender without interest.
[bookmark: _Toc437521124]4.2 Performance Security Deposit
In case of successful Bidder, EMD will be returned on receipt of Performance Security of  5% of contract value in form  of  A/c payee Demand Draft    drawn in any Scheduled Bank in favor of the Registrar, OUTR, Bhubaneswar payable at Bhubaneswar /duly pledged fixed deposit/Bank Guarantee from any scheduled commercial Bank and will be refunded/released  after the expiry of stipulated warranty period without interest.

[bookmark: _Toc437521125]4.3 Prices:
Price quoted should be FOR Odisha University of Technology and Research, Bhubaneswar. Tax components as applicable, should be mentioned clearly in the financial bid.
Price should be quoted for unit item.
[bookmark: _Toc437521128]4.4 Payments:
100% Payment of the ordered value will be made after successful installation of the UPS subject to submission of a satisfactory performance report by the competent authority.
[bookmark: _Toc437521131]5. Instruction to the Bidder:
[bookmark: _Toc437521132]5.1 Solving Disputes:
OUTR & the bidder shall make all efforts to resolve amicably by direct informal negotiation on any disagreement or dispute arising between them under or in connection with this contract.
If dispute persist then the  matter shall be referred to courts under the jurisdiction of the Bhubaneswar court only.
The above terms and conditions, except those otherwise agreed upon, shall form a part of the Purchase Order.
Sign on each page of this tender document and Return it along with the offer enclosing this part together with the Technical Offer.
** * The OUTR authority has all rights to accept / reject any tender without assigning any reasons thereof.

[bookmark: _Toc437521133]6. Technical Specifications:
Following are the minimum specifications of the UPS & SMF Battery.
The minimum specifications are indicative and not exhaustive.
The quoted materials should be of latest version and technology.
Each UPS  should be completed in itself without needing any extra requirements except the requirement of general test and measuring instruments.
Technical specification of 10 KVA UPS.

	A
	Online UPS  10 KVA

	Sl.No.
	Minimum Technical Specifications
	Compliance
	Remarks

	
	
	Yes/No
	

	1
	Capacity (in kVA / kW)
	10kVA 1-Phase Input / 10 KW 1-Phase Output DSP Controlled IGBT Rectifier
	 
	 

	2
	Input
	 
	 

	3
	Voltage Range:
	100 – 280 VAC (Load Dependent)               
	 
	 

	4
	Frequency range
	40Hz – 70Hz
	 
	 

	5
	Power factor
	Greater than 0.95 at full load.
	 
	 

	6
	Output
	 
	 

	7
	Nominal voltage:
	220/230/240 VAC
	 
	 

	8
	Crest factor
	2:1 On Full Load (Minimum)
	 
	 

	9
	N+X Upto 4 Systems                
	Require
	 
	 

	10
	AC-AC Efficiency
	 95% .
	 
	 

	12
	Protection
	IP-20
	 
	 

	13
	Communication Port
	REPO , USB Port, RS-232 Port,
	 
	 

	14
	Display Panel (In-build LC Display & LED )
	 
	 

	15
	Measurements (On LCD)
	Input: Voltage &Frequency, Bypass: Voltage & Frequency, Output: Voltage, frequency, Kilowatt & kVA, Battery: Remaining time & Battery Level Indicator, Load Percentage & Load Level Indicator, Ambient temperature.
	 
	 

	16
	Fault Indication (On LCD)
	Inverter O/P voltage abnormal, Overload shutdown, Charge voltage too high, Damaged Batteries, Battery missing, Battery voltage to low & Over temperature Protection.
	 
	 

	
	Certifications
	 
	 

	1
	Manufacturer
	QMS:       As per ISO 9001: 2008
	 
	 

	
	
	EMS:       As per ISO 14001: 2004
	
	

	
	
	ISO 45001: 2018 , TL 9000
	
	

	2
	Product Safety Certifications (Mandatory)
	 
	 
	 

	
	
	SURGE: IEC61000-4-5:level4
	
	

	
	
	CS: IEC61000-4-6: level3
	
	

	
	
	IEC61000-4-8
	
	

	
	
	IEC 61000-2-2
	
	

	
	
	EN 62040-2:2006
	
	

	
	
	EN 61000-3-2:2009
	
	

	
	
	CE &  RoHS
	
	

	3
	2 Years for UPS Warranty.  
	
	








ANNEXURE-I

[image: ]ODISHA UNIVERSITY OF TECHNOLOGY AND RESEARCH        
 Techno Campus, Ghatikia, P.O.MahalaxmiVihar, 
Bhubaneswar, Odisha, India www.outr.ac.in, 


****************************************************************************
TECHNICAL BID


	Sl. No.
	Name of the Item
	Make/Model
	Unit
	Qty. Required

	1. 
	Supply, installation, testing and commission of  10 KVA ONLINE UPS
	
	No
	2



1. Name of the bidder 	:

a) Full postal address 

b) Telephone number :

c) E-mail id        :
2. a) Tender Cost: Rs……………………...D.D. No………..……………date………………
b) EMD: Rs………………………D.D. No………..……………date………………

3. Registration No. of Firm:
(Copy of Document showing Registration of Firm shall be enclosed)

4.  GSTIN No:
(Copy of up to date GST return and GSTIN No. proof shall be enclosed)

5. Income Tax Return Certificate:
(Copy of IT Return  and PAN No. proof shall be enclosed)

6. Total annual turn-over(value in Rupees)(2020-21, 2021-22 & 2022-23):

(Copy of Balance Sheet / Audit Statement etc. to be attached as proof)

7. Past supply details for 3 years 
(Copy of proof shall be enclosed)

Customer	Quantity supplied	Year




Signature with Date and Seal of the Bidder/Tenderer

																						

ANNEXURE-II

[image: ]ODISHA UNIVERSITY OF TECHNOLOGY AND RESEARCH
  Techno Campus, Ghatikia, P.O.MahalaxmiVihar, Bhubaneswar
                               Odisha, India
www.outr.ac.in Email: registrar@outr.ac.in


******************************************************************************
FINANCIAL BID


	Sl. No.
	Description
	Unit
	Qty.
	Rate per Unit
	Unit price GST %
	Unit Amount with GST
	Total cost including GST
(4 x 7)

	1
	2
	3
	4
	5
	6
	7
	8

	1
	Supply, installation and  testing  of  10 KVA ONLINE UPS
	No (Set)
	2
	
	
	
	

	
	                                                                                                Total
  (Rupees
	









Signature and Seal of the Bidder











 


   ANNEXURE – III
 

LETTER OF UNDERTAKING AND ACCEPTANCE OF TERMS & CONDITIONS OF BID
 To
The Registrar,
Odisha University of Technology & Research,
Ghatikia, P.O.: Mahalaxmi Vihar,
Bhubaneswar-751 029 

Ref :  Invitation of Tender Notice No.                              Dated.

I/We, the undersigned  declare that  :

1.  I/ We have downloaded / obtained the Bid document(s) for the above mentioned ‘Bid/Work’ from the web site(s) namely: …………as per your advertisement, given in the above mentioned website(s).
2. I/ We hereby certify that I / we have read the entire terms and conditions of the  Bid  documents from Page No. _______ to ______ (including all documents like annexure(s) etc .), which form part of the contract agreement and I / we shall abide hereby by the terms / conditions / clauses contained therein.
3.  The corrigendum(s) issued from time to time by your university too have also been taken into consideration, while submitting this acceptance letter.
4. I/We are ready to execute the contract in conformity with the tender document, in case we are found  successful as a tenderer.
5. Our bid shall be valid for a period of  _____ days from the date of Opening  of price bid and shall not revoke the same.
6. If our bid is accepted, I/We undertake to comply all other formalities as per the tender document and purchase order.
7. I/we also  declare that  neither our firm/company/Proprietorship concerned was   blacklisted in past nor any of our office bearer was convicted in any court  of law.
8. The detailed particulars of the  tenderer is mentioned and attached separately.  
9.  I / We certify that all information furnished by the our Firm is true & correct and in the event that the information is found to be incorrect/untrue or found violated, then your university shall without giving any notice or reason therefore or summarily reject the bid or terminate the contract, without prejudice to any other rights or remedy including the forfeiture of the full said earnest money deposit absolutely.
Yours sincerely,

Authorized signatory of the Bidder
(Authorised person shall attach a copy of the authorization for signing on behalf of the Bidding Company)
Full name and designation

					                        ANNEXURE – IV 

Bidder’s Authorisation Certificate

To
The Registrar,
Odisha University of Technology and Research
 Techno-Campus, MahalaxmiVihar
Bhubaneswar-751029

Sub :  Bidder’s Authorisation Certificate

Sir, 
With reference to the  Tender Notice No.___________________ Ms./Mr.___________________ <Name>,<Designation>, is hereby authorized to attend meetings & submit pre-qualification, technical & commercial information as may be required by you in the course of processing the above said Bid.   Her/his contact mobile number is _______________ and Email id is__________________. For the purpose of validation, his/ her verified signature is as under.

Thanking you
 
 The specimen signature is attested below: 
Name:
_________________________________ 
(Specimen Signature of Representative)

 
_________________________________ 
Signature of Authorizing Authority 



Name of Authorizing Authority
 Designation: Company Seal:




ANNEXURE –V
	 
                                    BID SECURITY SELF DECLARATION FORM 
Date: ___________________
Bid No. _________________
To (insert complete name and address of the purchaser)
I/We. The undersigned, declare that:
I/We understand that, according to your conditions, bids must be supported by a Bid Security
Declaration.
I/We accept that I/We may be disqualified from bidding for any contract with Odisha University of Technology and Research, Bhubaneswar for a period of Two years from the date of notification if I am /We are in a breach of any obligation under the bid conditions, because I/We
(a) have withdrawn/modified/amended, impairs or derogates from the tender, my/our Bid during the period of bid validity specified in the form of Bid; or

(b) having been notified of the acceptance of our Bid by the purchaser during the period of bid validity (i) fail or reuse to execute the contract, if required, or (ii) fail or refuse to furnish the Performance Security, in accordance with the Instructions to Bidders.

I/We understand this Bid Securing Declaration shall cease to be valid if I am/we are not the successful Bidder, upon the earlier of (i) the receipt of your notification of the name of the successful Bidder; or (ii) thirty days after the expiration of the validity of my/our Bid.

Signed: (insert signature of person whose name and capacity are shown) in the capacity of (insert legal capacity of person signing the Bid Securing Declaration).

Name: (insert complete name of person signing he Bid Securing Declaration)

Duly authorized to sign the bid for an on behalf of : (insert complete name of Bidder)

Dated on _____________ day of ___________________(insert date of signing)

Corporate Seal (where appropriate)
(Note: In case of a Joint Venture, the Bid Securing Declaration must be in the name of all
partners to the Joint Venture that submits the bid)


 										ANNEXURE –VI

				CRIMINAL LIABILITY UNDERTAKING
            (To be given on Company Letter Head)

Date:_________________
To
The Registrar,
Odisha University of Technology & Research,
Ghatikia, P.O.: Mahalaxmi Vihar,
Bhubaneswar-751 029 

				
The bidder has to furnish a certificate as per the format specified below along with the bid for not committed any offence. 

     I …………….…………………………………………………… S/o…………………………………..Resident of ………………………………………………………………………………………………………… do solemnly pledge and affirm that I have not committed  any offence.
(a)  Under the Prevention of  Corruption  Act 1988; or

(b)  The Indian  Penal Code or any other law for the time being in force, for causing any loss of life or property or causing a threat to public health as part of execution of a public procurement contract.


(c)   I have not been debarred  by  any Central/State Government Organisation/Bodies for the last  3 years.


                     Signature with Designation

ANNEXURE-VII

                                                   FORM  FOR FINANCIAL  CAPACITY

	        Description
	Financial Years

	
	2020-2021
	2021-22
	2022-23

	Annual  Turnover
	
	
	

	Net Worth
	
	
	

	Current Asset
	
	
	

	Current Liabilities
	
	
	

	Total Revenue
	
	
	

	Profit before Tax
	
	
	

	Profit after Tax
	
	
	




[bookmark: _Toc437521134]
 



Signature of bidder with seal
























ANNEXURE – VIII

        COMPLIANCE ON TECHNICAL SPECIFICATION
Specification of the equipment / item (in detail) to be purchased
	Details of Technical Specifications
	Whether complied with YES/NO
	If yes, please attach Tech literature of the equipment duly printed & clearly specify page No of Bulletin which specifically confirm this
	If no, attach deviation statement
	Remarks (if any)

	





	
	
	
	



Note: Please indicate the page numbers where documents attached. The entire tender document should be serially page numbered including enclosures. 
 
 

							Signature of Tenderer with office seal









ANNEXURE - IX
          CHECKLIST  FOR  THE  TENDERER
 *Supportive  Documents  must  enclose for fulfilling Eligibility criteria, to be submitted by the Tenderer
	Sl. No.
	    Particulars  
	               Yes/No 
	Page No.

	1
	Registration Certificate/Certificate of incorporation, if any
	
	

	2
	Bid Security (EMD) in shape of DD  or Bid Security Self Declaration Form for bid exemption  of  MSE
	
	

	3
	Tender Cost in shape of DD of Rs.  
	
	

	4
	Minimum  Three  (3) years  experience in the field of supply of equipment.
	
	

	5
	Average Annual Turnover of at least 10 lakhs INR during last 3 financial years i.e.   2020-21, 2021-22 and 2022-23 
	
	

	6
	Bidder’s Autorisation Form 
	
	

	7
	Registered with GST.    Furnish the copy of GST registration certificate and upto date return.
	
	

	8
	Permanent Account Number (PAN) Furnish copy of PAN,   Copy of IT Return Acknowledgement for the preceding three financial years (2020-21, 2021-22 and 2022-23)
	
	

	9
	Must have supplied 10 KVA one line UPS of State or Central Government Institutions or reputed Educational or Research Institution and proof of such supplies should be produced
	
	

	10
	Manufacturers’ Authorization Form  
	
	

	11
	Compliance on Technical Specification
	
	

	12
	Criminal  liability Form
	
	

	13
	Any Other
	
	




Place:
Date:					                          Name, Signature & Seal of Bidder
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