ODISHA UNIVERSITY OF TECHNOLOGY AND RESEARCH

Techno Campus, Ghatikia, P.O. - Mahalaxmivihar,

BHUBANESWAR-751029, ODISHA

Ref.  No. 3607/(Phy)/OUTR                    Date: 14.11.2023

TENDER CALL NOTICE

Sealed tenders are invited under two bid systems from reputed Original Equipment Manufacturers (OEM)/Registered Firms/Authorised Dealers/Agencies for Supply, installation and commissioning of “Laboratory Equipments” to the Department of Physics, OUTR, Bhubaneswar The tender bid documents with other details are to be downloaded from the website : www.outr.ac.in The last date of tender submission is 15.12.2023 by 4:00P.M. The sealed tender will be received by speed post/registered post only. The authority will not be held responsible for any postal delay. Tender received after the scheduled date and time will not be accepted. The authority reserves the right to reject/cancel the tenders in whole or in part without assigning any reason thereof.

REGISTRAR

BID Ref No. 3607/(Phy)/OUTR                          Dated : 14.11.2023

BID PARTICULARS AND INSTRUCTIONS OF TENDER CALL NOTICE

FOR SUPPLY, INSTALLATION AND COMMISSIONING OF

“LABORATORY EQUIPMENTS”

AT

DEPARTMENT OF PHYSICS

SCHOOL OF BASIC SCIENCES AND HUMANITIES, OUTR

ODISHA UNIVERSITY OF TECHNOLOGY AND RESEARCH (OUTR) Techno Campus, Ghatikia, P.O. - Mahalaxmivihar, BHUBANESWAR-751029, ODISHA

INVITATION FOR BIDS

The Registrar, Odisha University of Technology and Research (OUTR), Techno Campus, Ghatikia, PO: Mahalaxmivihar, Bhubaneswar – 751029, Odisha invites sealed tenders from reputed Original Equipment Manufacturers (OEM)/Suppliers/Agencies for supply, installation ,commissioning and testing of Laboratory Equipments at Department of Physics, Odisha University of Technology and Research (OUTR),Techno Campus, Ghatikia,   PO: Mahalaxmivihar, Bhubaneswar – 751029, Odisha.

Interested eligible Bidders may obtain detail information and list of items with technical specifications from the website of the University www.outr.ac.in

Particulars about submission of bidding documents are as follows:

(a) Price of bidding document (non-refundable) :  Rs.4000/-

(b) First date of availability of Bidding Document in the website: 15.11.2023

(c) Last date and time for submission of bids        :15.12.2023 upto 4:00 p.m.

(d)Time and date of opening of bids	      :    16.12.2023 at 3:00 p.m.

(e)  Place of opening of bids: Office Chamber of the  Registrar ,Odisha University of Technology and Research (OUTR),Techno Campus, Ghatikia, PO: Mahalaxmivihar, Bhubaneswar – 751029, Odisha

### (f) Address for communication     : The Registrar ,Odisha University of Technology and Research (OUTR), Techno Campus, Ghatikia, PO: Mahalaxmivihar, Bhubaneswar – 751029, Odisha

### Eligibility of bidders and General Instructions:

### 1.1 Eligibility:

Those who fulfill the following criteria are eligible to participate in the tender.

- The bidder must be a reputed OEM manufacturer and/or the Authorized Dealer/Supplier of a reputed manufacturer. Manufacturers should provide all documents relating to their Manufacturing Capabilities.

- If the bidder is an Authorized Dealer of a reputed manufacturer, necessary certificate to this effect from the manufacturer must be enclosed.

- The bidder must have both sales and service center with qualified Service Engineers. All after sales support should be provided directly by the manufacturer only.

- The bidder must have the willingness for providing comprehensive maintenance support of the Equipment supplied by him.

- The bidder must provide evidence of successful execution of supply orders with installation and successful after sales support in reputed organizations

- The bidder must have GSTIN No. and Income Tax Return up-to- date. Attested copies of GSTIN Certificate or non-assessment certificate from the concerned Authority valid up-to-date and attested copy of Income Tax Clearance Certificate or non-assessment certificate, as the case may be, from the competent authority, up-to-date. and/or PAN Number must be enclosed along with the Tender documents.

### 2. General Instructions:

The bidders who are  Original Equipment Manufacturers (OEM) of the product must be manufacturing the complete product, selling under the specified brand name and model are the eligible participants. Registered Firms/Authorized Dealers/Agencies can supply the product with necessary Authorized certificates/documents of the Manufacturers for specified brand and model.

The selection for procurement of equipment will be based on quality and performance along with cost. In this context decision of technical committee is final based on documentary evidence or actual physical verification.

The tenders will be opened on 16.12.2023 at 3:00 PM in presence of the bidders or their authorized representatives. Authorized representatives will be required to produce their authorization before opening of the bid, failing which they will not be allowed to be present.

Submission of more than one bid by a particular bidder under different names is strictly prohibited. In case it is discovered later on that, this condition is violated, all the tenders submitted by such tenders would be rejected or contract cancelled and earnest money deposited will be forfeited.

The bidders should mention the location of its service center nearest to Bhubaneswar in their tender paper.

All offers should be typed or printed clearly in English and the price quoted for each item should be firm.

Warranty period, delivery period and after-sale-service conditions, etc. are also to be clearly indicated.

The rates and the conditions of the offer will remain valid for three months from the date of opening of the tender and no change or alteration of the rate will be acceptable on any account.

Submitted tender forms with overwriting or erased on illegible specifications and rates will be rejected.

Request from bidder in respect of additions, alterations, modifications, corrections, etc. of either terms & conditions or rate after opening of the bid may not be considered. However, negotiation may be made before finalization.

Bidder shall carefully examine the bid documents and fully inform themselves of all the conditions, which may in any way affect the work of the cost thereof.

Should a bidder find discrepancies or omissions from the specification or other documents and any doubt as to their meaning, he should at once notify the purchaser and obtain clarification in writing.

This, however, does not entitle the bidder to ask for time beyond the due date fixed for receipt of tenders.

The bidder must also specify minimum uptime and maximum time to repair/replace in the event of a failure and penalty thereof.

Verbal clarification and/or information given by the purchaser or its employees or representatives shall not be binding on the purchaser.

Submission of sealed bid will carry with the implication that the bidder agrees to abide by the conditions laid down in the detailed particulars of the bid notice.

Conditional offers and offers qualified by vague and indefinite expression, as ‘subject to immediate acceptance’, ‘subject to prior sale’, etc. will not be considered.

While tenders are under consideration, bidders and their representatives or other interested parties are advised to refrain from contacting by any means, to the purchaser's personnel or representatives on matter relating to the tenders under study.

The purchaser, if necessary, will obtain clarification on tenders by requesting such information from any or all the bidders either in writing or through personal contact as may be necessary.

The bidder will not be permitted to change the substance of his offer after the tenders have been opened.

In the event of non-compliance with this provision, the bidder is liable to be disqualified.

### 2.1 Procedure for Submission of Tenders:

a) The Bidders must submit their bids as required in two parts in separate sealed covers prominently superscribed as Part-I “Technical Bid” and Part-II “Financial Bid” and also indicating on each of the covers the “Tender call Notice Number & Date” and Due date and time of submission as mentioned in Tender Call Notice.

Part-I (Technical Bid)

Excepting the price schedule, all other documents in details of technical specifications, leaflet, Copy of Firm Registration Certificate from the competent authorities, GSTIN certificate, Income Tax Clearance, PAN Card copy, list of clients, authorization certificate from Manufacturer in case of Dealer, etc. along with tender document duly signed by the authorized person in each page shall be covered in Part-I (Technical Bid).

Part-II (Financial Bid)

All indications of price shall be given in Part-II (Financial Bid)

#### b) Both sealed covers Part-I “ Technical Bid” and Part-II “Financial Bid” should be placed in a third cover along with requisite EMD &Tender paper cost (separately  in the form of  DD drawn in favour of The Registrar, Odisha University of Technology and Research Bhubaneswar at any Nationalized Bank payable at Bhubaneswar), others requisite supporting documents etc. and sealed. The sealed cover containing tender documents  as per procedure indicated above should be submitted by Speed post / Registered Post to the office of the Registrar addressing to  The Registrar, Odisha University of Technology and Research (OUTR), Techno Campus, Ghatikia, P.O. : Mahalaxmivihar, Bhubaneswar-751029, Odisha within the due date and time as stipulated in Tender. No hand delivery is accepted. The sealed envelope must show the name of the bidder and his address and should be superscribed as "Tender for Laboratory Equipments” at Department of Physics with Reference No. and Date"on the top of the envelope.

c) All the documents submitted must be in the papers showing signature of the bidder and printed office name of the bidder on official seal.

d) All the documents must be submitted in a sequential manner with separator/flags to help in quick scanning of the topics. Wherever possible, data in tabular form should be given.

### 3. Requirements by Bidder before Supply:

### Rating Plate, Name Plate and Labels:

Each of the equipment is to have permanently attached to it, a rating plate of non-corrosive material in a conspicuous position, upon which the total specifications along with the manufacturer’s name, address, etc. are to be engraved.

### Packaging:

All the equipment are to be suitably protected, covered in water–proof  packing and crated to prevent damage or deterioration during transit and storage till the time of installation. The supplier shall be responsible for any loss or damage caused during transportation, handling or storage till their successful installation.

### Inspection:

All materials/equipment shall be inspected and tested for completeness, proper assembly, operation, cleanliness and state of physical condition and performance as per quoted specification.

The test shall be conducted, reported and certifications should be provided by the bidder

The bidder shall provide all test and measuring equipment/tools required for inspection/testing.

The cost of all such tests shall be borne by the Bidder.

OUTR reserves the right to reject any equipment if it does not comply with the specifications during site testing, installation and commissioning stage.

Inspection & testing would be conducted, jointly, at various stages as applicable during unpacking, installation and commissioning of respective equipment/components at the manufacturing site.

### Environmental Condition:

All the equipment supplied shall be rugged and should operate without any deviation in quality or degradation of equipment performance. All the specifications/parameters shall be guaranteed over the following environmental conditions:

*	Storage Temperature 		0 to 70 degree Celsius

*	Operating Temperature 	0 to 50 degree Celsius

*	Humidity			95% RH (non-condensing)

### Requirements by Bidder after Supply:

### Supply:

The Equipment should be delivered and installed by the supplier at Department of Physics, School of Basic Sciences and Humanities, Odisha University of Technology and Research (OUTR), Techno Campus, Ghatikia, PO: Mahalaxmivihar, Bhubaneswar – 751029, Odisha. The items should be supplied directly from the manufacturing terminal having passed all tests successfully with Certifications as required.

The equipment should confirm to the latest relevant National/International standards and shall be completed in all respect.

Any component, fitting etc. which may not have been specifically mentioned in the specifications but which are usual and necessary for the equipment, shall be supplied by the bidder at no extra cost.

In case, articles are found damaged in transit or found short at the time of delivery the full cost of the same will be deducted from the bill of the supplier in case the supplier does not replace the stock within a week from the date of lodging the complain.

The articles ordered must be supplied in one lot within 4-6 weeks from the date of  placing  the purchase order.

In case of delay in delivery or successful installation, a penalty of 1% (one per cent) per week shall be levied.

Odisha University of Technology and Research (OUTR) reserves the right to procure the materials from alternative sources at the risk and cost of the successful bidder giving 15 days notice.

Any increase in tax and duties after expiry of delivery period will be to the seller’s account.

In case the equipment supplied by the supplier are found not up to the specifications shall be rejected.

The supplier will be intimated to take back the stocks at his own cost within three days from the date of rejection and to replace the same within 15 days, failing which the EMD will be invoked in addition to taking legal actions.

Imported consignment, if any, should be destined to “The Odisha University of Technology and Research (OUTR), Techno Campus, Ghatikia, P.O.: Mahalaxmivihar, Bhubaneswar–751029, Odisha, India” through nearest custom clearing Airport (Bhubaneswar Airport).

The suppliers shall be responsible for releasing the consignments from the carriers/transporters.

The equipment shall be delivered and installed on site at the cost of the bidder.

All taxes, levies, surcharges including the customs clearance and handling freight and insurance should be paid and handled by the bidder.

### Installation and Commissioning:

Installation and Commissioning shall include the following:

- Installation, testing and commissioning of the Equipment, Machineries etc. should be done by the bidder/supplier.

- It will be the responsibility of the bidder to provide all necessary spares and consumables, which may be required during installation and commissioning at no extra cost to purchaser.

- The bidder is to bring their own testing and measuring instruments required for installation, testing, commissioning, which can be taken back after completion.

- Installation must complete within 15 days after delivery on site.

- The bidders should provide all necessary raw materials for running of the equipment/machine during commissioning.

### Documentation:

Detailed technical manuals, handbooks, drawings, warranty card and factory quality assurance checklist, test results and any other certifications mentioned in the technical specifications shall be supplied along with the consignment.

Supplied manuals/handbooks must cover detailed technical specifications and installation, operation, maintenance and system safety procedures.

For Experimental setup details of theory, procedure and methods of taking measurements etc. should be provided in the form of hand books for each experiment in duplicate.

The receipts for taxes paid, if any, for the supplied materials should also be submitted

### Trial Operation and Performance Guarantee Test:

After successful completion of installation, testing and commissioning of the equipment, a seven day continuous trial operation putting those on optimum use shall be conducted by the bidder at site, during which the performance of the equipment shall be demonstrated for trouble-free continuous operation, meeting the specified standards and proper training shall be imparted to two persons of the purchaser.

During trial operation, bidder shall do all necessary adjustments required to ensure the performance as per the acceptable level.

In case, guaranteed performance is not established, the bidder shall be given opportunity to rectify/replace the equipment/components, and restart the 7 days continuous trial operation, at the risk and cost of the bidder.

### On-Site Warranty:

a) The entire materials may be used continuously. The reliability and safety of the total installed system and trouble-free operation are, therefore, of prime importance. The supplied devices/equipment and components shall be covered under two-years or more comprehensive on-site warranty from the date of issue of successful completion of Performance Guarantee Report.

b) During the period of warranty, it shall be the responsibility of the bidder to provide all                 essential spares and consumables, which may be required for maintenance and trouble-free operation of the devices / components at the bidder’s cost

c)  Software, if any, has to be tested with at least one-year warranty for trouble free operation.

### Comprehensive Maintenance Contract (CMC):

The bidder shall be under the obligation of entering into a Comprehensive Maintenance Contract (CMC) with OUTR for a minimum period of two years, renewable if felt necessary, on mutually acceptable rates, terms and conditions. CMC shall start after the completion of Warranty.

The scope of CMC shall cover maintenance and supply/replacement of equipment and components, for smooth and reliable operation of the systems without trouble.

Accordingly, the bidder has to offer rates for the CMC structure of equipment along with the price for the systems and other associated equipment supplied.

### After Sales Service:

During the warranty period and subsequently, after signing of Agreement for CMC the bidder shall attend to the problems reported by the users of OUTR on a priority basis.

For any problem reported, the bidder shall attend and rectify the problem within 7 (seven) days or provide a standby system of the similar configuration.

The report on any problem will be informed through mail/telephonic of which shall be given by the bidder.

The branch office of the concerned manufacturing firm will be fully responsible to provide maintenance service, in case of any negligence, in providing the service by the bidder

On failure to comply with those instructions, the Bank Guarantee provided for the warranty period shall be invoked.

### Financial Terms:

### EMD

The bidder has to submit  Demand Draft/Banker’s Cheque/Pay Order for the equipment as mentioned below in favour of Registrar, The Odisha University of Technology and Research payable at Bhubaneswar in any Nationalized Bank towards EMD andTender Paper cost. Without EMD and Tender Paper cost the tender will be summarily rejected.

| ### Sl. No. | ### Name of Equipment | ### EMD ### (inRs.) | ### Tender Paper cost ### (inRs.) | ### Period of complete Delivery, Installation, ### commissioning and testing |
| --- | --- | --- | --- | --- |
| ### 1 | Acceleration due to gravity by Bar Pendulum Apparatus | 5000/- | 4000/- | 4-6 weeks from the date of supply |
| ### 2 | Surface tension by capillary rise Method Apparatus |  |  |  |
| ### 3 | Young's Modulus by Bending of Beam (Cantilever) |  |  |  |
| ### 4 | Verification of Laws of Transverse Vibrations by Sonometer |  |  |  |
| ### 5 | Rigidity Modulus by Barton's Apparatus |  |  |  |
| ### 6 | Wavelength of Sodium light by Newton's ring microscope Apparatus |  |  |  |
| ### 7 | Wavelength of Laser by Laser diode Apparatus |  |  |  |
| ### 8 | Spectrometer |  |  |  |
| ### 9 | P-N Junction Semiconductor Apparatus |  |  |  |
| ### 10 | Battery Eliminator |  |  |  |
| ### 11 | DC Power Supply |  |  |  |
| ### 12 | Bipolar Junction (PNP,NPN) Transistor |  |  |  |
| ### 13 | Unknown Resistance by Meter Bridge Apparatus |  |  |  |
| 14 | Solid Prism |  |  |  |
| 15 | Hollow Prism |  |  |  |

There will be no interest paid to the bidder towards EMD money.

In no case the EMD money in cash or any other forms will be accepted at the time of opening of the bid.

No request for adjustment of claims, if any, will be accepted.

The EMD will be refunded to the unsuccessful bidders as soon as possible after the finalization of tender.

### 5.2   Performance Security Deposit

In case of successful Bidder EMD will be kept as Performance Security  Deposit and will be refunded after expiry of stipulated warranty period  from the completion date of  installation, testing and commissioning on satisfactory performance report of the competent authority.

### Prices:

Price quoted should be FOR Odisha University of Technology and Research (OUTR), Bhubaneswar only. Tax components as applicable should be mentioned clearly in the financial bid.

Price should be quoted for unit item; however, the actual requirements may be much more.    (A bidder may propose to give discounts if any for purchase of more than one unit of a particular item.)

Purchase order will be placed as a single lot of equipment or for all the items together, as the case may be.

In case import of the Equipment, the bidder should take full responsibility for customs clearance, handling, tax payment, etc. and specify the charge for the same in the price bid.

  - GST Concession:

GST Concession if any is to be availed on production of the required certificates applicable to Educational Institution.

  - Discount:

Our Institute is a pioneer Institution in the field of Teaching and Research in Engineering and allied disciplines and do not run with profit motive.

As such we are availing price discount for purchase of equipment/instruments.

The rate of discount or any other Institutional benefit arising out of Govt. Policy etc. on each equipment may also be indicated in the bid specifically.

  - Payments:

a) In case of imported items, payment will be made by opening LC in the name of the manufacturer subject to the condition that a Bank Guarantee for an equal amount will be submitted by the bidder to OUTR for the period of completion of installation, testing  and commissioning. Custom duty will be paid extra as per actual.

b) In case of purchase in Indian Rupees, payment of 100 percent of the ordered value will be made after successful installation, testing and commissioning of the equipment subject to submission of satisfactory performance report by the Head of School of Basic Sciences and Humanities, OUTR, Bhubaneswar.

  - Penalty:

If the delivery, installation, testing and commissioning is not carried out in time as specified in other part of the tender document, the bidder/manufacturer will be charged @ 1% (one per cent) per week as penalty of the total value of the concerned equipment.

### Instruction to the Bidder:

Technical Offer and Price Bids should be separately given in two different covers.

Each cover should be earmarked as to know the contents within as either “Technical Offer” or “Price Offer”.

Both these covers should be placed in a third cover super scribed as "Tender for Laboratory Equipment with Reference No. and Date". Some of the minimum specifications specified may be redundant, obsolete or incompatible and in these cases, quote the particulars of correct specification of latest trend and technology.

Higher specifications instead of minimum specifications are allowed if a minimum specification is not available, obsolete or incompatible.

Otherwise, model with higher specification should be in addition to the model with minimum specifications.

Specify brand name and full model name and number for each offer.

Include the printed catalogue and price list if any for the equipment quoted.

Specify the list of Accessories required along with the equipment.

Quote the additional price of the accessories; only those, which are fully compatible with the quoted model, should be furnished.

Specify the list of Accessories to be given free of cost, along with the equipment as “Free Accessories” these should be fully compatible with the quoted models.

  - Solving Disputes:

OUTR, the bidder/manufacturer shall make all efforts to resolve amicably by direct informal negotiation on any disagreement or dispute arising between them under or in connection with this contract.

All disputes arising out of the contract shall be referred to courts under the jurisdiction of the Bhubaneswar court only.

************************************************************************

The above terms and conditions except those otherwise agreed upon, shall form a part of the Purchase Order.

Sign on each page of this tender document and Return it along with the offer enclosing this part together with the Technical Offer.

***	The CET authority has all rights to accept or reject any/all tender without assigning any reasons there of.

************************************************************************

- Technical Specifications :

Following are the minimum specifications of the equipment.

The minimum specifications are indicative and not exhaustive.

The models with higher specifications may be quoted.

The quoted materials should be of latest trend and technology.

The Equipment should be complete in itself without needing any extra requirements except the requirement of general test and measuring instruments.

All bidders qualifying in technical evaluation may arrange for a demonstration of the equipments.

The demonstration will be held at Department of Physics under School of Basic Sciences and Humanities, Odisha University of Technology and Research (OUTR) Techno Campus, Ghatikia, P.O. -Mahalaxmivihar, Bhubaneswar–751029, Odisha.

Financial Bid will be opened only if Bidders must qualify in Technical evaluation.

List of Equipment with Technical Specifications.

| Sl. No. | Name of Equipment | Specifications | Quantity required |
| --- | --- | --- | --- |
| 1 | Acceleration due to gravity by Bar Pendulum Apparatus | Brass Bar : 100 x 3.75 x 0.5 cm³ (Drilled with 19 holes at equal distances of 5 cm) Wall bracket | 04 Nos. |
| 2 | Surface tension by capillary rise Method Apparatus | Rising Table: Cast aluminium 10cm dia with a stem of 12cm. Capillary tube Clamp: 10cm long with glass rod of different internal diameter. 9mm rod is attached with metal frame, Beaker | 04Nos. |
| 3 | Young's Modulus by Bending of Beam (Cantilever) Apparatus | Steel strip L=1m, B= 2.5cm, T= 5mm. Knife edges acting as G-Clamp (MS) Stirrup with hook.Hanger 500g+9x500g slotted weight of MS | 04 Nos. |
| 4 | Verification of Laws of Transverse Vibrations by Sonometer | Wooden Sonometer 110 x 10 x 8.5cm³ Hanger 500g + 6 X 500g slotted weights, Ruber Pad, Tunning forks (512,480,440Hz) with hammer, Weighing balance (not supplied) | 04 Nos. |
| 5 | Rigidity Modulus by Barton's Apparatus | Vertical Barton apparatus Hanger 0.5kg+6x500gm slotted iron weights | 04 Nos. |
| 6 | Wavelength of Sodium light by Newton's ring microscope Apparatus | BRIDGE TYPE MICROSCOPE Eyepiece : Ramsden 10x , Objective : 3x Scale length : 110 mm, Least count : 0.01 mm NEWTON’S RINGS REFLECTOR Housing : PVC, Finish : Matt black painted Glass plate : Mounted at 45° SPHEROMETER (DISC BRASS) Types : 3 legs, Vertical scale : 6mmx6mm (WxT) Micrometer : Dia. 40mm, Brass, Lower disc : Dia. 60mm Range : 10-0-10 mm , Least count : 0.01mm PLANO CONVEX LENS Dia. : 61.5mm, Glass, Focal Length : 200mm SODIUM LIGHT SOURCE Sodium Light Lamp 35W, Transformer with metal Box Lamp house : 300x85mm(LxФ), Aperture dia : 25mm | 04 Nos. |
| 7 | Wavelength of Laser by Laser diode Apparatus | Black Ionises OPTICAL BENCH Material : Aluminium alloy, Type : Hexagonal section, Scale : 0-100cm , Least count : 1mm DIODE LASER:-Peak wavelength : 635nm, Operating voltage : 5V DC , Operating current : 250 mA Optical power : 0.4-0.8 mW, Laser product : Class II, Operating temp. : 0 - 40°C,Storage Temp. : -10 to 50°C *PIN HOLE PHOTO DETECTOR *SLIT HOLDER *SADDLE WITH MICROMETER *SINGLE WIRE *CROSS WIRE *TRANSVERSE SADDLE:-Material : Aluminium, Locking : Spring loaded, Motion : X-Y axis, Holder : 10mm dia. *DIGITAL MULTIMETER *DIFFRACTION SLIDE Frame Size : 50mm x 50mm Slit : Width=0.06mm & Separation=0.20mm (Single, Double) Diffraction grating : 80 lines / mm Diffraction grating : 300 lines / mm Single slit : Tapered, Double slit : Tapered Metal gauze : 300 mesh All individually mounted in slide frames and protected by two glass plates. | 04 Nos. |
| 8 | Spectrometer | 7inch dia Scale : Brass, Dia. 190mm. Objective : Achromatic lens, f = 178mm, Aperture 32mm Slit : German silver with knurled screw Reticle : 90° cross etched on glass Least count : 20 seconds Eyepiece : 15X, Ramsden Eyepiece Vernier : 4 verniers (Telescope & Prism table) Base : 220mm dia., Aluminium Casting Special features: Spindle & other critical component manufactured on CNC machine. Supplied in wooden box. | 04 Nos. |
| 9 | P-N Junction Semiconductor Apparatus | Variable DC supply: 0-3V & 0-30V Voltmeter :0-3V & 0-10V (Moving Coil) Ammeter :0-150μA & 0-15mA (Moving Coil) Variable pot :500K -2nos Interconnection :4mm patch cord Resistance:1kΩ-3nos Diode Type : Germanium & Silicon LED Type : SMT & Semiconductor Front panel built with high class insulated sheet Circuit & Symbol diagram printed on front panel Mains Power :230V/50Hz | 06 Nos. |
| 10 | Battery Eliminator | (0-12) Volt, 3A | 04 Nos. |
| 11 | DC Power Supply | (0-12V,1A) Regulated with Display | 04 Nos. |
| 12 | Bipolar Junction (PNP,NPN) Transistor Apparatus | DC Supply :0-1V/100mA (Variable) :0-10V/100mA (Variable) DC Voltmeter:0-1V (Moving Coil) DC Voltmeter:0-10V (Moving Coil) DC Ammeter :0-250μA(Moving Coil) DC Ammeter:0-50mA(Moving Coil) Transistor : NPN & PNP Interconnection :4mm patch cord Front panel built with high class insulated sheet Circuit & Symbol diagram printed on front panel Mains Power :230V/50Hz | 06 Nos. |
| 13 | Unknown Resistance by Meter Bridge Apparatus | Carey-Foster-bridge with jockey Resistance module 10 ohm Resistance modules 0.5,1,1.5 & 2.5Ω(each) Sensitive Galvanometer 20µA/Div. Thick brass strip Power supply 2V/100mA Connecting leads (red & black) 50cm (pair) Connecting leads black 25cm Unknown low resistance (approx. 0.22 & 2 Ω) | 04 Nos. |
| 14 | Solid Prism | Equilateral, Highly Polished Surface. Sizes- 38mm,50mm both Regular and Superior Quality | 04 Nos. |
| 15 | Hollow Prism | Equilateral, Highly Polished Surface. Sizes- 38mm,50mm both Regular and Superior Quality | 04 Nos. |

ODISHA UNIVERSITY OF TECHNOLOGY AND RESEARCH

Techno Campus, Ghatikia, P.O. - Mahalaxmivihar,

BHUBANESWAR-751029, ODISHA

Website: www.outr.ac.in

TECHNICAL BID

(To be enclosed in separate sealed cover)

Name and address of the bidder:

Note: Two Nos. of DD for EMD  and Tender paper cost  should be enclosed with this bid separately as mentioned in para 5.1 of tender paper

- Name of the bidder :

  - Full postal address :

  - Full address of the premises :

  - Telegraphic address:

  - Telex number:

  - Telephone number/Mobile No.:

  - Mail ID:

- Monthly supply capacity of goods quoted for

  - Normal

  - Maximum

- Total annual turn-over(value in Rupees)(Previous year)

(Copy of Balance Sheet / Audit Statement / IT returns, etc. to be attached as proof)

- Past supply details for 3 years (Attach proof)

- Whether similar job work undertaken in the past, if so details.

(Demo of the Lab Equipment to be arranged if required)

Customer	Quantity supplied	Year

6.  GSTIN No.

Signature with Seal of the Bidder

ODISHA UNIVERSITY OF TECHNOLOGY AND RESEARCH

Techno Campus, Ghatikia, P.O. - Mahalaxmivihar,

BHUBANESWAR-751029, ODISHA

Website: www.outr.ac.in

FINANCIAL BID

(To be enclosed in separate sealed cover)

| Sl. No | Name of Equipment | Make / Model | Quantity Required. | Unit Cost Including installation charges | Total | GST % & Cost | Total amount Including GST& installation charges |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Acceleration due to gravity by Bar Pendulum Apparatus |  | 04 Nos. |  |  |  |  |
| 2 | Surface tension by capillary rise Method Apparatus |  | 04Nos. |  |  |  |  |
| 3 | Young's Modulus by Bending of Beam (Cantilever) Apparatus |  | 04 Nos. |  |  |  |  |
| 4 | Verification of Laws of Transverse Vibrations by Sonometer |  | 04 Nos. |  |  |  |  |
| 5 | Rigidity Modulus by Barton's Apparatus |  | 04 Nos. |  |  |  |  |
| 6 | Wavelength of Sodium light by Newton's ring microscope Apparatus |  | 04 Nos. |  |  |  |  |
| 7 | Wavelength of Laser by Laser diode Apparatus |  | 04 Nos. |  |  |  |  |
| 8 | Spectrometer |  | 04 Nos. |  |  |  |  |
| 9 | P-N Junction Semiconductor Apparatus |  | 06 Nos. |  |  |  |  |
| 10 | Battery Eliminator |  | 04 Nos. |  |  |  |  |
| 11 | DC Power Supply |  | 04 Nos. |  |  |  |  |
| 12 | Bipolar Junction (PNP,NPN) Transistor Apparatus |  | 06 Nos. |  |  |  |  |
| 13 | Unknown Resistance by Meter Bridge Apparatus |  | 04 Nos. |  |  |  |  |
| 14 | Solid Prism |  | 04 Nos. |  |  |  |  |
| 15 | Hollow Prism |  | 04 Nos. |  |  |  |  |

# PROFORMA FOR SUBMITTING ELIGIBILITY REQUIREMENT AND UNDERTAKING

To

The Registrar,

Odisha University of Technology and Research (OUTR)

Techno Campus, Ghatikia, P.O. :Mahalaxmivihar,

Bhubaneswar-751029, Odisha

Sub: Submission of Tender for “Supply, Installation & Commissioning of “Laboratory Equipments” of department of Physics under School of Basic Sciences and Humanities, OUTR, Bhubaneswar.

Sir / Madam,

Having examined the conditions of contract and specifications including agenda, I/we, the undersigned, offer to undertake Supply, Installation, Testing & Commissioning of above mentioned items at Department of Physics under School of Basic Sciences and Humanities, OUTR, Bhubaneswar, in conformity with the specifications, terms & conditions of Tender.

i) I/We agree to abide by the terms and provisions of the said conditions of the contract and provisions contained in the notice inviting tender. I/We hereby unconditionally accept(s) the tender conditions.

It is certified that I/we have not stipulated any condition(s) in our tender offer. In case any condition(s) are found in our tender offer violated after opening tender, I/We agree that the tender shall be rejected without prejudice to any other right or remedy be at liberty to forfeit the EMD absolutely.

ii) I/We hereby submit the earnest money of [INR…………..……….……] for the Tender for the above mentioned work in the form of demand draft.

iii)That, I/We declare that I/We have not paid and shall not pay any bribe to any officer of OUTR for awarding this contract at any stage during its execution or at the time of payment of bills, and further if any officer of OUTR asks for bribe/gratification, I/We shall immediately report it to the OUTR Authorities.

iv) That, I/We undertake that OUTR  tender document shall form part of contract agreement.

I/We understand that you are not bound to accept the lowest or any bid, you shall receive.

Thanking you

Yours faithfully

Signature of Bidder                                                                         Date:

Witness:

Name:                                                                                              Signature:

Address:                                                                                           Address:

Mobile No.:                                                                                     Mobile No.:

Enclosures :